## Application Process Chart
Click here for technical procedure for permitting GXP Ties (for information ONLY)

## North Island Details
Lines Company | GXP | GXP | Voltage | Switching Duration | Process Stage | Expiry | Grid Plan Standard Details | Comments
Central Lines | Nil
Counties Power | BOB33 |  |  |  | Unapproved
| BOB110 |  |  |  | Unapproved
| GLN33 |  |  |  | Unapproved
Eastland | GIS |  |  |  | Unapproved
| TOK |  |  |  | Unapproved
| TUI |  |  |  | Unapproved
| WRA |  |  |  | Unapproved
Electra | MHO | PRM | 33kV | < 10 Mins | Unapproved | No Expiry date* |  | Made unapproved 4 Aug 2021
Horizon | EDG |  |  |  | Unapproved
| KAW |  |  |  | Unapproved
| TKH |  |  |  | Unapproved
| WAI |  |  |  | Unapproved
Northpower | BRB33 | MPE33 | 11kV |  | Unapproved
| BRB33 | MTO33 | 11kV |  | Unapproved
| DAR11 | MPE33 | 11kV |  | Unapproved
| MPE33 | MTO33 | 11kV |  | Unapproved
| MTO33 | DAR11 | 11kV |  | Unapproved
Powerco (Waikato) | HIN33 | PAO33 | 33kV |  | GXP Parallel Approval and Acceptance Document completed | No Expiry date* | N:\MOS Note Attachments\Pre Approved GXP Ties\HIN_PAO_33kV_PreAppCert_20230612.pdf | HBTWP-H1P1-3246-R00
| KIN11 |  |  |  | Unapproved
| KIN33 |  |  |  | Unapproved
| KPU66 |  |  |  | Unapproved
| PAO33 | WHU33 | 33kV | < 10 Mins | GXP Parallel Approval and Acceptance Document completed | 2017-03-31 | N:\MOS Note Attachments\Pre Approved GXP Ties\Pre_Approved_PAO_WHU_GXP_Tie.pdf | Details entered 14 Dec 2015 | PKW-P1W1-3162-R01 PFRW-P1W1-3142-R01 PFRW-P1W1-3275-R01 PFRW-P1W1-3259-R01
| WHU33 | WKO33 | 33kV |  | Unapproved
Powerco (B.O.P) | KMO33 | TGA33 | 33KV |  | GXP Parallel Approval and Acceptance Document completed | No Expiry date* | N:\MOS Note Attachments\KMO-TGA GXP Parallel Certificate - Rev0.pdf | KT-K1T1-PCB2212CB2208-R00 KT-K1T1-PCB2332CB2348-R00
| MTM11 | TGA11 | 11kV, 33kV |  | Unapproved
| MTM33 | TGA33 | 11kV, 33kV |  | Unapproved
| TGA11 | MTM33 | 11kV, 33kV |  | Unapproved
| TGA33 | MTM11 | 11kV, 33kV |  | Unapproved
| KMO33 | TMI33 | 33kV |  | GXP Parallel Approval and Acceptance Document completed | No Expiry date* | N:\MOS Note Attachments\Pre Approved GXP Ties\KMO-TMI GXP Parallel Certificate - Rev1.pdf | Rev 01 issued 22/06/23. Minor typo. | KT-K1T1-PC3227PC3520-R00
| MTM33 | TMI33 | 33kV |  | GXP Parallel Approval and Acceptance Document completed | No Expiry date* | N:\MOS Note Attachments\Pre Approved GXP Ties\MTM-TMI GXP Parallel Certificate - Rev0.pdf | Details entered 12 Apr 2021 | MTPWT-MT2TM2-PC3532PC3542 MTPWT-MT2TM2-PC3632PC3642 MTPWT-MT2TM2-PC3542PC3342 MTPWT-MT2TM2-PC3642PC3442
Powerco Manawatu | BPE33 | LTN33 | 33kV |  | GXP Parallel Approval and Acceptance Document completed |  | N:\MOS Note Attachments\Pre Approved GXP Ties\Pre_Approved_BPE LTN_GXP_Tie.pdf | BKMP-B2L2-PCBZ130-R00 BKTTL-B1L1-PCBZ99-R00 BKL-B1L1-PCBZ64-R00
| GRY33 | MAS33 | 11kV |  | Unapproved
| LTN33 |  |  |  | Unapproved
| MAS33 |  |  |  | Unapproved
| MGM33 |  |  |  | Unapproved
Powerco Taranaki | CST33 | HUI33 | 33kV |  | Unapproved
| HAW33 | OPK33 | 11kV |  | Unapproved
| HUI33 | SFD33 | 33kV |  | GXP Parallel Approval and Acceptance Document completed |  | N:\MOS Note Attachments\HUI SFD GXP Tie_100322\HUI SFD GXP Tie via ING Certificate_Signed.pdf | Signed 31/05/21 | HMIMS-H1S1-3132-R00 HMIMS-H1S1-3232-R00
[7 empty] | N:\MOS Note Attachments\HUI SFD GXP Tie_100322\HUI_SFD GXP Tie via MOK CB210_signed.pdf |  | HMS-H1S1-210-R00
| MRA11 | CST33 | 11kV |  | Unapproved
| OPK33 |  |  |  | Unapproved
| SFD33 |  |  |  | Unapproved
Powerco Wanganui | BRK33 | WNG33 | 33kV |  | Unapproved |  |  | Made unapproved 4 Aug 2021
| MTN33 |  |  |  | Unapproved
| MTR33 |  |  |  | Unapproved
| OHK11 |  |  |  | Unapproved
| WAV11 |  |  |  | Unapproved
| WNG33 |  |  |  | Unapproved
The Lines Company | ATI | HTI | 11kV |  | Unapproved
| HTI | WKM | 11kV |  | Unapproved
| OKN | TNG | 11kV |  | Unapproved
| ONG | TKU | 33kV |  | Unapproved
| TKU | NPK | 33kV |  | Unapproved
| WKM | ATI | 33kV |  | Unapproved
| NPK | ONG | 33kV |  | Unapproved
| HTI | HTI | 33kV | <5min | GXP Parallel Approval and Acceptance Document completed |  | N:\MOS Note Attachments\Pre Approved GXP Ties\Pre-Approved_HTI_HTI GXP Tie.pdf | Details entered on 18 Feb 2020. The tie is between HTI33kV (Transpower Owned Bus) and HTI 33kV (The Lines Company Owned Bus) | TAH-HT2HT2-R00
Unison | OWH | ROT | 11kV |  | Unapproved
| RDF | WTU | 33kV | <10min | GXP Parallel Approval and Acceptance Document completed |  | N:\MOS Note Attachments\Pre Approved GXP Ties\RDF_WTU_GXP tie Pre-app_cert_2022.pdf | Details entered on 12 Dec 2022. The tie is between RDF 33kV bus and WTU 33kV bus | RPTTCOFMW-R4W1-UCB1931-R00 RPTTCOAW-R4W1-UCB3772-R00 RPAW-R1W1-UCB3772-R00
| ROT | TRK | 11kV |  | Unapproved
| TRK | OWH | 11kV |  | Unapproved
| WHI |  |  |  | Unapproved
| WTU | FHL | 33kV |  | Unapproved
Vector Auckland | HEP33 | ROS22 | 11kV |  | Unapproved
| MNG110 |  |  |  | Unapproved
| MNG33 | PEN110 | 11kV |  | Unapproved
| OTA22 | PAK33 | 11kV |  | Unapproved
| OTA22 | PEN110 | 11kV |  | Unapproved
| OTA22 | PEN33 | 11kV |  | Unapproved
| OTA22 | PEN22 | 11kV |  | Unapproved
| OTA22 | MNG33 | 11kV |  | Unapproved
| OTA22 | WIR33 | 11kV |  | Unapproved
| PAK33 | PEN33 | 11kV |  | Unapproved
| PAK33 | PEN22 | 11kV |  | Unapproved
| PAK33 | TAK33 | 11kV |  | Unapproved
| PEN33 | MNG33 | 11kV |  | Unapproved
| PEN110 | ROS110 | 110kV |  | GXP Parallel Approval and Acceptance Document completed
| PEN22 | MNG33 | 11kV |  | Unapproved
| ROS110 |  |  |  | Unapproved
| ROS22 | PEN33 | 11kV |  | Unapproved
| TAK33 | WIR33 | 11kV |  | Unapproved
| WIR33 | MNG33 | 11kV |  | Unapproved
| ALB 110 | WRD 33 |  |  | GXP Parallel Approval and Acceptance Document completed
Vector North | ALB33 | SVL33 | 33kV | <10min | GXP Parallel Approval and Acceptance Document completed |  | N:\MOS Note Attachments\Pre Approved GXP Ties\ALB_SVL_33kV_GXP_Ties\ALB_SVL_33kV_P228_AL2SV1_PreAppCert_Rev00_20221221.pdf | SVL2782 to ALB2142 and ALB2212 ACHSS-AL2SV2-P228-R00
| ALB33 | SVL33 | 33kV | <10min | GXP Parallel Approval and Acceptance Document completed |  | N:\MOS Note Attachments\Pre Approved GXP Ties\ALB_SVL_33kV_GXP_Ties\ALB_SVL_33kV_H03_H07_AL1SV1_PreAppCert_Rev00_20221221.pdf | SVL2822 or SVL2882 to ALB2242 ASS-AL1SV1-H03-R00 ASS-AL1SV1-H07-R00
| ALB33 | SVL33 | 33kV | <10min | GXP Parallel Approval and Acceptance Document completed |  | N:\MOS Note Attachments\Pre Approved GXP Ties\ALB_SVL_33kV_GXP_Ties\ALB_SVL_33kV_H01_AL2SV2_PreAppCert_Rev00_20221221.pdf | SVL2822 and SVL2882 to ALB2142 and ALB2212 ACHSS-AL2SV2-H01-R00
| ALB33 | SVL33 | 33kV | <10min | GXP Parallel Approval and Acceptance Document completed |  | N:\MOS Note Attachments\Pre Approved GXP Ties\ALB_SVL_33kV_GXP_Ties\ALB_SVL_33kV_H05_AL1SV2_PreAppCert_Rev00_20221221.pdf | SVL2822 and SVL2882 to ALB2242 ASS-AL1SV2-H05-R00
| ALB110 |  |  |  | Unapproved
| HEN33 | ALB33 | 33kV |  | GXP Parallel Approval and Acceptance Document completed |  | N:\MOS Note Attachments\Pre Approved GXP Ties\ALB_HEN_33kV_H03_H06_PreAppCert_Rev00_20201027.pdf | AGHHWH-AL1HE3-H03-R00 AGHHWH-AL1HE3-H06-R00
| HEN33 | ALB33 | 33kV |  | GXP Parallel Approval and Acceptance Document completed |  | N:\MOS Note Attachments\Pre Approved GXP Ties\ALB_HEN_33kV_Riverhead_P238_PreAppCert_Rev00_20201027.pdf | ACRWHH-AL2HE3-P238-R00
| HEN33 | ALB33 | 11kV |  | Unapproved
| HEP33 | HEN33 | 33kV |  | GXP Parallel Approval and Acceptance Document completed |  | N:\MOS Note Attachments\Pre Approved GXP Ties\HEN_HEP_33kV_H08_P277_PreAppCert_Rev00_20201027.pdf | HTH-HE2HP1-H08-R00 HTMH-HE2HP1-P277-R00
| HEP33 | HEN33 | 33kV |  | GXP Parallel Approval and Acceptance Document completed |  | N:\MOS Note Attachments\Pre Approved GXP Ties\HEN_HEP_33kV_P303_PreAppCert_Rev00_20201016.pdf | HRSSHWH-HE2HP4-P303-R00
| HEP33 | HEN33 | 11kV |  | Unapproved
| SVL33 | WEL33 | 11kV |  | Unapproved
| WEL33 |  |  |  | Unapproved
Wellington Electricity | GFD33 | MLG11 | 11kV |  | Unapproved
| GFD33 | MLG33 | 33kV |  | Unapproved
| GFD33 | TKR33 | 33kV |  | Unapproved
| HAY11 | MLG11 | 11kV |  | Unapproved
| HAY11 | MLG33 | 11kV |  | Unapproved
| HAY11 | PNI33 | 11kV |  | Unapproved
| HAY11 | TKR33 | 11kV |  | Unapproved
| HAY11 | UHT33 | 11kV |  | Unapproved
| HAY33 | HAY11 | 11kV |  | Unapproved
| MLG11 | HAY33 | 11kV |  | Unapproved
| MLG11 | MLG33 | 11kV |  | Unapproved
| MLG33 | HAY33 | 33kV |  | Unapproved
| PNI33 | TKR33 | 33kV |  | Unapproved
| TKR33 | HAY33 | 33kV |  | Unapproved
| UHT33 | HAY33 | 33kV |  | Unapproved
| CPK33 | KWA11 | 11kV |  | Unapproved
| CPK33 | WIL33 | 33kV |  | Unapproved
| KWA11 | TKR33 | 11kV |  | Unapproved
| TKR33 |  |  |  | Unapproved
| WIL33 | KWA11 | 11kV |  | Unapproved
Waipa Networks | CBG | HTU |  |  | GXP Parallel Approval and Acceptance Document completed |  | N:\MOS Note Attachments\Pre Approved GXP Ties\CBG_HTU_PreAppCert_Rev00_ver20220605.pdf | CRH-C1H1-D-R00 CRH-C1H1-A-R00
| TMU |  |  |  | Unapproved
WEL Networks | HAM | TWH | 33kV |  | GXP Parallel Approval and Acceptance Document completed |  | N:\MOS Note Attachments\Pre Approved GXP Ties\HAM TWH GXP Tie Approval 28102022.pdf | HAT-H2T8-CB452-R01
| HLY | MER | 33kV |  | Unapproved
| MER |  |  |  | Unapproved
| TWH |  |  |  | Unapproved

## South Island Details
Master List Showing Approval Status
Lines Company | GXP | GXP | Voltage | Duration | Process Stage | Expiry | Grid Plan Standard Details | Comments
Alpine Energy | ABY | TIM | 11kV |  | Unapproved
| STU | TIM | 11kV |  | Unapproved
| TIM |  |  |  | Unapproved
| TKA |  |  |  | Unapproved
| TMK |  |  |  | Unapproved
| TWZ |  |  |  | Unapproved
Aurora | CML |  |  |  | Unapproved
| CYD |  |  |  | Unapproved
| FKN |  |  |  | Unapproved
| HWB |  |  |  | Unapproved
| SDN |  |  |  | Unapproved
Buller | ORO |  |  |  | Unapproved
| WPT |  |  |  | Unapproved
Electricity Ashburton | Nil
Unapproved
Mainpower | ASY | WPR | 11 / 33 kV | <10 mins | GXP Parallel Approval and Acceptance Document completed | If/When configuration/primary equipment ratings/protection settings/fault levels at WPR/ASY buses change (which hasn't been detailed in the Tie approval doc | N:\MOS Note Attachments\Pre Approved GXP Ties\Pre-Approved_ASY_WPR_GXP_Tie.pdf | Tie ASY 2702 (11 kV) to WPR 1172 (33 kV) AW-A1W1-Y903/Y904-R00 Logged 15-May-23
| CUL | WPR | 66kV |  | GXP Parallel Approval and Acceptance Document completed | If/When configuration/primary equipment ratings/protection settings/fault levels at WPR/CUL buses change (which hasn't been detailed in the Tie approval doc | N:\MOS Note Attachments\Pre Approved GXP Ties\Pre_Approved_CUL_WPR_GXP_TIE.pdf | Details entered 05 December 2017 CKOCGMW-C1W1-R00
| KKA | WPR | 33kV |  | Unapproved
| SBK | WPR | 33kV |  | GXP Parallel Approval and Acceptance Document completed | If / when any one of the parameters such as network configuration, primary equipment ratings, protection settings, fault levels at SBK, WPR buses described in the attached tie report changes. | N:\MOS Note Attachments\Pre Approved GXP Ties\SBK_WPR GXP Tie Pre-approval Certificate (signed).pdf | Enterd 21-Sept-20 SSW-S2W1-MPS908-R00
Malborough Lines | Nil
Network Tasman | KIK | MOT | 11kV |  | Unapproved
| STK | MOT | 11kV |  | Unapproved
Network Waitaki | BPT |  |  |  | Unapproved
| OAM | WTK | 11kV , 33kV | < 2 Mins | GXP Parallel Approval and Acceptance Document completed | If/When configuration/protection settings change (which hasn't been detailed in the Tie approval doc | <https://sift-webdav.apps.transpower.co.nz/MOS Note Attachments/Pre Approved GXP Ties/Pre_Approved_OAM_WTK_GXP Tie.pdf> | Details entered 29 June 2016 ONDKW-O2W1-NCB527-R01
| TWZ | WTK | 33kV | 2 to 10 Mins | GXP Parallel Approval and Acceptance Document completed | If/When configuration/protection settings change (which hasn't been detailed in the Tie approval doc | N:\MOS Note Attachments\Pre Approved GXP Ties\TWZ-WTK GXP Tie - Rev 2 2024.pdf | Entered 4/4/24 TROOOW18-T1W1-NWS819-R01 TROOOW28-T1W1-NWS819-R01
| WTK |  |  |  | Unapproved
Orion | Orion | Orion | 11kV and 400V |  | GXP Parallel Approval and Acceptance Document completed | If/When configuration/protection settings change (which hasn't been detailed in the Tie approval doc | N:\MOS Note Attachments\Pre Approved GXP Ties\Orion 11kV and 400V GXP Agreement Signed_230215.pdf | N:\MOS Note Attachments\Pre Approved GXP Ties\Orion 11kV and 400V GXP Technical Details_Signed.pdf
| APS | OTI | 11kV
| ADD | BRY | 66kV |  | Unapproved
| BRY | ISL | 66kV |  | Unapproved
| CLH |  |  |  | Unapproved
| COL |  |  |  | Unapproved
| HOR | NWD | 66kV |  | Unapproved |  | N:\MOS Note Attachments\Pre Approved GXP Ties\HOR_NWD_66kV_PreAppCert_Rev0_20230906.pdf | Entered 07-Sep-23 HDN-S1S1-DUN4666-R00 HDN-S1S1-HOR52-R00
| ISL | NWD |  |  | Unapproved |  | N:\MOS Note Attachments\Pre Approved GXP Ties\ISL_NWD_66kV_PreAppCert_Rev0_20230906.pdf | Entered 07-Sep-23 IWLSBKDN-S3S1-BRS4422-R00 IWLSBKDN-S3S1-DUN4622-R00 IWLSBKDN-S3S1-DUN4632-R00
| OTI |  |  |  | Unapproved
| PAP |  |  |  | Unapproved
| SPN |  |  |  | Unapproved
OtagoNet (Powernet) | BAL |  |  |  | Unapproved
| NSY |  |  |  | Unapproved
| PAL |  |  |  | Unapproved
PowerNet | EDN |  |  |  | Unapproved
| GOR | EDN | 33kV |  | GXP Parallel Approval and Acceptance Document completed | If/When configuration/protection settings change (which hasn't been detailed in the Tie approval doc | N:\MOS Note Attachments\Pre Approved GXP Ties\Pre-Approved_GOR_EDN_GXP_TIE.pdf | GME-G1E1-PCB62-R01
| INV |  |  |  | Unapproved
| NMA | GOR | 33kV |  | GXP Parallel Approval and Acceptance Document completed |  | N:\MOS Note Attachments\Pre Approved GXP Ties\GOR_NMA_33kV_Pre App Cert_Rev00_20210122 (002).pdf | Entered 10/05/21 GLCWHRWMHTON-G1N2-PCB62-R00
Scanpower | Nil
Westpower | DOB |  |  |  | Unapproved
| GYM |  |  |  | Unapproved
| HKK |  |  |  | Unapproved
| KUM |  |  |  | Unapproved
| OTI |  |  |  | Unapproved
| RFT |  |  |  | Unapproved