[Organisation Name]

Interruptible Load Proposal

Note: Helpful information and examples in this template are marked using the ‘hidden text’ feature. To turn this on, go to File > Options, select Display, and under Always show these formatting marks on the screen, check Hidden text. Then click OK.

Hidden text will not print, so you do not need to delete it. You can follow the above instructions to toggle it off.

Version Record

| Addendum/Amendment | Replaces | Document Version | Date |
| --- | --- | --- | --- |
| Initial version | NIL | 1.0 | Click or tap to enter a date. |
|  |  |  | Click or tap to enter a date. |
|  |  |  | Click or tap to enter a date. |

Contents

1	Introduction	1

1.1	Interruptible Load (IL) Scheme Overview	1

1.2	Market Offering	1

1.3	Load Forecasting Overview	1

2	Load Control Equipment Proposed	3

2.1	Equipment Overview	3

2.1.1	Time-stamping	3

2.1.2	Frequency Measurement	3

2.1.3	Operational Time	3

2.1.4	Standard Design Framework	3

2.2	Compliance with Performance Requirements	3

2.3	Compliance with Measuring Requirements for Instantaneous Reserve	3

3	Test Methodology Proposed	5

3.1	Test Criteria	5

3.2	Variable Load Test Requirements	5

3.3	Methodology of Frequency Decay Load Curtailment Testing	5

3.3.1	Test Reporting	5

3.4	Post-event Reporting	5

References	6

A.1	Appendix 1	7

# Introduction

Interruptible Loads (IL) can provide Fast Instantaneous Reserve (FIR) and Sustained Instantaneous Reserve (SIR). Refer to the Procurement Plan and the Code to understand the performance requirements. Our Ancillary Services webpage contains links to more information. Note: You are responsible for meeting all your obligations as stipulated in your contract, the Code, and its amendments. You therefore need to read, understand, and comply with all these obligations. If there is a conflict between this document and the Code, the Code takes precedence.

## Interruptible Load (IL) Scheme Overview

Briefly describe the scheme, including the following information:

A schedule of offered loads giving size (kW), number, location (GXP) and use of loads e.g. two 11kW pumps, variable torque loads, municipal water reticulation

- Envisaged size and number of loads for the scheme in future (if possible)

Basic method of measurement, communication, and control of scheme (fleshed out in later sections)

If available, give indicative dates for expected start to offering into the market

Any other relevant information in support of your proposal.

## Market Offering

Briefly describe:

who will offer and control the IL?

how will you communicate your intention to offer IL with the relevant distributors?

what is the operational logic when IL is not cleared?

  - is your IL disarmed if not cleared?

## Load Forecasting Overview

Briefly describe:

how the load is forecasted and what the algorithm is – is it based on historical data or some other data?

how accurate the load offering is – can certain percentages be used as offers or are other calculation methods involved?

# Load Control Equipment Proposed

## Equipment Overview

Describe the key equipment used to control IL. Include references to online documentation if available or provide as appendices.

### Time-stamping

Describe the time-stamping process by which aggregate responses are compared against a common time-base.

### Frequency Measurement

Describe whether the frequency is measured locally in each device or at a centralised location. What is the frequency measurement device used and mechanism for frequency measurement (e.g. zero crossing, PLL etc.)?

Note: if you are an EDB, please provide feeder level measurements. Aggregators, please provide a centralised frequency measurement – discuss with the System Operator where the measurements should be and how many.

### Operational Time

Describe how long it would take to respond to an under-frequency event after your systems detect it. Include any digital sample rates and time delays such as, signal transmission latencies (i.e. frequency measurement delays) and equipment reaction times (i.e. on delays). The definitions below are specific to IL and may help:

Digital sample rate: for sampled control systems, how regularly the output may change.  Note the value required here may be the sampling rate of the inputs to the control system or the communication protocol which can be significantly different to the control system itself.  The slowest sample rate of any device in the measurement/signal/control path should be provided.

Operating time: the time from the detection of the trip condition being met (which is the end of the On Delay period, if that exists) to the load being disconnected (in ms)

Frequency measurement delay: the inherent delay in the frequency measurement transducer plus any processing delay in delivering the frequency data that is used to initiate a response.  Typically there can be one or more of the following components to this measurement:

- the time taken by the transducer (usually a number of cycles of the voltage waveform)

- a time delay associated with the signal communication path from the transducer to the associated relay or control system and

- a sample-time delay if the transducer measurement or control action is sampled

If they can be separately identified, the components of the delay should be provided.

On delay: a minimum period of time for which the trip condition  must be met before the trip is initiated.  This delays the propagation of a trip signal following the activation of the under-frequency element in a frequency relay.

### Standard Design Framework

Include a single line diagram or equipment connection diagram to give brief understanding around how the system is configured to provide IL.

## Compliance with Performance Requirements

State how the proposal meets the performance requirements in the Procurement Plan, the Code, and the acceptance criteria the GL-EA-1333 Ancillary Services Testing Requirements document (see the sections relevant to IL). If the requirements are met in an equivalent nature, describe this here. Is the scheme intended to offer FIR, SIR or both?

## Compliance with Measuring Requirements for Instantaneous Reserve

State how the proposal meets the monitoring requirements in the Procurement Plan, the Code, and the acceptance criteria in the GL-EA-1333 Ancillary Services Testing Requirements document (see the sections relevant to IL). If the requirements are met in an equivalent nature, describe this below, and provide exact values in the table.

|  | Accuracy Requirement | Accuracy Provided |
| --- | --- | --- |
| Measured Load | 1% of IL block or 0.1 MW |  |
| Measured Frequency | +/-0.01 Hz |  |
| Time stamping | 100 ms |  |

# Test Methodology Proposed

## Test Criteria

You must demonstrate an asset or load’s capability to provide FIR or SIR in accordance with the Procurement Plan.

## Variable Load Test Requirements

Describe whether the proposed disconnected loads are constant or varying. Make sure to provide regular forecast load profiles over an applicable window of time.

Ensure your load profiles include the timing associated with disconnection (or ramp down) of each load component. This will be used by the System Operator to better model the response in our power system tools.

## Methodology of Frequency Decay Load Curtailment Testing

Describe the method used for testing the IL scheme components and how this method meets, or is equivalent to, the testing requirements as described in the Procurement Plan, the Code, and the GL-EA-1333 Ancillary Services Testing Requirements document (see the sections relevant to IL). Is the same method applied to all loads in the scheme? What is the resolution of measurement for the testing method?

For example: every meter/relay is tested by injection of the System Operator standard UFE frequency curve and outputs recorded every 100 ms. The meter/relay is then installed at the load site and disconnection time is tested using manual event trigger functionality within the ION meter. Load quantity is measured showing disconnection of load sometime after triggering, measured every 50 ms (or other description pertinent to your own installation).

### Test Reporting

Describe how test reporting will be done in future (i.e. for routine testing).

Note: the file format for test results should be .csv.

## Post-event Reporting

What will be your process for gathering and providing the required performance information to the System Operator after an event?

Note: You have 5 business days to provide the data to the System Operator.

# References

There are no sources in the current document.

Appendix 1

Include any diagrams or supporting screenshots.