## Load Site
Station - section | Field | Units | Large load site A | Large load site B | Large load site x
General information | Plant or station name
General information | Plant or station 3 letter code
General information | Type of load (e.g. smelter, arc furnace, data centre)
General information | Island
General information | Primary contact
General information | Secondary contact
General information | Network connection
General information | Grid injection point / point of connection to the grid / grid exit point
General information | Point of Connection to the Grid
General information | Nominal voltage at point of connection to grid or local network | kV
General information | ACS stage
Additional information | Load maximum MW | MW
Additional information | Maximum load ramp rate during startup, shutdown, and during load cycling | MW/min
Additional information | Single Line Diagram (SLD) | attachment
Additional information | Expected power factor at maximum MW | pf
Additional information | How many direct online start up motors greater than 1 MW are on site | MW
Additional information | How many VSD driven motors greater than 1 MW are on site | MW
Additional information | Are energy storage systems installed?
Additional information | Total rated apparent power of all energy storage devices (Peak rating) | MVA
Additional information | Total continuous output of all energy storage devices (if different from total rated apparent power) | MVA
Additional information | Total rated energy capacity of energy storage devices at full charge | MWh
Additional information | Does the load provide any form of active or reactive power control responding to system voltage and/or frequency?
Additional information | Do station level control systems exist, additional to that provided by individual assets?
Additional information | Details of any auxiliary load which the site depends on to operate
Additional information | Attachment to detail any shunt capacitors, reactors, or filter banks on site | attachment
Additional information | Attach nameplate data for large motor loads on site | attachment
Additional information | Attachment to describe the high level load composition, e.g. power electronics, motor loads, etc | attachment
Additional information | Attachment to describe load cycling behaviour, seasonal variations, different operation modes | attachment
Additional information | Does this site provide interruptible load (IL) services?
Additional information | Details of interruptible load component of load e.g. feeders armed for IL
Additional information | Details of automatic under-frequency load shedding implementation, including equivalence arrangement if required | attachment
Protection information | Under voltage trip threshold 1 | pu
Protection information | Under voltage trip time 1 | s
Protection information | Under voltage trip fraction 1
Protection information | Under voltage reclose threshold 1 | pu
Protection information | Under voltage reclose time 1 | s
Protection information | Under voltage trip threshold 2 | pu
Protection information | Under voltage trip time 2 | s
Protection information | Under voltage trip fraction 2
Protection information | Under voltage reclose threshold 2 | pu | .. | .. | ..
Protection information | Under voltage reclose time 2 | s
Protection information | Under frequency trip threshold 1 | Hz
Protection information | Under frequency trip time 1 | s
Protection information | Under frequency trip fraction 1
Protection information | Under frequency reclose threshold 1 | Hz
Protection information | Under frequency reclose time 1 | s
Protection information | Under frequency trip threshold 2 | Hz
Protection information | Under frequency trip time 2 | s
Protection information | Under frequency trip fraction 2
Protection information | Under frequency reclose threshold 2 | Hz
Protection information | Under frequency reclose time 2 | s
Data centre specific information | Does the facility switch to a UPS during voltage disturbances?
Data centre specific information | Will the site continue to draw current during voltage disturbances?
Data centre specific information | What time delay and ramp rate will the facility have when it reconnects to the grid following a voltage disturbance?

## Transformers
Transformers - Section | Field | Units | T1 | T2 | Tx
Basic information | Asset name(s)
Basic information | Number of identical assets
Basic information | Number of windings per phase
Basic information | Transformer tap changer - tapped winding
Basic information | ACS stage
General information | Rating - HV | MVA
General information | Rating - MV | MVA
General information | Rating - LV | MVA
General information | Nominal voltage - HV | kV
General information | Nominal voltage - MV | kV
General information | Nominal voltage - LV | kV
General information | Vector group
General information | Iron losses | kW
General information | B-H Curve
General information | Construction type
General information | Nameplate data
Impedances - in p.u on transformer HV MVA base | Positive sequence resistance (HV-LV) | p.u.
Impedances - in p.u on transformer HV MVA base | Positive sequence reactance (HV-LV) | p.u.
Impedances - in p.u on transformer HV MVA base | Zero sequence resistance (HV-LV) | p.u.
Impedances - in p.u on transformer HV MVA base | Zero sequence reactance (HV-LV) | p.u.
Impedances - in p.u on transformer HV MVA base | Positive sequence resistance (MV-LV) | p.u.
Impedances - in p.u on transformer HV MVA base | Positive sequence reactance (MV-LV) | p.u.
Impedances - in p.u on transformer HV MVA base | Zero sequence resistance (MV-LV) | p.u.
Impedances - in p.u on transformer HV MVA base | Zero sequence reactance (MV-LV) | p.u.
Impedances - in p.u on transformer HV MVA base | Positive sequence resistance (HV-MV) | p.u.
Impedances - in p.u on transformer HV MVA base | Positive sequence reactance (HV-MV) | p.u.
Impedances - in p.u on transformer HV MVA base | Zero sequence resistance (HV-MV) | p.u.
Impedances - in p.u on transformer HV MVA base | Zero sequence reactance (HV-MV) | p.u.
Impedances - in p.u on transformer HV MVA base | Earthing resistance Re | ohm
Impedances - in p.u on transformer HV MVA base | Earthing reactance Xe | ohm
Transformer tap changer - HV winding | Tap changing method
Transformer tap changer - HV winding | Number of taps
Transformer tap changer - HV winding | Step size | %
Transformer tap changer - HV winding | Minimum tap position
Transformer tap changer - HV winding | Maximum tap position
Transformer tap changer - HV winding | Nominal tap position at 100%
Transformer tap changer - HV winding | Tap range max-min %
Transformer tap changer - HV winding | Tap changer operation
Transformer tap changer - HV winding | Controller type
Transformer tap changer - HV winding | Test date
Transformer tap changer - HV winding | Test data

## Transmission lines
Transmission lines - Section | Field | Units | TL1 | TL2 | TLx
Basic information | Asset name(s)
Basic information | Number of identical assets
Basic information | Transmission line type
Basic information | ACS stage
General information | Circuit length | km
General information | Rated voltage | kV
General information | Rated current | A
General information | Design parameters
Impedance data | Positive sequence series resistance R1 | ohm
Impedance data | Zero sequence series resistance R0 | ohm
Impedance data | Positive sequence series reactance X1 | ohm
Impedance data | Zero sequence series reactance X0 | ohm
Impedance data | Positive sequence shunt capacitance C1 | µF
Impedance data | Zero sequence shunt capacitance C0 | µF