Asset Owner Name

Code Decommissioning Plan for

Name of Unit

- Fill in your Asset Owner Name and the Name of the Unit under Test.

- Go to File –> Print to automatically populate those fields throughout the document.

- Delete this text box.

Version Record

| Addendum/Amendment | Replaces | Document Version | Date |
| --- | --- | --- | --- |
| Initial version | NIL | 1.0 | Click or tap to enter a date. |

Contents

1	Introduction	3

2	Decommissioning Objectives	3

3	Agreement	3

4	Decommissioning Checklist 	4

5	Decommissioning Schedule	5

6	Code Requirements	5

6.1	Asset Capability Statement	5

6.2	Dispensations/Equivalence Arrangements	5

7	Appendix	7

7.1	Final Single Line Diagram	7

# Introduction

[Provide background and reason for decommissioning, then delete this instruction.]

[Asset Owner Name to provide background and reason for decommissioning of Name of Unit]

# Decommissioning Objectives

[Adjust as necessary, then delete this instruction.]

The objective of the decommissioning is to:

disconnect assets from the power system, and

provide a date and schedule of decommissioning activities, and

ensure all systems are updated to reflect the nominated decommissioned asset, and

indication if decommissioned assets will be transferred to a new asset owner.

# Agreement

[Adjust as necessary, then delete this instruction.]

This Code decommissioning plan has been prepared by Asset Owner Name and is agreed by the System Operator in accordance with the Electricity Industry Participation Code 2010.

Provision of indications and measurements from the asset being decommissioned must be continued until the agreed decommissioning date specified in section 5.

This serves a notification to the System Operator of their intention to disconnect from the grid.  Return the completed Decommissioning Plan to the System Operator Compliance mailbox (compliance@transpower.co.nz)

|  | Asset Owner | System Operator |
| --- | --- | --- |
| Name |  |  |
| Title |  |  |
| Date | Click or tap to enter a date. | Click or tap to enter a date. |
| Signature |  |  |

# Decommissioning Checklist

[Complete the table below, then delete this instruction.]

| # | Item | Asset Owner Input |
| --- | --- | --- |
| 4.1 | Station name |  |
| 4.2 | Unit name | Name of Unit |
| 4.3 | Date of decommissioning |  |
| 4.4 | Asset Owner Project Reference Number (if applicable) |  |
| 4.5 | Single line diagram shading the assets to be decommissioned provided in appendix | ☐ |
| 4.6 | ACS status of decommissioned asset has been changed to “Decommissioned” | ☐ on Click or tap to enter a date. |
| 4.7 | Does decommissioning affect total station MW output? (If yes, update station output in ACS.) | Choose an item. |
| 4.8 | Will any decommissioned assets be moved to an existing Asset Owner Name site? (If yes, elaborate.) | Choose an item. |
| 4.9 | Will any decommissioned asset be acquired by a new asset owner? (If yes, elaborate; provide details of how ACS information will be shared with and transferred to the new asset owner, thereby providing consent) | Choose an item. |
| 4.10 | Are any granted dispensations or approved equivalence arrangements to be cancelled or remaining, or are there new non-compliances due to the decommissioning? (Provide IDs – if yes, provide details in section 6.2) | Choose an item. |
| 4.11 | What is the impact of the decommissioning on other connected asset owners? |  |
| 4.12 | Any special protection schemes related to the decommissioning asset? (If yes, provide details) | Choose an item. |
| 4.13 | If the station has a point of connection to Transpower’s grid, has the Grid Owner been notified of the decommissioning? (if yes, indicate the date when common interest drawings have been updated) | Choose an item. Click or tap to enter a date. |
| 4.14 | Has the impact of protection coordination on assets at the grid interface been understood and mitigated? | Choose an item. |
| 4.15 | Do you consent for the decommissioned asset to be removed from the POCP and NZGB models? | Choose an item. |
| 4.16 | Any other relevant information… |  |

# Decommissioning Schedule

[List the activities leading up to the decommissioning date, such as offers reversed from WITS, SCADA turned off etc., then delete this instruction.]

| Activity | Anticipated Date Range |
| --- | --- |

# Code Requirements

## Asset Capability Statement

As a reminder, the Name of Unit decommissioning plan and agreement thereof does not relieve Asset Owner Name from its obligations to continue to meet the requirements of the Code until the asset is decommissioned in accordance with clause 8.28(1) of the Electricity Industry Participation Code 2010.

## Dispensations/Equivalence Arrangements

As signalled in item 4.10 above, dispensations or equivalence arrangements associated with the decommissioned Name of Unit needs to be cancelled via the Dispensation and Equivalence Arrangement database. If the decommissioning of Name of Unit results in a remaining or new non-compliance, a new dispensation or equivalence arrangement needs to be raised via the application process in the above hyperlink, in accordance with clause 8.29 of the Code.

Provide below the IDs of the dispensations and equivalence arrangement that will be cancelled by Asset Owner Name as part of the decommissioning of Name of Unit, as well as new non-compliances due to the decommissioning (if relevant).

[Once complete, you can delete this instruction text.]

| Dispensation or Equivalence Arrangement ID | Cancel / New | Code Clause | Description |
| --- | --- | --- | --- |
|  | Choose an item. |  |  |
|  | Choose an item. |  |  |
|  | Choose an item. |  |  |

# Appendix

## Final Single Line Diagram