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	TEST PLAN FORM



	[bookmark: _Hlk222751883]About This Form
(Use the desktop version of Microsoft Word for best functionality)
	This test plan form is part of the System Operator’s PR-EA-010 Planned and Urgent Asset Testing procedure. It is to be completed asset owners, including generators, connected asset owners, and grid owners, when they intend to:
· conduct asset performance tests, while connected to the power system (i.e. performing a system test), or 
· perform tests or planned work that may affect the accuracy of operational communications, or the System Operator’s ability to meet its Principal Performance Obligations and achieve the dispatch objective.

	Asset Owner Requirements and Test Plan Process
	For obligations relevant to test plans, see chapter 6 of the Connected Asset Commissioning, Testing and Information Standard (CACTIS), and clauses 2(6) and 2(9) of Part 8, Schedule 8.3, Technical Code A of the Electricity Industry Participation Code 2010 (the Code). If an asset owner is unsure how testing may impact system security or whether a test plan is required, contact the System Operator for advice (see details below).
All proposed commissioning testing must be referenced in the agreed Code commissioning plan and detailed in the engineering methodology.
An asset owner must submit the completed test plan forms at least 15 business days before the proposed test start date to allow sufficient time for review and agreement from the System Operator. Asset capability information provided on a test plan form must be the asset owner’s best estimate of actual capability for the duration of the proposed testing.  
Submission: The test plan must be agreed by the System Operator before a test may be carried out. The process to seek agreement is as follows:
· The asset owner emails a completed test plan form to OperationalTestPlans@transpower.co.nz and the lead commissioning engineer (if applicable) for assessment.
· The System Operator assesses the completed test plan form and indicates agreement or otherwise, taking account of any potential system security and power quality impacts.
· The asset owner and System Operator both agree and confirm by email exchange any conditions applying to the proposed testing.
Minor Change Requests: If changes to an agreed test plan are required, the process to seek agreement for those changes is as follows: 
· The asset owner carefully considers the changes. The System Operator makes considerations only for minor changes where only:
· the date and time have changed and
· the details of test either remain unchanged or are reduced.
· The asset owner sends a written request with the details of minor change(s) to both OperationalTestPlans@transpower.co.nz and NMdata@transpower.co.nz for the System Operator to review. Any agreement will be communicated via email.

	Special Provisions
	During a period of commissioning or testing of assets, the asset owner may be relieved from some compliance requirements. These include performance obligations, the technical codes in Part 8, and CACTIS clauses, provided the agreed test plan is strictly followed (see Code cl. 8.28(3)). 
Note: Asset capability information provided on this form will temporarily supersede the latest Asset Capability Statement (ACS) provided to the System Operator, but only for the duration of the proposed testing.  After testing, the asset owner must update their ACS to confirm any permanent changes in asset capability. 
The asset owner must always ensure they provide the System Operator with an ACS which correctly describes their asset’s capabilities.  

	System Operator Contact Details
	Duty Operations Manager
Normal hours Monday to Friday, 08:00 to 16:30
Email 	operationsmanager@transpower.co.nz 
Phone 	(07) 8430618
	Security Coordinator 
Email: 	nmdata@transpower.co.nz
Phone:	0800 488 500 
Energy Coordinator
Phone 	0800 535 123
	For compliance queries:
Email	compliance@transpower.co.nz 
After hours – call Security Coordinator



	Section 1 Asset Owner Contact Information (Asset Owner to Complete)

	Asset Owner name:
	[Company]
	Phone:
	Click here to enter text.
	Contact person:
	[AO Name]	Email:
	[AO Email]
	Date:
	Click or tap to enter a date.	Test Plan point of contact Details:
	[Email Contact Test Plan]
[Phone Contact Test Plan]

	Completed by:
	Click here to enter text.	
	



	Section 2 Asset Owner Asset Test Details (Asset Owner to Complete)

	Asset Owner type:
	[Asset Owner Type]	Asset type:
	[Plant Type]	Test time: (hh:mm)
	00:00

	Asset name:
	[Plant Name]	Test date:
	[Date of Test]
	Test duration:
	[Proposed Duration]
	Test category:
		☐ EIPC Testing
	☐ Commissioning
	☐ Ancillary Services Testing

	☐ General Test / Other
	☐ De-commissioning




	Test type: 
	Code and Performance testing

	
	☐ Capability
☐ Load rejection
☐ Secondary Systems
	☐ Frequency / power control
☐ Mechanical (e.g. heat run, steam)

	☐ Voltage / Var control
☐ Communication systems


	
	Ancillary Service testing

	
	☐ Interruptible load (FIR/SIR)
☐ Voltage support
	☐ Generation reserve (FIR/SIR)
☐ Over-frequency reserve
	☐ Black start
☐ Multiple frequency keeping 

	Planned work:
	☐ Planned operational communications outage 

	Description of temporary change to asset capability during the test:
	Asset Owner to provide full details of the change in asset capability relating to the proposed test.
[Temporary change to asset capability]




	Details of test or planned work and proposed measures by Asset Owner to minimise impact:
	Asset Owner to provide full details of the test/planned work and method of compensation to mitigate the impact of the test/planned work along with details of ramp-rates etc., if applicable. 
Click here to enter text.


	Other relevant operational information to assist System Operator’s assessment
	Asset Owner to provide additional information such as seeking agreement to clause 13.82.2 (i) (ii) (Part 13 Trading Arrangement of the ‘Code’) relating to the proposed test.
Click here to enter text.

	Consultation with:
(Name and Date)
	Click here to enter text.
Click or tap to enter a date.
	Maximum generation or load at risk:
	0 MW

	
	
	Maximum generation MW above ACS MCO
	--
	Expected impact on Asset Owner performance requirements (Part 8 clause 8.28 (3a) of the ‘Code’)
	Asset Owner to advise any relief required from Asset Owner Performance Obligations, Technical Codes, and the Connected Asset Commissioning, Testing, and Information Standard. Reasoning must be provided. 

Click here to enter text.

Note: no relief from Code or CACTIS obligations can be provided by the System Operator for planned work such as Operational Communications outage.

	Risk for System Operator
	[E.g.: Increased or secondary risk of unit trip, frequency excursion, voltage excursion, unable to control voltage, etc.]
Click here to enter text.

	Asset Owner pre-requisites to perform test or planned work
	[E.g. Minimum number of units that will be made available for dispatch, Power System Stabiliser must be enabled, etc.]
Click here to enter text.

	ACS data requires update?
	Choose an item.	Test plan type:
	Choose an item.	Reason for last revision (if applicable):
	Click here to enter text.



	Section 3 System Operator Evaluation Conditions (System Operator to Complete)

	System Operator to complete and asset owner to agree prior to test date
	Daily system requirements:
	At all times:
	System impacts resulting from these tests to be minimised.

	
	
	2 hours prior:
	Asset Owner must notify Security Coordinator that test will be proceeding as planned.

	
	
	15 minutes prior:
	Asset Owner must receive agreement from the Energy Coordinator to proceed with the test.

	
	
	Immediately prior:
(test to commence within 1 minute of agreement being given)
	Asset Owner must receive agreement from the Energy Coordinator to proceed with the test.

	
	Conditions applying to dispatch of asset during this Test Plan / reduced asset capability
	[image: ]
	Security Coordinator agreement for testing to proceed is subject to suitable system conditions existing at the actual time of the test and may be withdrawn up to and immediately prior to the agreed time of the test should system conditions dictate.
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	Asset Owner needs to be aware that having a test plan does not relieve the Asset Owner as potentially being found the causer of an under-frequency event (when frequency falls below 49.25 Hz. 
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	When a test is not undertaken or commenced by the time agreed by the System Operator the agreement is rescinded and a new agreement must be obtained before the test is commenced.
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	Any changes to this Test Plan must be submitted on a new Test Plan Form unless agreed prior with the Security Coordinator.

	
	
	☐	System Operator agrees to clause 13.82.2 (i) (ii) of the ‘Code’ as the Asset Owner has no other means of meeting dispatch during testing. 

	
	
		-



	This test plan will be reassessed two weeks prior to the test date.

	
	
		-



	This test is a secondary risk to the power system. 

	
	Compliance Assessment
	[Compliance Agreement]	Operations Planning Assessment
	[Ops Planning Agreement]
	
	Power System Assessment
	[PS Engineering Agreement]	Operations Manager Assessment
	[Ops Manager Agreement]
	
	Test Plan Conditions of Approval and/or Additional Information:
	[Test Plan Conditions of Approval and/or Additional Information]
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