| About This Form: |  | This Test Plan Form is a part of the System Operator’s procedure PR-EA-010 Planned and Urgent Asset Testing. For use when energy providers, distributors, direct connects, and grid Asset Owners wish to test asset performance while the asset is connected to the power system (perform a system test) or perform a test that may affect the System Operator’s ability to manage power system security. Clauses 2(6) 2(8) and 2(9) of Schedule 8.3, Technical Code A of the Code set out the test plan obligations on Asset Owners. If an Asset Owner is unsure whether testing may impact system security, they must contact the System Operator for advice (contact details below). Test Plan Forms are to be emailed to: OperationalTestPlans@transpower.co.nz All testing carried out as part of commissioning should refer to the agreed Commissioning Plan. |  |  |
| --- | --- | --- | --- | --- |
| Special Provisions Applying | While asset testing is underway pursuant to an agreed test plan special provisions apply for Asset Owner compliance with performance obligations and the technical codes in Part 8 of the Code (see Part 8 clause 8.28 (3) of the Code) provided the agreed test plan is strictly adhered to. - Note: Asset capability information provided on this form will replace that notified on the latest Asset Capability Statement (ACS) provided to the System Operator but only for the duration of notified testing. After testing, the Asset Owner must confirm to the System Operator any permanent changes in Asset Capability by updating the Asset Capability Database. - It is the responsibility of the Asset Owner to ensure the System Operator is at all times provided with an ACS which correctly describes the relevant asset’s capabilities. |  |  |  |
| Asset Owner Requirements | To allow sufficient time for proposed tests to be assessed and agreed by the System Operator Test Plan Forms must be submitted at least 15 business days in advance. Asset capability information provided on a Test Plan Form must be the Asset Owner’s best estimate of actual capability. The Test Plan must be agreed with the System Operator before testing can proceed: - A Test Plan Form must be lodged by email for assessment. - Assessment of the Test Plan will be made taking account of potential system security and power quality impacts. - The Asset Owner and System Operator must agree and confirm by e-mail exchange any conditions applying to testing before a test may be carried out. - Consideration may be made to agree changes to previously approved test plans where the date and time (only) has changed with either the testing details unchanged or reduced from when the test plan was first approved. - The Asset Owner shall send written confirmation including details of the change to both OperationalTestPlans@transpower.co.nz and NMdata@transpower.co.nz; this confirms acceptance directly to the Security Coordinator. - A request for a minor change to an agreed time to carry out a test near to real time must be made to the Security Coordinator; such a change may be agreed at the discretion of the Security Coordinator. |  |  |  |
| SO Contact Details | - Duty Operations Manager - Normal hours Monday to Friday,08:00 to 16:30 - Email operationsmanager@transpower.co.nz - Phone (07) 8430618 |  | - Security Coordinator - Email: nmdata@transpower.co.nz - Phone: 0800 488 500 - Energy Coordinator - Phone 0800 535 123 | - For compliance queries: - Email compliance@transpower.co.nz - After hours – call Security Coordinator |

| Section 1 Asset Owner Contact Information (Asset Owner to Complete) |  |  |  |
| --- | --- | --- | --- |
| Asset Owner name: | [Company] | Phone: | Click here to enter text. |
| Contact person: | [AO Name] | Email: | [AO Email] |
| Date: | Click or tap to enter a date. | Test Plan point of contact Details: | [Email Contact Test Plan] [Phone Contact Test Plan] |
| Completed by: | Click here to enter text. |  |  |

| Section 2 Asset Owner Asset Test Details (Asset Owner to Complete) |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Asset Owner type: | [Asset Owner Type] |  | Asset type: |  | [Plant Type] |  |  | Test time: (hh:mm) |  |  | 00:00 |
| Asset name: | [Plant Name] |  | Test date: |  | [Date and Time of Test] |  |  | Test duration: |  |  | [Proposed Duration] |
| Test category: | ☐ EIPC Testing; ☐ Commissioning; ☐ Ancillary Services Testing. ☐ General Test / Other; ☐ De-commissioning. |
| Test type: | Code and Performance testing |  |  |  |  |  |  |  |  |  |  |
|  | ☐ Capability ☐ Load rejection ☐ Secondary Systems |  |  | ☐ Frequency / power control ☐ Mechanical (e.g. heat run, steam) |  |  |  |  | ☐ Voltage / Var control ☐ Communication systems |  |  |
|  | Ancillary Service testing |  |  |  |  |  |  |  |  |  |  |
|  | ☐ Interruptible load (FIR/SIR) ☐ Voltage support |  |  | ☐ Generation reserve (FIR/SIR) ☐ Over-frequency reserve |  |  |  |  | ☐ Black start ☐ Multiple frequency keeping |  |  |
| Description of temporary change to asset capability during the test: | Asset Owner to provide full details of the change in asset capability relating to the proposed test. [Temporary change to asset capability] |  |  |  |  |  |  |  |  |  |  |
| Details of test and proposed measures by Asset Owner to minimise impact: | Asset Owner to provide full details of the test and method of compensation to mitigate the impact of the test along with details of ramp-rates etc., if applicable. Click here to enter text. |  |  |  |  |  |  |  |  |  |  |
| Other relevant operational information to assist System Operator’s assessment | Asset Owner to provide additional information such as seeking agreement to clause 13.82.2 (i) (ii) (Part 13 Trading Arrangement of the ‘Code’) relating to the proposed test. Click here to enter text. |  |  |  |  |  |  |  |  |  |  |
| Consultation with: (Name and Date) | Click here to enter text. Click or tap to enter a date. |  |  |  |  |  | Maximum generation or load at risk: |  |  | 0 MW |  |
|  |  |  |  |  |  |  | Maximum generation MW above ACS MCO |  |  | -- |  |
| Expected impact on Asset Owner performance requirements (Part 8 clause 8.28 (3a) of the ‘Code’) | Asset Owner to advise any relief required from Asset Owner Performance Obligations, Technical Codes, and the Connected Asset Commissioning, Testing, and Information Standard. Reasoning must be provided. Click here to enter text. |  |  |  |  |  |  |  |  |  |  |
| Risk for System Operator | [E.g: Increased or secondary risk of unit trip, frequency excursion, voltage excursion, unable to control voltage, etc.] Click here to enter text. |  |  |  |  |  |  |  |  |  |  |
| Asset Owner pre-requisites to perform test | [E.g. Minimum number of units that will be made available for dispatch, Power System Stabiliser must be enabled, etc.] Click here to enter text. |  |  |  |  |  |  |  |  |  |  |
| ACS data requires update? |  | Test plan type: |  |  | Reason for last revision: | Click here to enter text. |  |  |  |  |  |

| Section 3 System Operator Evaluation Conditions (System Operator to Complete) |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| System Operator to complete and asset owner to agree prior to test date | Daily system requirements: | At all times: |  | System impacts resulting from these tests to be minimised. |  |  |
|  |  | 2 hours prior: |  | Asset Owner must notify Security Coordinator that test will be proceeding as planned. |  |  |
|  |  | 15 minutes prior: |  | Asset Owner must receive approval from the Energy Coordinator to proceed with the test. |  |  |
|  |  | Immediately prior: (test to commence within 1 minute of approval being given) |  | Asset Owner must receive approval from the Energy Coordinator to proceed with the test. |  |  |
|  | Conditions applying to dispatch of asset during this Test Plan/ reduced asset capability |  | Security Coordinator agreement for testing to proceed is subject to suitable system conditions existing at the actual time of the test and may be withdrawn up to and immediately prior to the agreed time of the test should system conditions dictate. |  |  |  |
|  |  |  | Asset Owner needs to be aware that having a test plan does not relieve the Asset Owner as potentially being found the causer of an under-frequency event (when frequency falls below 49.25 Hz. |  |  |  |
|  |  |  | When a test is not undertaken or commenced by the time approved by the System Operator the approval is rescinded and a new approval must be obtained before the test is commenced. |  |  |  |
|  |  |  | Any changes to this Test Plan must be submitted on a new Test Plan Form unless agreed prior with the Security Coordinator. |  |  |  |
|  |  | ☐ | System Operator agrees to clause 13.82.2 (i) (ii) of the ‘Code’ as the Asset Owner has no other means of meeting dispatch during testing. |  |  |  |
|  |  | -. | This test plan will be reassessed two weeks prior to the test date. |  |  |  |
|  |  | -. | This test is a secondary risk to the power system. |  |  |  |
|  | Compliance Assessment | [Compliance Approval] |  |  | [Compliance Assessment Comment and Conditions] |  |
|  | Operations Planning Assessment | [Ops Planning Approval] |  |  | Date Change Permitted | [DateChangePermitted] |
|  |  |  |  |  | [Ops Planning Assessment Comment and Conditions] |  |
|  | Power System Assessment | [PS Engineering Approval] |  |  | [Power Systems Assessment Comment and Conditions] |  |
|  | System pre-conditions and additional comments: | [NCC Assessment Comment and Conditions] |  |  |  |  |