|  | URGENT ASSET CAPABILITY CHANGE NOTICE |
| --- | --- |

| About This Form: | This notice is for use by energy providers, distributors, direct connects, and grid asset owners to inform the System Operator of an urgent/temporary change in asset capability. An urgent or temporary change to asset capability occurs when the Asset Owner: unexpectedly becomes aware the capability of an asset may differ from the capability described in the most recent asset capability statement that has been provided to the system operator; and determines it is not practicable to submit a new asset capability statement (ACS); and needs to perform further investigations to determine or confirm the actual capability of the asset. - Please Note: Asset capability information provided on this form will replace that notified on the latest ACS only for the duration notified on this form, at which point, the ACS will be deemed as correct unless otherwise informed. For temporary changes longer than 1 week a formal change to the ACS must also be submitted. Changes notified on this form do not relieve asset owners from planning to meet, or meeting, their obligations as set out in the Electricity Industry Participation Code. Form to be sent to: compliance@transpower.co.nz and NMdata@transpower.co.nz |
| --- | --- |

| Relationship to the Test Plan | - If the Asset Owner needs to perform any system tests on the asset then an Operational Test Plan must also be submitted |  |  |
| --- | --- | --- | --- |
| Asset owner requirements | verbally notify the System Operator Energy Co-ordinator asset capability information provided on this form must be the asset owners best estimate of actual capability The asset owner must immediately advise the System Operator of any changes to the details contained in the form |  |  |
| System Operator requirements | When the system operator receives an Urgent Asset Capability Change Notice it will: Assess the impact change in asset capability will have on the system operator’s ability to manage the power system. Agree with the asset owner any necessary operating conditions or limitations as a result of the temporary change. Advise the asset owner of any conditions or constraints the system operator will apply to the dispatch of the asset |  |  |
| SO Contact Details | - Operations Manager - Normal hours Monday to Friday,08:00 to 16:30 - Email operationsmanager@transpower.co.nz - Phone (07) 843 0618 or - After hours – call Security Co-ordinator | - Security Co-ordinator - Email: nmdata@transpower.co.nz - Phone: 0800 488 500 | - Energy Co-ordinator - Phone 0800 535 123 |

| Section 1 Asset Owner Contact Information (Asset Owner to Complete) |  |  |  |
| --- | --- | --- | --- |
| Asset Owner Name: |  | Phone: |  |
| Contact Person: |  |  |  |
| Date: |  | Email: |  |
| Completed By: |  | Signed: |  |
| Designation: |  |  |  |

| Section 2 Asset Details (Asset Owner to Complete) |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Asset Owner Type |  | Plant Type: |  |  | Plant Name: |  |
| Date From: |  |  |  | Time From: |  |  |
| Expected End Date: |  |  |  | Expected End Time: |  |  |
| Description of Temporary Change to Asset Capability: |  |  |  |  |  |  |
| Operational restrictions |  |  |  |  |  |  |

| Section 3 Evaluation Conditions(System Operator to Complete) |  |
| --- | --- |
| System Operator security Assessment |  |
| Conditions Applying to Dispatch of Asset During this Reduced Asset Capability: |  |
| Constraints that will be applied |  |