|  |  |  |  | TEST FORM - OFR |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| About This Form: | For use when generators are testing over-frequency response to satisfy the requirements of the Ancillary Services Procurement Contract as an approved provider of over-frequency reserves (OFR). Test Forms are to be emailed to: market.operations@transpower.co.nz |  |  |  |  |  |  |  |  |  |
| Asset Owner Requirements | Secondary frequency injection tests are required to test relay device signals are being transmitted to protection relays correctly. End-to-end test remains a requirement for any new connections and/or changes to systems including relay devices. |  |  |  |  |  |  |  |  |  |
| SO Contact Details | - Market Operations - Email: market.operations@transpower.co.nz |  |  |  |  |  |  |  |  |  |
| Section 1 Asset Information |  |  |  |  |  |  |  |  |  |  |
| Ancillary Service Agent: |  |  | [Company] |  |  |  | Phone: |  | [Click here to enter No.] |  |
| Contact Person: |  |  | [AO Name] |  |  |  | Email: |  | [AO Email] |  |
| Date: |  |  | [Click or tap to enter a date] |  |  |  | Signed: |  |  |  |
| Completed by: |  |  | [Click here to enter text] |  |  |  | Designation: |  | [Click here to enter text] |  |
| Asset Station: |  |  | [Click here to enter Station Name] |  |  |  | Unit No.: |  | [Click here to enter Unit No.] |  |
| Performance Requirements: |  |  | Trip frequency (Hz): |  | [Click here to enter Trip Frequency] |  | Trip Time (ms): |  | [Click here to enter Trip Time] |  |
| Section 2 OFR Audit Testing Results and/or Baseline Testing Results (2-Yearly) |  |  |  |  |  |  |  |  |  |  |  |
| Remote enable/disable Control |  |  |  | Remote armed/disarmed Indications: |  |  |  | Trip Circuit Reviewed |  | Over-Frequency Relay Configuration Reviewed |  |
| Transpower: |  | SCADA: |  | Transpower: |  | SCADA: |  |  |  |  |  |
| Choose an item. |  | Choose an item. |  | Choose an item. |  | Choose an item. |  | Choose an item. |  | Choose an item. |  |
| [Click or tap to enter a date] |  | [Click or tap to enter a date] |  | [Click or tap to enter a date] |  | [Click or tap to enter a date] |  | [Click or tap to enter a date] |  | [Click or tap to enter a date] |  |
| Comments: |  | [Click here to enter test result details] |  |  |  |  |  |  |  |  |  |
| Ancillary Service Agent Attestation: |  | The 2 yearly tests have been carried out in accordance with the Performance Requirements of OFR Contract requirements and [the Ancillary Service Agent] believes that the configured system will meet those requirements. [Ancillary Service Agent] can confirm that no changes have been made to any equipment or monitoring equipment which would require full baseline testing since the date of the last baseline tests. |  |  |  |  |  | Digital Signature Required |  |  |  |
| Section 3 OFR Baseline Testing Results (4-Yearly) |  |  |  |  |  |  |  |  |  |  |  |
| Relay Testing Date: |  | Relay Operating Frequency (Hz): |  | Relay Operating Time (ms): |  | Circuit Breaker Operating Time (ms): |  | Circuit Breaker Testing Date (tested as part of baseline testing or as a separate test) |  | Total Trip Time (ms) (must be <0.5s): |  |
| [Click or tap to enter a date] |  | [Click here to enter frequency] |  | [Click here to enter time] |  | [Click here to enter time] |  | Click or tap to enter a date] |  | [Click here to enter time] |  |
| Comments: |  | [Click here to enter test details] |  |  |  |  |  |  |  |  |  |
| Attestation: |  | The 4 yearly baseline tests have been carried out in accordance with the Performance Requirements of OFR Contract requirements and [the Ancillary Service Agent] believes that the configured system will meet those requirements. |  |  |  |  |  | Digital Signature Required |  |  |  |
| Section 4 Appendices |  |  |  |  |  |  |  |  |  |  |  |
| Appendices: |  | [Click here to enter test results, drawings, and or test reports] |  |  |  |  |  |  |  |  |  |