Legacy Status Note in response to 2026 Part 8 Code Amendments

1. Complete the following tables to confirm the applicability of legacy clause provisions to your generating station. 2. For each applicable clause, explain why your generating station cannot comply with the new obligations. Include references to any other relevant Code clauses, subclauses, or Technical Codes. You can use the appendix for any additional diagrams, files, or further explanation. When you attach supporting files to your Asset Capability Statement to endorse your explanations, ensure that each file name begins with the word “legacy” e.g. “Legacy Distributor Fault Ride-Through Study.” This will facilitate System Operator review processes. 3. Attach this completed document within your ACS. Afterwards, please send an email to compliance@transpower.co.nz with the subject line: “Legacy Status Note Added for [STATION 3 LETTER CODE]” 4. You must update this document and notify the System Operator if there is any change to the compliance indicated. Note that certain conditions outlined in the decision papers linked below will invalidate any granted legacy clause provisions. It is your responsibility to become familiar with the obligations.

| Asset Owner |  |
| --- | --- |
| Generating Station |  |

| Relevant Clause | Legacy Subclause | Applicable? | Explanation (incl. reference to appendix if needed) |
| --- | --- | --- | --- |
| Clause 8.21 Excluded Generating Stations Referenced in Frequency-related Code amendments Decision Paper p. 27 and Voltage-related Code amendments Decision Paper p. 38-39 | Subclause (3) (for generating stations electrically connected before 1 July 2026) | ☐ | The generation station cannot meet (select which apply) without modification: ☐ 8.17 ☐ 8.19 ☐ 8.25A ☐ 8.25B Explain what modification would be required to meet the obligations checked above. Include any attachment/reference confirming the upgrade need e.g. letter from OEM. |
|  | Subclause (4) (for generating stations electrically connecting between 1 July 2026 and 1 July 2027) | ☐ |  |
| Schedule 8.3 Technical Code A Clause 5 Specific Requirements Referenced in Voltage-related Code amendments Decision Paper p. 41-43 | Subclause (2E) (for embedded generating stations - if applicable, explain and provide direction given by distributor) | ☐ | Provide evidence (e.g. via clearly marked SLD) of TC A 5 (2B). Provide evidence (e.g. distributor agreement or modification requirement) from distributor of: - any limitations in reactive power capability and/or - a mode of operation other than voltage mode |
| Clause 8.75 Transitional Process for CACTIS Referenced in CACTIS Decision Paper p. 39-40 [Note: legacy clause provisions exclude obligations in Chapter 1 (time frames) – you must still adhere to those] | Subclause (1) (for generating stations electrically connected before 1 July 2026) | ☐ | The generation station cannot meet (select which apply) without modification the requirements of: ☐ Chapter 2: Code Commissioning Plan ☐ Chapter 3: ACS ☐ Chapter 4: Modelling ☐ Chapter 5: Connection Study ☐ Chapter 6: Test Plan ☐ Chapter 7: Testing ☐ Chapter 8: Operational Communications ☐ Chapter 9: High-speed Data Explain what modification would be required to meet the obligations checked above. Include any attachment/reference confirming the upgrade need e.g. letter from OEM. |
|  | Subclause (2) (for generating stations electrically connecting between 1 July 2026 and 1 July 2027) | ☐ |  |

Appendix