## Report
Planned Loss of Supply and n-security 10 Week Outage Report
This report: - provides a forward 10 week view of work which could result in a planned a loss of supply or n-security. - is updated fortnightly. - does not take into account the impact outage concurrencies and/or system splits resulting from other planned work.
We are providing this in addition to our usual outage communications and notifications. For up-to-date outage information, please use POCP (Planned Outage Co-ordination Process) https://pocp.redspider.co.nz/ which is updated every hour.
Enter the customer name into the Connected Customers column filter box to display the outage blocks and outage impact associated with the party.
If you have any questions or feedback please contact Angela Houston, Outage Planning Manager.
outageplanners@transpower.co.nz
Start Date | Outage Block | Planned Start Date/Time | Planned Finish Date/Time | Time Frame | Outage Impact | Connected Customers
2024-09-14 07:30 | TIM_T5 | 2024-09-14 07:30 | 2024-09-22 18:30 | Continuous | n-security to: Timaru, Temuka | Alpine Energy
2024-09-16 08:00 | WAI_T2 | 2024-09-16 08:00 | 2024-09-16 16:00 | Daily | n-security to: Waiotahi 11kV | Horizon Energy
2024-09-16 07:00 | HEN_SWN_1 | 2024-09-16 07:00 | 2024-09-21 18:30 | Continuous | n-security to: Southdown | KiwiRail Holdings , Southdown Cogeneration , Mercury Energy
2024-09-16 08:00 | WAI_T5 | 2024-09-16 08:00 | 2024-09-16 18:30 | Daily | loss of supply to: Te kaha | Horizon Energy
2024-09-16 07:30 | GYM_KUM_1 | 2024-09-16 07:30 | 2024-09-20 17:30 | Continuous | n-security to: Greymouth | Westpower
2024-09-16 07:30 | GOR_T3 | 2024-09-16 07:30 | 2024-09-20 17:00 | Continuous | n-security to: Gore 33kV | PowerNet
2024-09-16 07:30 | GOR_597_607_604 | 2024-09-16 07:30 | 2024-09-20 17:00 | Continuous | n-security to: Gore 33kV WARNING: This is a single bus site, so a bus tripping will trip the whole bus. The Service Provider should exercise increased rigor in planning & preparation. | PowerNet
2024-09-16 07:30 | IGH_ROB_2 | 2024-09-16 07:30 | 2024-09-17 18:30 | Continuous | n-security to: Robertson Street | Buller Electricity
2024-09-16 08:30 | BAL_BWK_1 | 2024-09-16 08:30 | 2024-09-18 17:30 | Continuous | n-security to: Balclutha | PowerNet
2024-09-16 07:00 | WDV_DVK_WPW_1 | 2024-09-16 07:00 | 2024-09-20 18:00 | Continuous | n-security to: Dannevirke , Waipawa | Scanpower ,Centralines
2024-09-16 07:00 | WPW_T2 | 2024-09-16 07:00 | 2024-09-20 18:00 | Continuous | n-security to: Waipawa 33kV Bus | Centralines
2024-09-16 07:00 | DVK_T2 | 2024-09-16 07:00 | 2024-09-20 18:00 | Continuous | n-security to: Dannevirke 11kV Bus | Scanpower
2024-09-17 10:00 | KPU_T4 | 2024-09-17 10:00 | 2024-09-17 14:30 | Daily | n-security to: Kopu | Powerco
2024-09-17 10:00 | KPU_WKO_1 | 2024-09-17 10:00 | 2024-09-17 14:30 | Daily | n-security to: Kopu | Powerco
2024-09-17 10:00 | KPU_1087_1122_1132 | 2024-09-17 10:00 | 2024-09-17 14:30 | Daily | loss of supply to: Kerepehi, Whitianga , Tairua feeders WARNING: This is a single bus site, so a bus tripping will trip the whole bus. The Service Provider should exercise increased rigor in planning & preparation. | Powerco
2024-09-17 10:00 | KPU_357_VT367 | 2024-09-17 10:00 | 2024-09-17 14:30 | Daily | n-security to: Kopu | Powerco
2024-09-17 08:00 | LTN_T3 | 2024-09-17 08:00 | 2024-09-17 15:30 | Daily | n-security to: Linton 33kV | Powerco
2024-09-18 07:00 | KAW_77_87_107 | 2024-09-18 07:00 | 2024-09-21 18:30 | Continuous | n-security to: Kawerau 11kV ( Horizon) | Oji Fibre, Eastland Generation. Horizon
2024-09-18 07:00 | KAW_T5 | 2024-09-18 07:00 | 2024-09-21 18:30 | Continuous | n-security to: Kawerau 11kV ( Horizon) | Oji Fibre, Eastland Generation. Horizon
2024-09-18 07:30 | ABY_110BS | 2024-09-18 07:30 | 2024-09-18 17:30 | Daily | loss of supply to: Albury WARNING: This is a single bus site, so a bus tripping will trip the whole bus. The Service Provider should exercise increased rigor in planning & preparation. | Alpine Energy, Genesis, Manawa
2024-09-18 07:30 | ABY_11BS | 2024-09-18 07:30 | 2024-09-18 17:30 | Daily | loss of connection to: Albury and Ophua generation WARNING: This is a single bus site, so a bus tripping will trip the whole bus. The Service Provider should exercise increased rigor in planning & preparation. | Alpine Energy, Genesis, Manawa
2024-09-18 07:30 | ABY_CB_2712 | 2024-09-18 07:30 | 2024-09-18 17:30 | Daily | loss of supply to: Albury | Alpine Energy
2024-09-18 07:30 | ABY_T2 | 2024-09-18 07:30 | 2024-09-18 17:30 | Daily | loss of supply to: Albury | Alpine Energy
2024-09-19 07:30 | KPU_T4 | 2024-09-19 07:30 | 2024-09-19 18:30 | Daily | n-security to: Kopu | Powerco
2024-09-19 07:30 | KPU_WKO_1 | 2024-09-19 07:30 | 2024-09-19 18:30 | Daily | n-security to: Kopu | Powerco
2024-09-19 07:30 | BRB_T2 | 2024-09-19 07:30 | 2024-09-20 18:30 | Continuous | n-security to: Bream Bay | Northpower
2024-09-19 07:30 | KPU_357_VT367 | 2024-09-19 07:30 | 2024-09-19 18:30 | Daily | n-security to: Kopu | Powerco
2024-09-19 07:00 | KAW_OHK_1 | 2024-09-19 07:00 | 2024-09-21 18:30 | Continuous | System splits to be implemented on EDG_KAW_1 and 2 or EDG_OWH_2 circuit for the EDG_KAW_3 contingency. KAW, ANI, MAT and KAG are on n-security. | Pioneer Energy, Mercury,Oji Fibre, Eastland Generation. Horizon
2024-09-19 07:30 | KPU_1107_1122_1132 | 2024-09-19 07:30 | 2024-09-19 18:30 | Daily | loss of supply to: Tairua 66kV feeder n-security to: remaining Kopu 66kV feeders WARNING: This is a single bus site, so a bus tripping will trip the whole bus. The Service Provider should exercise increased rigor in planning & preparation. | Powerco
2024-09-19 08:00 | WPW_214_267 | 2024-09-19 08:00 | 2024-09-19 17:00 | Daily | n-security to: Waipawa 33kV Bus | Centralines
2024-09-19 08:00 | WPW_T33 | 2024-09-19 08:00 | 2024-09-19 17:00 | Daily | loss of connection to: Waipawa 11kV | Centralines
2024-09-20 07:30 | FKN_T4 | 2024-09-20 07:30 | 2024-09-27 18:00 | Continuous | n-security to: Frankton 33kV | Aurora Energy
2024-09-20 07:30 | CML_FKN_2 | 2024-09-20 07:30 | 2024-09-27 18:00 | Continuous | n-security to: Frankton | Aurora Energy
2024-09-20 07:30 | CML_T8 | 2024-09-20 07:30 | 2024-09-27 18:00 | Continuous | n-security to: Cromwell , Frankton | Aurora Energy
2024-09-21 07:30 | RDF_WTU_1 | 2024-09-21 07:30 | 2024-09-21 17:00 | Daily | n-security to: Whakatu | Unison Networks
2024-09-21 07:30 | WTU_T4 | 2024-09-21 07:30 | 2024-09-21 17:00 | Daily | n-security to: Whakatu 33kV | Unison Networks
2024-09-22 09:00 | ASB_TIM_TWZ_1 | 2024-09-22 09:00 | 2024-09-22 16:00 | Daily | n-security to: Timaru | Alpine Energy
2024-09-22 07:30 | RDF_WTU_2 | 2024-09-22 07:30 | 2024-09-22 17:00 | Daily | n-security to: Whakatu | Unison Networks
2024-09-22 07:30 | WTU_T3 | 2024-09-22 07:30 | 2024-09-22 17:00 | Daily | n-security to: Whakatu 33kV | Unison Networks
2024-09-23 08:00 | KMO_MTM_1 | 2024-09-23 08:00 | 2024-09-23 18:30 | Daily | n-security to: Mt.Maunganui | Powerco
2024-09-23 06:30 | ASB_BRY_1 | 2024-09-23 06:30 | 2024-09-27 18:30 | Continuous | n-security to: Bromley | Orion New Zealand
2024-09-23 08:00 | CYD_T8 | 2024-09-23 08:00 | 2024-10-04 18:00 | Continuous | n-security to: Clyde 33kV | Contact Energy , Aurora Energy
2024-09-23 06:30 | ASB_337_364_386_407 | 2024-09-23 06:30 | 2024-09-27 18:30 | Continuous | This outage removes ASB_T8. | EA Networkss
2024-09-23 07:00 | WPW_T1 | 2024-09-23 07:00 | 2024-09-27 18:00 | Continuous | n-security to: Waipawa 33kV Bus | Centralines
2024-09-23 07:00 | DVK_T1 | 2024-09-23 07:00 | 2024-09-27 18:00 | Continuous | n-security to: Dannevirke 11kV Bus | Scanpower
2024-09-23 07:00 | WDV_DVK_WPW_2 | 2024-09-23 07:00 | 2024-09-27 18:00 | Continuous | n-security to: Dannevirke , Waipawa | Scanpower ,Centralines
2024-09-24 07:30 | TMI_T1 | 2024-09-24 07:30 | 2024-09-24 18:30 | Daily | n-security to: Te Matai | Powerco
2024-09-24 07:30 | HAM_PAO_WHU_1 | 2024-09-24 07:30 | 2024-09-27 18:30 | Daily | n-security to: Piako, Waihou, Waikino , Kopu | Powerco
2024-09-24 07:30 | PAO_CB_212 | 2024-09-24 07:30 | 2024-09-27 18:30 | Daily | n-security to: Piako | Powerco
2024-09-24 07:30 | DRY_GLN_1 | 2024-09-24 07:30 | 2024-09-27 18:30 | Continuous | n-security to: Glenbrook | Counties Power , New Zealand Steel
2024-09-24 07:00 | KIN_TRK_2 | 2024-09-24 07:00 | 2024-09-26 18:30 | Continuous | n-security to: Lichfield | Vector
2024-09-24 07:00 | LFD_DIS_76 | 2024-09-24 07:00 | 2024-09-26 18:30 | Continuous | n-security to: Lichfield | Vector
2024-09-24 07:30 | TMI_137_144_154 | 2024-09-24 07:30 | 2024-09-24 18:30 | Daily | n-security to: Te Matai WARNING: This is a single bus site, so a bus tripping will trip the whole bus. The Service Provider should exercise increased rigor in planning & preparation. | Powerco
2024-09-24 07:30 | TMI_CB_152 | 2024-09-24 07:30 | 2024-09-24 18:30 | Daily | n-security to: Te Matai | Powerco
2024-09-26 08:00 | HAY_11BS_J | 2024-09-26 08:00 | 2024-09-27 18:00 | Continuous | n-security to: Pole 2 | NZ
2024-09-27 07:30 | STU_TIM_1 | 2024-09-27 07:30 | 2024-09-27 18:30 | Daily | n-security to: Studholme | Alpine Energy
2024-09-27 13:00 | TKA_T1 | 2024-09-27 13:00 | 2024-10-30 18:30 | Continuous | loss of supply to: Tekapo | Alpine Energy, Manawa, Genesis
2024-09-27 08:00 | MTI_WKM_1 | 2024-09-27 08:00 | 2024-09-27 12:00 | Daily | n-security to: Maraetai. ..
2024-09-27 13:00 | MTI_WKM_2 | 2024-09-27 13:00 | 2024-09-27 17:00 | Daily | n-security to: Maraetai | Mercury Energy
2024-09-29 06:00 | PEN_FDR_2342 | 2024-09-29 06:00 | 2024-09-29 19:00 | Daily | loss of supply to: Southpark Corp. | SouthPark
2024-09-30 07:30 | MDN_T6 | 2024-09-30 07:30 | 2024-10-05 18:30 | Continuous | n-security to: Kaikohe, Kaitaia,Maungatapere,Kensington | Top Energy
2024-09-30 07:30 | MDN_MPE_2 | 2024-09-30 07:30 | 2024-10-05 18:30 | Continuous | n-security to: Kaikohe & Maungatapere | Top Energy, North Power
2024-09-30 07:30 | DRY_GLN_2 | 2024-09-30 07:30 | 2024-10-04 18:30 | Continuous | n-security to: Glenbrook | Counties Power , New Zealand Steel
2024-09-30 07:00 | TGA_T3 | 2024-09-30 07:00 | 2024-10-03 18:30 | Daily | n-security to: Tauranga 33kV | Powerco
2024-09-30 07:30 | BRB_T3 | 2024-09-30 07:30 | 2024-10-25 18:30 | Continuous | n-security to: Bream Bay | Northpower
2024-09-30 06:30 | COL_OTI_2 | 2024-09-30 06:30 | 2024-10-04 18:30 | Continuous | n-security if both COL_OTI circuits are RS to: Greymouth, Hokitika Avoid irrigation period if possible for a HOR & KBY load. | Orion New Zealand
2024-09-30 06:30 | APS_CLH_1 | 2024-09-30 06:30 | 2024-10-04 18:30 | Continuous | n-security at: Castle Hill, Arthur's Pass Out with COL_OTI_2 | Orion New Zealand
2024-09-30 06:30 | TUI_FDR_112 | 2024-09-30 06:30 | 2024-10-05 17:00 | Daily | Removes GIS Feeder hence the season.
2024-09-30 07:30 | TKR_T1 | 2024-09-30 07:30 | 2024-11-05 18:30 | Continuous | n-security to: Takapu Road 33kV | Wellington Electricity Lines
2024-10-01 07:00 | HAM_T6 | 2024-10-01 07:00 | 2024-10-01 18:30 | Daily | n-security to: Hamilton 11kV, Hinuera, Te-Awamutu, Karapiro, Cambridge, Waihou, Waikino, Kopu | WEL Networks , KiwiRail Holdings,Mercury Energy,Waipa Networks ,Powerco
2024-10-01 07:00 | HAM_117_157 | 2024-10-01 07:00 | 2024-10-01 18:30 | Daily | n-security to: Hamilton 11kV, Cambridge, Karapiro, Te-Awamutu, Waihou, Waikino, Kopu, Piako | WEL Networks , KiwiRail Holdings,Waipa Networks ,Mercury Energy,Powerco
2024-10-01 07:00 | HAM_T1 | 2024-10-01 07:00 | 2024-10-01 18:30 | Daily | n-security to: Hamilton 11kV | WEL Networks , KiwiRail Holdings
2024-10-01 07:00 | HAM_PAO_WHU_1 | 2024-10-01 07:00 | 2024-10-01 18:30 | Daily | n-security to: Piako, Waihou, Waikino , Kopu | Powerco
2024-10-01 07:00 | PAO_CB_212 | 2024-10-01 07:00 | 2024-10-01 18:30 | Daily | n-security to: Piako | Powerco
2024-10-01 07:00 | KPO_TMU_1 | 2024-10-01 07:00 | 2024-10-01 18:30 | Daily | n-security to: Te Awamutu | Waipa Networks
2024-10-01 07:00 | STU_DIS_66 | 2024-10-01 07:00 | 2024-10-08 12:00 | Continuous | n-security to: Studholme | Alpine Energy
2024-10-01 08:30 | ISL_TKB_1 | 2024-10-01 08:30 | 2024-10-03 18:30 | Continuous | n-security to: Tekapo B | Genesis Energy
2024-10-01 08:00 | OPK_KPI_SFD_2 | 2024-10-01 08:00 | 2024-10-01 17:00 | Daily | n-security to: Opunake | Powerco
2024-10-01 08:00 | OPK_T4 | 2024-10-01 08:00 | 2024-10-01 17:00 | Daily | n-security to: Opunake 33kV | Powerco
2024-10-02 08:00 | NAP_WRK_2 | 2024-10-02 08:00 | 2024-10-04 17:00 | Continuous | n-security to: Nga Awa Parua and Ohaaki (generation) | Mercury,Contact
2024-10-02 08:00 | NAP_144_154_177 | 2024-10-02 08:00 | 2024-10-04 17:00 | Continuous | n-security to: Nga Awa Purua and Ohaaki WARNING: This is a single bus site, so a bus tripping will trip the whole bus. The Service Provider should exercise increased rigor in planning & preparation. | Mercury,Contact
2025-09-30 06:30 | TUI_FDR_712 | 2025-09-30 06:30 | 2025-10-01 17:30 | Daily | Removes GIS Feeder hence the season.
2025-10-01 07:00 | STU_DIS_66 | 2025-10-01 07:00 | 2025-10-07 19:00 | Continuous | n-security to: Studholme | Alpine Energy
2025-10-02 07:00 | TUI_FDR_112 | 2025-10-02 07:00 | 2025-10-06 17:00 | Daily | Removes GIS Feeder hence the season.
2025-10-05 09:00 | MCH_11BS | 2025-10-05 09:00 | 2025-10-05 17:00 | Daily | loss of supply to: Murchison | Network Tasman
2025-10-05 09:00 | MCH_T1 | 2025-10-05 09:00 | 2025-10-05 17:00 | Daily | loss of supply to: Murchison | Network Tasman
2025-10-05 09:00 | MCH_CB_32 | 2025-10-05 09:00 | 2025-10-05 17:00 | Daily | loss of supply to: Murchison | Network Tasman
2025-10-06 07:00 | KPO_TMU_1 | 2025-10-06 07:00 | 2025-10-11 18:30 | Continuous | n-security to: Te Awamutu | Waipa Networks
2025-10-06 07:30 | ROT_TRK_1 | 2025-10-06 07:30 | 2025-10-10 18:30 | Continuous | n-security to: Rotorua | Unison Networks
2025-10-06 08:00 | KMO_TMI_1 | 2025-10-06 08:00 | 2025-10-08 18:30 | Continuous | n-security to: Te Matai | Powerco
2025-10-06 07:00 | GLN_T4 | 2025-10-06 07:00 | 2025-10-06 18:00 | Daily | n-security to: Glenbrook NZ Steel Bus K and J feeders | NZ Steel, Counties, Atlinta
2025-10-06 07:00 | HAM_WKM_1 | 2025-10-06 07:00 | 2025-10-11 18:30 | Continuous | n-security to: Hamilton, Cambridge, Karapiro, Te-Awamutu, Waihou, Waikino, Kopu, Piako | WEL Networks , KiwiRail Holdings,Waipa Networks ,Mercury Energy,Powerco
2025-10-06 07:30 | HEN_SWN_1 | 2025-10-06 07:30 | 2025-10-11 18:30 | Continuous | n-security to: Southdown | KiwiRail Holdings , Southdown Cogeneration , Mercury Energy
2025-10-06 08:00 | KMO_T4 | 2025-10-06 08:00 | 2025-10-08 18:30 | Continuous | n-security to: Mt.Maunganui, Tauranga, Kaitimako , TeMatai with system splits in place on KMO_TMI_1 | Powerco
2025-10-06 07:30 | DOB_T2 | 2025-10-06 07:30 | 2025-10-31 17:30 | Continuous | n-security to: Dobson 33kV | Westpower
2025-10-06 07:30 | SDN_TMH_1 | 2025-10-06 07:30 | 2025-10-10 18:30 | Continuous | n-security to: South Dunedin | Aurora Energy
2025-10-06 07:30 | INV_T3 | 2025-10-06 07:30 | 2025-10-10 18:00 | Continuous | n-security to: Invercargill 33kV | PowerNet
2025-10-06 07:30 | WRK_T30 | 2025-10-06 07:30 | 2025-10-24 16:00 | Continuous | n-security to: Wairakei 33kV | Unison Networks , Contact Energy
2025-10-06 07:30 | NAP_WRK_2 | 2025-10-06 07:30 | 2025-10-10 18:30 | Continuous | n-security to: Nga Awa Parua and Ohaaki (generation) | Mercury
2025-10-06 07:00 | MHO_T3 | 2025-10-06 07:00 | 2025-10-10 18:30 | Continuous | n-security to: MHO . May require MHO Generation to avoid Steady state overload May need to tap up MHO_T4 (Off load tap changer) to improve the 33kV voltage when MHO generation is not guaranteed. 15/5/25 MB. If an outage is needed at a non-preferred time: Electra's historical peak loads have reached higher than the capacity of T4 (40MVA), so likely to require generation from Manawa @ MHO to achieve an outage [CWjr 12/08/25]. | Manawa, Electra
2025-10-06 07:00 | BPE_MHO_1 | 2025-10-06 07:00 | 2025-10-10 18:30 | Continuous | n-security to: Mangahao Load management at MHO or generation from MHO may be required to manage loading on the remaining circuit. May need to tap up MHO_T4 to improve the 33kV voltage when MHO generation is not guaranteed. 15/5/25 MB. | Manawa
2025-10-06 07:30 | GFD_T5 | 2025-10-06 07:30 | 2025-10-10 18:30 | Continuous | n-security to: Gracefield 33kV | Wellington Electricity Lines
2025-10-06 07:30 | GFD_HAY_2 | 2025-10-06 07:30 | 2025-10-10 18:30 | Continuous | n-security to: Gracefield 33kV | Wellington Electricity Lines
2025-10-07 07:00 | DRY_GLN_2 | 2025-10-07 07:00 | 2025-10-07 18:00 | Daily | n-security to: Glenbrook | Counties Power , New Zealand Steel
2025-10-07 08:30 | WKO_T2 | 2025-10-07 08:30 | 2025-10-07 18:30 | Daily | n-security to: Waikino 33kV | Powerco
2025-10-07 07:00 | RDF_T2 | 2025-10-07 07:00 | 2025-10-11 18:30 | Continuous | n-security to: Redclyffe 33kV | Unison Networks
2025-10-07 06:30 | TUI_FDR_712 | 2025-10-07 06:30 | 2025-10-08 17:30 | Daily | Removes GIS Feeder hence the season.
2025-10-07 06:30 | CPK_WWD_WIL_3 | 2025-10-07 06:30 | 2025-10-07 17:30 | Daily | n-security to: Westwind | Meridian Energy , MEL (West Wind)
2025-10-07 07:00 | RDF_T4 | 2025-10-07 07:00 | 2025-10-11 18:30 | Continuous | n-security to: Redclyffe, Tuai, Fernhill. | Unison Networks ,Genesis Energy , Eastland Network
2025-10-07 07:30 | WIL_T3 | 2025-10-07 07:30 | 2025-10-24 18:30 | Continuous | n-security to: Wilton 33kV | Wellington Electricity Lines
2025-10-07 07:30 | NAP_144_154_177 | 2025-10-07 07:30 | 2025-10-08 18:30 | Continuous | n-security to: Nga Awa Purua and Ohaaki WARNING: This is a single bus site, so a bus tripping will trip the whole bus. The Service Provider should exercise increased rigor in planning & preparation. | Mercury
2025-10-08 07:00 | GLN_T5 | 2025-10-08 07:00 | 2025-10-08 18:00 | Daily | n-security to: Glenbrook NZ Steel Bus K and J feeders | NZ Steel, Counties, Atlinta
2025-10-08 08:30 | WKO_T1 | 2025-10-08 08:30 | 2025-10-08 18:30 | Daily | n-security to: Waikino 33kV | Powerco
2025-10-08 07:30 | MNI_T3 | 2025-10-08 07:30 | 2025-10-08 18:30 | Daily | n-security to: Motunui | Methanex New Zealand
2025-10-08 07:30 | MNI_11BS_L | 2025-10-08 07:30 | 2025-10-08 18:30 | Continuous | n-security to: Motunui | Methanex New Zealand
2025-10-09 07:00 | DRY_GLN_1 | 2025-10-09 07:00 | 2025-10-09 18:00 | Daily | n-security to: Glenbrook. | NZ Steel, Counties, Atlinta
2025-10-09 08:00 | STU_TIM_1 | 2025-10-09 08:00 | 2025-10-10 18:30 | Continuous | n-security to: Studholme | Alpine Energy
2025-10-09 08:00 | STU_DIS_76 | 2025-10-09 08:00 | 2025-10-10 18:30 | Continuous | n-security to: Studholme | Alpine Energy
2025-10-09 08:00 | TMK_TIM_2_TMK_T2 | 2025-10-09 08:00 | 2025-10-10 18:30 | Continuous | n-security to: Temuka 33 kV | Alpine Energy
2025-10-10 07:00 | GLN_T6 | 2025-10-10 07:00 | 2025-10-10 18:00 | Daily | Reduced security to Glenbrook 33kv bus | NZ Steel, Counties, Atlinta
2025-10-11 07:30 | GFD_HAY_1 | 2025-10-11 07:30 | 2025-10-11 18:30 | Daily | n-security to: Gracefield 33kV | Wellington Electricity Lines
2025-10-11 07:30 | GFD_T6 | 2025-10-11 07:30 | 2025-10-11 18:30 | Daily | n-security to: Gracefield 33kV | Wellington Electricity Lines
2025-10-12 07:00 | HAY_F_5 | 2025-10-12 07:00 | 2025-10-12 18:00 | Daily
2025-10-12 09:00 | MCH_11BS | 2025-10-12 09:00 | 2025-10-12 17:00 | Daily | loss of supply to: Murchison | Network Tasman
2025-10-12 09:00 | MCH_T1 | 2025-10-12 09:00 | 2025-10-12 17:00 | Daily | loss of supply to: Murchison | Network Tasman
2025-10-12 09:00 | MCH_CB_32 | 2025-10-12 09:00 | 2025-10-12 17:00 | Daily | loss of supply to: Murchison | Network Tasman
2025-10-13 08:00 | ALB_HPI_1 | 2025-10-13 08:00 | 2025-10-18 18:00 | Continuous | n-security to: Marsden, Bream Bay, Kaikohe, Kaitaia, Maungatapere, Maungaturoto | 0,Top Energy ,Northpower
2025-10-13 08:00 | HPI_MDN_1 | 2025-10-13 08:00 | 2025-10-18 18:00 | Continuous | n-security to: Marsden, Bream Bay, Kaikohe, Kaitaia, Maungatapere, Maungaturoto | 0,Top Energy ,Northpower
2025-10-13 07:30 | NSY_T1 | 2025-10-13 07:30 | 2025-10-17 18:30 | Continuous | n-security to: Naseby 33kV | PowerNet
2025-10-13 06:30 | STK_57_112_104 | 2025-10-13 06:30 | 2025-10-14 18:30 | Continuous | n-security to: Stoke 66kV, Cobb feeder out of service. WARNING: This is a single bus site, so a bus tripping will trip the whole bus. The Service Provider should exercise increased rigor in planning & preparation. | Network Tasman , Nelson Electricity
2025-10-13 06:30 | STK_FDR_102 | 2025-10-13 06:30 | 2025-10-14 18:30 | Continuous | n-security to: Stoke 66kV, Motueka , Golden Bay | Network Tasman , Nelson Electricity
2025-10-13 06:30 | STK_T3 | 2025-10-13 06:30 | 2025-10-14 18:30 | Continuous | n-security to: Stoke 66kV | Network Tasman , Nelson Electricity
2025-10-13 07:30 | INV_T5 | 2025-10-13 07:30 | 2025-10-17 18:30 | Continuous | n-security to: Invercargill 33kV | PowerNet
2025-10-13 07:30 | NSY_ROX_1 | 2025-10-13 07:30 | 2025-10-15 18:30 | Continuous | n-security to: Naseby | PowerNet
2025-10-13 07:30 | NSY_206_237 | 2025-10-13 07:30 | 2025-10-15 18:30 | Continuous | n-security to: Naseby | PowerNet
2025-10-13 07:30 | HUI_T5 | 2025-10-13 07:30 | 2025-10-15 18:30 | Daily | n-security to: Huirangi 33kV | Powerco
2025-10-13 07:00 | MHO_T4 | 2025-10-13 07:00 | 2025-10-17 18:30 | Continuous | n-security to: MHO May require MHO Generation to avoid Steady state overload May need to tap up MHO_T3 (Off load tap changer) to improve the 33kV voltage when MHO generation is not guaranteed. If an outage is needed at a non-preferred time: Electra's historical peak loads have reached higher than the capacity of T3 (39MVA), so likely to require generation from Manawa @ MHO to achieve an outage [CWjr 12/08/25]. | Manawa, Electra
2025-10-13 07:00 | BPE_MHO_2 | 2025-10-13 07:00 | 2025-10-17 18:30 | Continuous | n-security to: Mangahao Load management at MHO or generation from MHO may be required to manage loading on the remaining circuit. May need to tap up MHO_T4 to improve the 33kV voltage when MHO generation is not guaranteed. 15/5/25 MB. | Manawa, Electra
2025-10-13 07:30 | HUI_1264_1274_1317 | 2025-10-13 07:30 | 2025-10-15 18:30 | Daily | n-security to: Huirangi 33kV | Powerco
2025-10-13 07:30 | HUI_824_834_867 | 2025-10-13 07:30 | 2025-10-15 18:30 | Daily | n-security to: Huirangi 33kV | Powerco
2025-10-15 07:30 | EDG_KAW_3 | 2025-10-15 07:30 | 2025-10-17 18:30 | Continuous | n-security to: KAW, ANI, MAT and KAG | Eastland, Oji Fibre, Horizon, Te Ahi O Maui
2025-10-15 07:30 | EDG_T4 | 2025-10-15 07:30 | 2025-10-17 18:30 | Continuous | n-security to: Edgecumbe 33kV | Horizon Energy
2025-10-15 06:30 | STK_FDR_92 | 2025-10-15 06:30 | 2025-10-17 18:30 | Continuous | n-security to: Stoke 66kV, Motueka , Golden Bay | Network Tasman , Nelson Electricity
2025-10-15 06:30 | STK_67_82_94 | 2025-10-15 06:30 | 2025-10-17 18:30 | Continuous | n-security to: Stoke 66kV WARNING: This is a single bus site, so a bus tripping will trip the whole bus. The Service Provider should exercise increased rigor in planning & preparation. | Network Tasman , Nelson Electricity
2025-10-15 06:30 | STK_T4 | 2025-10-15 06:30 | 2025-10-17 18:30 | Continuous | n-security to: Stoke 66kV | Network Tasman , Nelson Electricity
2025-10-15 07:00 | RDF_T1 | 2025-10-15 07:00 | 2025-10-19 18:30 | Continuous | n-security to: Redclyffe 33kV | Unison Networks
2025-10-15 07:00 | RDF_T5 | 2025-10-15 07:00 | 2025-10-19 18:30 | Continuous | n-security to: Redclyffe, Tuai, Fernhill. | Unison Networks ,Genesis Energy , Eastland Network
2025-10-15 07:00 | RDF_47_87 | 2025-10-15 07:00 | 2025-10-19 18:30 | Continuous | n-security to: Redclyffe 33kV | Unison Networks
2025-10-16 07:30 | TMI_T2 | 2025-10-16 07:30 | 2025-10-17 18:30 | Continuous | n-security to: Te Matai | Powerco
2025-10-16 08:00 | HAM_T5 | 2025-10-16 08:00 | 2025-10-17 18:30 | Continuous | n-security to: Hamilton 33kV | WEL Networks , KiwiRail Holdings
2025-10-16 07:30 | TMN_T5 | 2025-10-16 07:30 | 2025-10-26 18:30 | Continuous | n-security to: Taumarunui 55kV | KiwiRail Holdings
2025-10-16 07:30 | HUI_1307_1344_1374 | 2025-10-16 07:30 | 2025-10-17 18:30 | Daily | n-security to: Huirangi 33kV | Powerco
2025-10-16 07:30 | HUI_T6 | 2025-10-16 07:30 | 2025-10-17 18:30 | Daily | n-security to: Huirangi 33kV | Powerco
2025-10-18 08:00 | TKU_T22 | 2025-10-18 08:00 | 2025-10-18 14:00 | Daily | n-security to: Tokaanu 33kV | The Lines Company , Genesis Energy
2025-10-18 08:00 | TKU_T21 | 2025-10-18 08:00 | 2025-10-18 14:00 | Daily | n-security to: Tokaanu 33kV | The Lines Company , Genesis Energy
2025-10-19 07:00 | KIK_CB_37 | 2025-10-19 07:00 | 2025-10-19 15:00 | Daily | loss of supply of: 11kV to KIK rural area and St Arnaud township. | Network Tasman , Nelson Electricity
2025-10-19 07:30 | SFD_TMN_1 | 2025-10-19 07:30 | 2025-10-25 18:30 | Continuous | n-security to: Taumarunui , Te Kowhai | KiwiRail Holdings ,WEL Networks
2025-10-19 07:30 | TMN_396_457 | 2025-10-19 07:30 | 2025-10-25 18:30 | Continuous | n-security to: Taumarunui , Te Kowhai | KiwiRail Holdings ,WEL Networks
2025-10-20 08:00 | HAM_T8 | 2025-10-20 08:00 | 2025-10-28 18:30 | Continuous | n-security to: Hamilton 55kV | WEL Networks , KiwiRail Holdings
2025-10-20 07:00 | WIR_T2 | 2025-10-20 07:00 | 2025-10-29 18:30 | Continuous | n-security to: Wiri | Vector
2025-10-20 07:00 | OTA_WIR_1 | 2025-10-20 07:00 | 2025-10-29 18:30 | Continuous | n-security to: Wiri | Vector
2025-10-20 07:00 | WIR_706_714_697 | 2025-10-20 07:00 | 2025-10-29 18:30 | Continuous | WARNING: This is a single bus site, so a bus tripping will trip the whole bus. The Service Provider should exercise increased rigor in planning & preparation. | Vector
2025-10-20 07:30 | ASB_BRY_1 | 2025-10-20 07:30 | 2025-10-24 18:30 | Continuous | n-security to: Bromley | Orion New Zealand
2025-10-20 09:00 | INV_T5 | 2025-10-20 09:00 | 2025-10-24 18:30 | Continuous | n-security to: Invercargill 33kV | PowerNet
| KWA_WIL_2 | 2025-10-20 07:30 | 2025-10-24 18:30 | Continuous | n-security to: Kaiwharawhara | Wellington Electricity Lines
| MHO_T4 | 2025-10-20 07:30 | 2025-10-24 18:30 | Continuous | n-security to: MHO on N security. May require MHO Generation to avoid Steady state overload May need to tap up MHO_T3 (Off load tap changer) to improve the 33kV voltage when MHO generation is not guaranteed. If an outage is needed at a non-preferred time: Electra's historical peak loads have reached higher than the capacity of T3 (39MVA), so likely to require generation from Manawa @ MHO to achieve an outage [CWjr 12/08/25]. | Manawa, Electra
| BPE_MHO_2 | 2025-10-20 07:30 | 2025-10-24 18:30 | Continuous | n-security to: Mangahao Load management at MHO or generation from MHO may be required to manage loading on the remaining circuit. May need to tap up MHO_T4 to improve the 33kV voltage when MHO generation is not guaranteed. 15/5/25 MB. | Manawa, Electra
| PNI_T1 | 2025-10-20 07:30 | 2025-10-21 17:00 | Continuous | n-security to: Pauatahanui 33kV | Wellington Electricity Lines
| PNI_TKR_1 | 2025-10-20 07:30 | 2025-10-21 17:00 | Continuous | n-security to: Pauatahanui | Wellington Electricity Lines
| CPK_T12 | 2025-10-20 07:30 | 2025-10-25 18:00 | Continuous | N-security to: Central Park 11kV | Wellington Electricity Lines
| KWA_CB_14 | 2025-10-20 07:30 | 2025-10-24 18:30 | Continuous | n-security to: Kaiwharawhara | Wellington Electricity Lines
| KWA_T3 | 2025-10-20 07:30 | 2025-10-24 18:30 | Continuous | n-security to: Kaiwharawhara | Wellington Electricity Lines
| CPK_FDR_2832 | 2025-10-20 07:30 | 2025-10-25 18:00 | Continuous | N-security to: Central Park 11kV | Wellington Electricity Lines
| TAB_WRK_1 | 2025-10-20 08:00 | 2025-10-24 18:30 | Continuous | n-security to: Redclyffe, Whakatu, Tuai, Fernhill, Harapaki, Tauhara. | Genesis Energy , Eastland Network,Unison Networks
| TAK_T8 | 2025-10-21 07:30 | 2025-10-24 18:30 | Continuous | n-security to: Takanini | Vector
| TGA_T4 | 2025-10-21 07:30 | 2025-10-21 18:30 | Daily | n-security to: Tauranga 33kV | Powerco
| DRY_TAK_OTA_2 | 2025-10-21 07:30 | 2025-10-24 18:30 | Continuous | n-security to: Takanini | Vector
| UHT_T1 | 2025-10-21 11:00 | 2025-10-21 12:00 | Daily | n-security to: Upper Hutt 33 kV | Wellington Electricity Lines
| UHT_T2 | 2025-10-21 12:00 | 2025-10-21 13:00 | Daily | n-security to: Upper Hutt 33 kV Bus | Wellington Electricity Lines
| PNI_T2 | 2025-10-22 07:30 | 2025-10-23 17:00 | Continuous | n-security to: Pauatahanui 33kV | Wellington Electricity Lines
| PNI_TKR_2 | 2025-10-22 07:30 | 2025-10-23 17:00 | Continuous | n-security to: Pauatahanui | Wellington Electricity Lines
| KPO_TMU_1 | 2025-10-28 07:00 | 2025-11-01 18:30 | Continuous | n-security to: Te Awamutu | Waipa Networks
| MTO_1224_1234_1257 | 2025-10-28 08:00 | 2025-10-29 18:30 | Daily | WARNING: This is a single bus site, so a bus tripping will trip the whole bus. The Service Provider should exercise increased rigor in planning & preparation. | Northpower
| MTO_T2 | 2025-10-28 08:00 | 2025-11-01 18:30 | Continuous | n-security to: Maungaturoto | Northpower
| WEL_T1 | 2025-10-28 08:00 | 2025-11-01 18:30 | Continuous | n-security to: Wellsford | Vector
| HEN_MPE_2 | 2025-10-28 08:00 | 2025-11-01 18:30 | Continuous | n-security to: Wellsford, Maungaturoto | Vector ,Northpower
| HAM_WKM_1 | 2025-10-28 07:00 | 2025-11-01 18:30 | Continuous | n-security to: Hamilton, Cambridge, Karapiro, Te-Awamutu, Waihou, Waikino, Kopu, Piako | WEL Networks , KiwiRail Holdings,Waipa Networks ,Mercury Energy,Powerco
| WKO_T1 | 2025-10-28 07:30 | 2025-10-31 18:30 | Continuous | n-security to: Waikino 33kV | Powerco
| HAM_417_437_497 | 2025-10-28 07:00 | 2025-11-01 18:30 | Continuous | n-security to: Hamilton, Cambridge, Karapiro, Te-Awamutu, Waihou, Waikino, Kopu, Piako | WEL Networks , KiwiRail Holdings,Waipa Networks ,Mercury Energy,Powerco
| KAW_OHK_1 | 2025-10-28 08:00 | 2025-11-01 18:30 | Continuous | System splits to be implemented on EDG_KAW_1 and 2 (CLO EDG CB 292), or EDG_OWH_2 circuit for the EDG_KAW_3 contingency. KAW, ANI, MAT and KAG are on n-security.CW 14/2/25 | Horizon, Te Ahi O Maui, Oji Fibre
| CUL_T22 | 2025-10-28 07:00 | 2025-10-31 18:00 | Continuous | n-security to: Culverden | Mainpower New Zealand
| BPE_T15 | 2025-10-28 07:30 | 2025-11-15 18:30 | Continuous | n-security to: Bunnythorpe 55kV | Powerco , KiwiRail Holdings
| KWA_T2 | 2025-10-28 07:30 | 2025-10-31 18:30 | Continuous | n-security to: Kaiwharawhara | Wellington Electricity Lines
| KWA_WIL_1 | 2025-10-28 07:30 | 2025-10-31 18:30 | Continuous | n-security to: Kaiwharawhara | Wellington Electricity Lines
| CPK_T11 | 2025-10-28 07:30 | 2025-11-02 18:30 | Continuous | N-security to: Central Park 11kV | Wellington Electricity Lines
| TMN_TWH_1 | 2025-10-28 07:30 | 2025-10-31 18:30 | Continuous | n-security to: Taumarunui , Te Kowhai | KiwiRail Holdings ,WEL Networks
| TMN_T8 | 2025-10-28 07:30 | 2025-10-31 18:30 | Continuous | n-security to: Taumarunui 55kV | KiwiRail Holdings
| KWA_CB_8 | 2025-10-28 07:30 | 2025-10-31 18:30 | Continuous | n-security to: Kaiwharawhara | Wellington Electricity Lines
| TMN_454_466_494 | 2025-10-28 07:30 | 2025-10-31 18:30 | Continuous | n-security to: Taumarunui , Te Kowhai | KiwiRail Holdings ,WEL Networks
| CPK_FDR_2732 | 2025-10-28 07:30 | 2025-11-02 18:30 | Continuous | N-security to: Central Park 11kV | Wellington Electricity Lines
| KMO_MTM_TGA_2 | 2025-10-29 07:30 | 2025-10-31 17:00 | Continuous | n-security to: Mt Maunganui, Tauranga | Powerco
| TGA_T4 | 2025-10-29 07:30 | 2025-10-31 17:00 | Continuous | n-security to: Tauranga 33kV | Powerco
| TGA_227_C11 | 2025-10-29 07:30 | 2025-10-31 17:00 | Continuous | n-security to: Tauranga 33kV WARNING: This is a single bus site, so a bus tripping will trip the whole bus. The Service Provider should exercise increased rigor in planning & preparation. | Powerco
| RDF_T2 | 2025-10-29 07:00 | 2025-10-30 17:30 | Continuous | n-security to: Redclyffe 33kV | Unison Networks
| OPK_T4 | 2025-10-29 08:00 | 2025-10-31 18:30 | Continuous | n-security to: Opunake 33kV | Powerco
| RDF_T4 | 2025-10-29 07:00 | 2025-10-30 17:30 | Continuous | n-security to: Redclyffe, Tuai, Fernhill. | Unison Networks ,Genesis Energy , Eastland Network
| RDF_110BS_G | 2025-10-29 07:00 | 2025-10-30 17:30 | Continuous | n-security to: Redclyffe 33kV, Fernhill, Tuai. | Unison Networks
| OPK_54_64_77 | 2025-10-29 08:00 | 2025-10-31 18:30 | Continuous | n-security to: Opunake WARNING: This is a single bus site, so a bus tripping will trip the whole bus. The Service Provider should exercise increased rigor in planning & preparation. | Powerco
| WRD_T7 | 2025-10-31 08:00 | 2025-10-31 16:00 | Daily | n-security to: ALB 110kV | Contact
| KIK_CB_37 | 2025-11-02 07:00 | 2025-11-02 15:00 | Daily | loss of supply of: 11kV to KIK rural area and St Arnaud township. | Network Tasman
| HEN_MPE_1 | 2025-11-03 08:00 | 2025-11-07 18:30 | Continuous | n-security to: Wellsford, Maungaturoto | Vector ,Northpower
| MTO_T1 | 2025-11-03 08:00 | 2025-11-07 18:30 | Continuous | n-security to: Maungaturoto | Northpower
| WEL_T2 | 2025-11-03 08:00 | 2025-11-07 18:30 | Continuous | n-security to: Wellsford | Vector
| HAM_T1 | 2025-11-03 08:00 | 2025-11-07 18:30 | Continuous | n-security to: Hamilton 11kV | WEL Networks , KiwiRail Holdings
| MTO_1257_1277_1294 | 2025-11-03 08:00 | 2025-11-03 18:30 | Daily | WARNING: This is a single bus site, so a bus tripping will trip the whole bus. The Service Provider should exercise increased rigor in planning & preparation. | Northpower
| HEN_T3 | 2025-11-03 07:30 | 2025-11-07 18:30 | Continuous | n-security to: Henderson 33kV | Vector
| KAW_OHK_1 | 2025-11-03 07:30 | 2025-11-14 18:30 | Continuous | System splits to be implemented on EDG_KAW_1 and 2 (CLO EDG CB 292), or EDG_OWH_2 circuit for the EDG_KAW_3 contingency. KAW, ANI, MAT and KAG are on n-security.CW 14/2/25 | Eastland, Oji Fibre, Horizon, Te Ahi O Maui
| BRY_T5 | 2025-11-03 06:30 | 2025-11-06 18:30 | Continuous | n-security to: Bromley | Orion New Zealand
| INV_T5 | 2025-11-03 07:30 | 2025-11-09 18:30 | Continuous | n-security to: Invercargill 33kV | PowerNet
| BRY_817_807_887 | 2025-11-03 06:30 | 2025-11-06 18:30 | Continuous | n-security to: Bromley | Orion New Zealand
| SDN_427_437_497 | 2025-11-03 07:00 | 2025-11-06 18:30 | Continuous | n-security to: South Dunedin | Aurora Energy
| SDN_T2 | 2025-11-03 07:00 | 2025-11-06 18:30 | Continuous | n-security to: South Dunedin 33kV | Aurora Energy
| CML_FKN_1 | 2025-11-03 07:30 | 2025-11-14 18:30 | Continuous | n-security to: Frankton | Aurora Energy
| FKN_T1 | 2025-11-03 07:30 | 2025-11-14 18:30 | Continuous | n-security to: Frankton 33kV | Aurora Energy
| PRM_T1 | 2025-11-03 07:30 | 2025-11-07 18:30 | Continuous | n-security to: Paraparaumu 33kV | Electra
| MTN_T2 | 2025-11-03 07:00 | 2025-11-07 18:30 | Continuous | n-security to: Marton 33kV | Powerco
| MGM_CB_172 | 2025-11-03 07:30 | 2025-11-07 17:00 | Continuous | n-security to: Mangamaire | Powerco
| HAY_UHT_1 | 2025-11-03 07:30 | 2025-11-07 17:00 | Continuous | n-security to: Upper Hutt , Masterton , Greytown | Wellington Electricity Lines ,Powerco
| BPE_PRM_HAY_1 | 2025-11-03 06:30 | 2025-11-07 18:30 | Continuous | n-security to: Paraparaumu | Electra
| BPE_MTN_WGN_2 | 2025-11-03 07:00 | 2025-11-07 18:30 | Continuous | n-security to: Marton 33kV Load management maybe needed at HWA, MTN, WVY and WGN to resolve overloading and post-contingent voltage issues. 15/5/25 MB | Powerco
| RPO_TNG_1 | 2025-11-03 07:30 | 2025-11-08 18:30 | Continuous | n-security to: Winstones Pulp International and Rangipo Winstones Pulp International & RPO (Genesis approx 120MW) on n-security | Genesis, Winstones Pulp International
| TNG_220BS_B | 2025-11-03 08:00 | 2025-11-04 17:00 | Continuous | n-security to: Tangiwai | KiwiRail Holdings , Winstone Pulp
| DRY_BOB_HLY_1 | 2025-11-04 07:00 | 2025-11-09 18:30 | Continuous | n-security to: GLN, BOB as system splits are placed on ARI_BOB and BOB_HAM. (Note: Places HLY_5 on n) Whenever Bus A and Bus B are connected by 2 or less half breakers HLY_T21 must be removed from service. This is to mitigate the chance of A and B buses being connected solely via T21 and T22. CW 20/3/25 | NZ Steel. Counties, Atlinta
| BOB_T4 | 2025-11-04 07:00 | 2025-11-09 18:30 | Continuous | n-security to:: BOB as system splits are placed on ARI_BOB and BOB_HAM | Counties
| DOB_GYM_1 | 2025-11-04 06:30 | 2025-11-06 18:30 | Continuous | n-security to: Greymouth | Westpower
| ARG_BLN_1 | 2025-11-04 06:30 | 2025-11-13 18:30 | Continuous | n-security to: Argyle | TrustPower
| MLG_T2 | 2025-11-04 07:30 | 2025-11-12 18:30 | Continuous | n-security to: Melling 11kV | Wellington Electricity Lines
| RDF_T2 | 2025-11-04 07:00 | 2025-11-05 17:30 | Continuous | n-security to: Redclyffe 33kV | Unison Networks
| HAY_MLG_2 | 2025-11-04 07:30 | 2025-11-11 18:30 | Continuous | n-security to: Melling | Wellington Electricity Lines
| MLG_T4 | 2025-11-04 07:30 | 2025-11-12 18:30 | Continuous | n-security to: Melling 33kV | Wellington Electricity Lines
| RDF_T4 | 2025-11-04 07:00 | 2025-11-05 17:30 | Continuous | n-security to: Redclyffe, Tuai, Fernhill. | Unison Networks ,Genesis Energy , Eastland Network
| RDF_110BS_G | 2025-11-04 07:00 | 2025-11-05 17:30 | Continuous | n-security to: Redclyffe 33kV, Fernhill, Tuai. | Unison Networks
| MLG_33BS_A | 2025-11-04 07:30 | 2025-11-05 18:30 | Continuous | n-security to: Melling 33kV | Wellington Electricity Lines
| INV_687_743 | 2025-11-05 07:30 | 2025-11-09 18:30 | Continuous | n-security to: Invercargill 33kV, Invercargil 66kV | PowerNet
| NAP_OKI_2 | 2025-11-07 07:30 | 2025-11-07 18:30 | Daily | n-security to: Ohaaki Generation | Mercury
| NAP_184_194_167 | 2025-11-07 07:30 | 2025-11-07 18:30 | Daily | loss of connection to: Nga Awa Purua generation connection. WARNING: This is a single bus site, so a bus tripping will trip the whole bus. The Service Provider should exercise increased rigor in planning & preparation. | Mercury
| HAM_T6 | 2025-11-10 08:00 | 2025-11-14 18:30 | Continuous | n-security to: Hamilton 11kV, Hinuera, Te-Awamutu, Karapiro, Cambridge, Waihou, Waikino, Kopu | WEL Networks , KiwiRail Holdings,Mercury Energy,Waipa Networks ,Powerco
| HAM_117_157 | 2025-11-10 08:00 | 2025-11-14 18:30 | Continuous | n-security to: Hamilton 11kV, Cambridge, Karapiro, Te-Awamutu, Waihou, Waikino, Kopu, Piako | WEL Networks , KiwiRail Holdings,Waipa Networks ,Mercury Energy,Powerco
| HAM_T1 | 2025-11-10 08:00 | 2025-11-14 18:30 | Continuous | n-security to: Hamilton 11kV | WEL Networks , KiwiRail Holdings
| HAM_KPO_2 | 2025-11-10 08:00 | 2025-11-14 18:00 | Daily | n-security to: Cambridge | Waipa Networks
| HAM_PAO_WHU_1 | 2025-11-10 08:00 | 2025-11-14 18:30 | Continuous | n-security to: Piako, Waihou, Waikino , Kopu | Powerco
| CBG_T3 | 2025-11-10 08:00 | 2025-11-14 18:30 | Continuous | n-security to: Cambridge With T3 RFS the STOPS scheme will be disabled so the transformer rating applies on T4: summer 45.2MVA and Winter 47.2MVA | Waipa Networks
| PAO_CB_212 | 2025-11-10 08:00 | 2025-11-14 18:30 | Continuous | n-security to: Piako | Powerco
| KPO_TMU_1 | 2025-11-10 08:00 | 2025-11-14 18:30 | Continuous | n-security to: Te Awamutu | Waipa Networks
| DRY_BOB_HLY_2 | 2025-11-10 07:00 | 2025-11-13 18:30 | Continuous | n-security to:: BOB as system splits are placed on ARI_BOB and BOB_HAM. | NZ Steel. Counties, Atlinta
| BOB_T5 | 2025-11-10 07:00 | 2025-11-13 18:30 | Continuous | n-security to: BOB as system splits are placed on ARI_BOB and BOB_HAM | Counties
| OTA_HTU_WKM_2 | 2025-11-10 07:00 | 2025-11-15 18:30 | Continuous | n-security to: HTU | Waipa Networks
| HTU_T2 | 2025-11-10 07:00 | 2025-11-15 18:30 | Continuous | n-security to: HTU | Waipa Networks
| BRY_807_817_897 | 2025-11-10 07:30 | 2025-11-13 18:30 | Continuous | n-security to: Bromley | Orion New Zealand
| BRY_ISL_1 | 2025-11-10 07:30 | 2025-11-13 18:30 | Continuous | n-security to: Bromley | Orion New Zealand
| PRM_T1 | 2025-11-10 06:30 | 2025-11-14 18:30 | Continuous | n-security to: Paraparaumu 33kV | Electra
| RPO_WRK_1 | 2025-11-10 07:30 | 2025-11-15 18:30 | Continuous | n-security to: Winstones Pulp International and Rangipo | Genesis, Winstones Pulp International
| BPE_PRM_HAY_1 | 2025-11-10 06:30 | 2025-11-14 18:30 | Continuous | n-security to: Paraparaumu | Electra
| BPE_MTN_WGN_1 | 2025-11-10 07:30 | 2025-11-14 18:30 | Continuous | n-security to: Marton 33kV Load management maybe needed at HWA, MTN, WVY and WGN to resolve overloading and post-contingent voltage issues. 15/5/25 MB | Powerco
| MTN_T1 | 2025-11-10 07:30 | 2025-11-14 18:30 | Continuous | n-security to: Marton 33kV | Powerco
| WGN_77_94 | 2025-11-10 07:30 | 2025-11-15 18:30 | Continuous | n-security to: Wanganui 33kV Bus WARNING: This is a single bus site, so a bus tripping will trip the whole bus. The Service Provider should exercise increased rigor in planning & preparation. | Powerco
| WGN_T2 | 2025-11-10 07:30 | 2025-11-15 18:30 | Continuous | n-security to: Wanganui 33kV Bus | Powerco
| HAY_UHT_2 | 2025-11-10 07:30 | 2025-11-14 17:00 | Continuous | n-security to: Upper Hutt , Masterton , Greytown | Wellington Electricity Lines ,Powerco
| OHA_TWZ_1 | 2025-11-11 07:30 | 2025-11-13 18:30 | Continuous | n-security to: Ohau A | Meridian Energy
| HLY_TWH_1 | 2025-11-15 07:00 | 2025-11-15 18:00 | Daily | n-security to: Te Kowhai,Taumarunui | WEL Networks ,KiwiRail Holdings
| RDF_T2 | 2025-11-15 07:00 | 2025-11-16 17:30 | Continuous | n-security to: Redclyffe 33kV | Unison Networks
| RDF_T4 | 2025-11-15 07:00 | 2025-11-16 17:30 | Continuous | n-security to: Redclyffe, Tuai, Fernhill. | Unison Networks ,Genesis Energy , Eastland Network
| RDF_110BS_G | 2025-11-15 07:00 | 2025-11-16 17:30 | Continuous | n-security to: Redclyffe 33kV, Fernhill, Tuai. | Unison Networks
| WAI_T1 | 2025-11-16 07:30 | 2025-11-16 18:30 | Daily | n-security to: Waiotahi 11kV | Horizon Energy
| WAI_T2 | 2025-11-16 07:30 | 2025-11-16 18:30 | Daily | n-security to: Waiotahi 11kV | Horizon Energy
| EDG_WAI_2 | 2025-11-16 07:30 | 2025-11-16 18:30 | Daily | loss of supply to: Waiotahi + Te-Kaha | Horizon Energy
| WAI_T5 | 2025-11-16 07:30 | 2025-11-16 18:30 | Daily | loss of supply to: Te kaha | Northpower
| WAI_104_114 | 2025-11-16 07:30 | 2025-11-16 18:30 | Daily | Loss of connection to Waiotahi | Horizon Energy
Formulas:
Start Date = [Planned Start Date/Time]