## Report
Planned Loss of Supply and n-security 10 Week Outage Report
This report: - provides a forward 10 week view of work which could result in a planned a loss of supply or n-security. - is updated fortnightly. - does not take into account the impact outage concurrencies and/or system splits resulting from other planned work.
We are providing this in addition to our usual outage communications and notifications. For up-to-date outage information, please use POCP (Planned Outage Co-ordination Process) https://pocp.redspider.co.nz/ which is updated every hour.
Enter the customer name into the Connected Customers column filter box to display the outage blocks and outage impact associated with the party.
If you have any questions or feedback please contact Angela Houston, Outage Planning Manager.
outageplanners@transpower.co.nz
Start Date | Outage Block | Planned Start Date/Time | Planned Finish Date/Time | Time Frame | Outage Impact | Connected Customers
2024-09-14 07:30 | TIM_T5 | 2024-09-14 07:30 | 2024-09-22 18:30 | Continuous | n-security to: Timaru, Temuka | Alpine Energy
2024-09-16 08:00 | WAI_T2 | 2024-09-16 08:00 | 2024-09-16 16:00 | Daily | n-security to: Waiotahi 11kV | Horizon Energy
2024-09-16 07:00 | HEN_SWN_1 | 2024-09-16 07:00 | 2024-09-21 18:30 | Continuous | n-security to: Southdown | KiwiRail Holdings , Southdown Cogeneration , Mercury Energy
2024-09-16 08:00 | WAI_T5 | 2024-09-16 08:00 | 2024-09-16 18:30 | Daily | loss of supply to: Te kaha | Horizon Energy
2024-09-16 07:30 | GYM_KUM_1 | 2024-09-16 07:30 | 2024-09-20 17:30 | Continuous | n-security to: Greymouth | Westpower
2024-09-16 07:30 | GOR_T3 | 2024-09-16 07:30 | 2024-09-20 17:00 | Continuous | n-security to: Gore 33kV | PowerNet
2024-09-16 07:30 | GOR_597_607_604 | 2024-09-16 07:30 | 2024-09-20 17:00 | Continuous | n-security to: Gore 33kV WARNING: This is a single bus site, so a bus tripping will trip the whole bus. The Service Provider should exercise increased rigor in planning & preparation. | PowerNet
2024-09-16 07:30 | IGH_ROB_2 | 2024-09-16 07:30 | 2024-09-17 18:30 | Continuous | n-security to: Robertson Street | Buller Electricity
2024-09-16 08:30 | BAL_BWK_1 | 2024-09-16 08:30 | 2024-09-18 17:30 | Continuous | n-security to: Balclutha | PowerNet
2024-09-16 07:00 | WDV_DVK_WPW_1 | 2024-09-16 07:00 | 2024-09-20 18:00 | Continuous | n-security to: Dannevirke , Waipawa | Scanpower ,Centralines
2024-09-16 07:00 | WPW_T2 | 2024-09-16 07:00 | 2024-09-20 18:00 | Continuous | n-security to: Waipawa 33kV Bus | Centralines
2024-09-16 07:00 | DVK_T2 | 2024-09-16 07:00 | 2024-09-20 18:00 | Continuous | n-security to: Dannevirke 11kV Bus | Scanpower
2024-09-17 10:00 | KPU_T4 | 2024-09-17 10:00 | 2024-09-17 14:30 | Daily | n-security to: Kopu | Powerco
2024-09-17 10:00 | KPU_WKO_1 | 2024-09-17 10:00 | 2024-09-17 14:30 | Daily | n-security to: Kopu | Powerco
2024-09-17 10:00 | KPU_1087_1122_1132 | 2024-09-17 10:00 | 2024-09-17 14:30 | Daily | loss of supply to: Kerepehi, Whitianga , Tairua feeders WARNING: This is a single bus site, so a bus tripping will trip the whole bus. The Service Provider should exercise increased rigor in planning & preparation. | Powerco
2024-09-17 10:00 | KPU_357_VT367 | 2024-09-17 10:00 | 2024-09-17 14:30 | Daily | n-security to: Kopu | Powerco
2024-09-17 08:00 | LTN_T3 | 2024-09-17 08:00 | 2024-09-17 15:30 | Daily | n-security to: Linton 33kV | Powerco
2024-09-18 07:00 | KAW_77_87_107 | 2024-09-18 07:00 | 2024-09-21 18:30 | Continuous | n-security to: Kawerau 11kV ( Horizon) | Oji Fibre, Eastland Generation. Horizon
2024-09-18 07:00 | KAW_T5 | 2024-09-18 07:00 | 2024-09-21 18:30 | Continuous | n-security to: Kawerau 11kV ( Horizon) | Oji Fibre, Eastland Generation. Horizon
2024-09-18 07:30 | ABY_110BS | 2024-09-18 07:30 | 2024-09-18 17:30 | Daily | loss of supply to: Albury WARNING: This is a single bus site, so a bus tripping will trip the whole bus. The Service Provider should exercise increased rigor in planning & preparation. | Alpine Energy, Genesis, Manawa
2024-09-18 07:30 | ABY_11BS | 2024-09-18 07:30 | 2024-09-18 17:30 | Daily | loss of connection to: Albury and Ophua generation WARNING: This is a single bus site, so a bus tripping will trip the whole bus. The Service Provider should exercise increased rigor in planning & preparation. | Alpine Energy, Genesis, Manawa
2024-09-18 07:30 | ABY_CB_2712 | 2024-09-18 07:30 | 2024-09-18 17:30 | Daily | loss of supply to: Albury | Alpine Energy
2024-09-18 07:30 | ABY_T2 | 2024-09-18 07:30 | 2024-09-18 17:30 | Daily | loss of supply to: Albury | Alpine Energy
2024-09-19 07:30 | KPU_T4 | 2024-09-19 07:30 | 2024-09-19 18:30 | Daily | n-security to: Kopu | Powerco
2024-09-19 07:30 | KPU_WKO_1 | 2024-09-19 07:30 | 2024-09-19 18:30 | Daily | n-security to: Kopu | Powerco
2024-09-19 07:30 | BRB_T2 | 2024-09-19 07:30 | 2024-09-20 18:30 | Continuous | n-security to: Bream Bay | Northpower
2024-09-19 07:30 | KPU_357_VT367 | 2024-09-19 07:30 | 2024-09-19 18:30 | Daily | n-security to: Kopu | Powerco
2024-09-19 07:00 | KAW_OHK_1 | 2024-09-19 07:00 | 2024-09-21 18:30 | Continuous | System splits to be implemented on EDG_KAW_1 and 2 or EDG_OWH_2 circuit for the EDG_KAW_3 contingency. KAW, ANI, MAT and KAG are on n-security. | Pioneer Energy, Mercury,Oji Fibre, Eastland Generation. Horizon
2024-09-19 07:30 | KPU_1107_1122_1132 | 2024-09-19 07:30 | 2024-09-19 18:30 | Daily | loss of supply to: Tairua 66kV feeder n-security to: remaining Kopu 66kV feeders WARNING: This is a single bus site, so a bus tripping will trip the whole bus. The Service Provider should exercise increased rigor in planning & preparation. | Powerco
2024-09-19 08:00 | WPW_214_267 | 2024-09-19 08:00 | 2024-09-19 17:00 | Daily | n-security to: Waipawa 33kV Bus | Centralines
2024-09-19 08:00 | WPW_T33 | 2024-09-19 08:00 | 2024-09-19 17:00 | Daily | loss of connection to: Waipawa 11kV | Centralines
2024-09-20 07:30 | FKN_T4 | 2024-09-20 07:30 | 2024-09-27 18:00 | Continuous | n-security to: Frankton 33kV | Aurora Energy
2024-09-20 07:30 | CML_FKN_2 | 2024-09-20 07:30 | 2024-09-27 18:00 | Continuous | n-security to: Frankton | Aurora Energy
2024-09-20 07:30 | CML_T8 | 2024-09-20 07:30 | 2024-09-27 18:00 | Continuous | n-security to: Cromwell , Frankton | Aurora Energy
2024-09-21 07:30 | RDF_WTU_1 | 2024-09-21 07:30 | 2024-09-21 17:00 | Daily | n-security to: Whakatu | Unison Networks
2024-09-21 07:30 | WTU_T4 | 2024-09-21 07:30 | 2024-09-21 17:00 | Daily | n-security to: Whakatu 33kV | Unison Networks
2024-09-22 09:00 | ASB_TIM_TWZ_1 | 2024-09-22 09:00 | 2024-09-22 16:00 | Daily | n-security to: Timaru | Alpine Energy
2024-09-22 07:30 | RDF_WTU_2 | 2024-09-22 07:30 | 2024-09-22 17:00 | Daily | n-security to: Whakatu | Unison Networks
2024-09-22 07:30 | WTU_T3 | 2024-09-22 07:30 | 2024-09-22 17:00 | Daily | n-security to: Whakatu 33kV | Unison Networks
2024-09-23 08:00 | KMO_MTM_1 | 2024-09-23 08:00 | 2024-09-23 18:30 | Daily | n-security to: Mt.Maunganui | Powerco
2024-09-23 06:30 | ASB_BRY_1 | 2024-09-23 06:30 | 2024-09-27 18:30 | Continuous | n-security to: Bromley | Orion New Zealand
2024-09-23 08:00 | CYD_T8 | 2024-09-23 08:00 | 2024-10-04 18:00 | Continuous | n-security to: Clyde 33kV | Contact Energy , Aurora Energy
2024-09-23 06:30 | ASB_337_364_386_407 | 2024-09-23 06:30 | 2024-09-27 18:30 | Continuous | This outage removes ASB_T8. | EA Networkss
2024-09-23 07:00 | WPW_T1 | 2024-09-23 07:00 | 2024-09-27 18:00 | Continuous | n-security to: Waipawa 33kV Bus | Centralines
2024-09-23 07:00 | DVK_T1 | 2024-09-23 07:00 | 2024-09-27 18:00 | Continuous | n-security to: Dannevirke 11kV Bus | Scanpower
2024-09-23 07:00 | WDV_DVK_WPW_2 | 2024-09-23 07:00 | 2024-09-27 18:00 | Continuous | n-security to: Dannevirke , Waipawa | Scanpower ,Centralines
2024-09-24 07:30 | TMI_T1 | 2024-09-24 07:30 | 2024-09-24 18:30 | Daily | n-security to: Te Matai | Powerco
2024-09-24 07:30 | HAM_PAO_WHU_1 | 2024-09-24 07:30 | 2024-09-27 18:30 | Daily | n-security to: Piako, Waihou, Waikino , Kopu | Powerco
2024-09-24 07:30 | PAO_CB_212 | 2024-09-24 07:30 | 2024-09-27 18:30 | Daily | n-security to: Piako | Powerco
2024-09-24 07:30 | DRY_GLN_1 | 2024-09-24 07:30 | 2024-09-27 18:30 | Continuous | n-security to: Glenbrook | Counties Power , New Zealand Steel
2024-09-24 07:00 | KIN_TRK_2 | 2024-09-24 07:00 | 2024-09-26 18:30 | Continuous | n-security to: Lichfield | Vector
2024-09-24 07:00 | LFD_DIS_76 | 2024-09-24 07:00 | 2024-09-26 18:30 | Continuous | n-security to: Lichfield | Vector
2024-09-24 07:30 | TMI_137_144_154 | 2024-09-24 07:30 | 2024-09-24 18:30 | Daily | n-security to: Te Matai WARNING: This is a single bus site, so a bus tripping will trip the whole bus. The Service Provider should exercise increased rigor in planning & preparation. | Powerco
2024-09-24 07:30 | TMI_CB_152 | 2024-09-24 07:30 | 2024-09-24 18:30 | Daily | n-security to: Te Matai | Powerco
2024-09-26 08:00 | HAY_11BS_J | 2024-09-26 08:00 | 2024-09-27 18:00 | Continuous | n-security to: Pole 2 | NZ
2024-09-27 07:30 | STU_TIM_1 | 2024-09-27 07:30 | 2024-09-27 18:30 | Daily | n-security to: Studholme | Alpine Energy
2024-09-27 13:00 | TKA_T1 | 2024-09-27 13:00 | 2024-10-30 18:30 | Continuous | loss of supply to: Tekapo | Alpine Energy, Manawa, Genesis
2024-09-27 08:00 | MTI_WKM_1 | 2024-09-27 08:00 | 2024-09-27 12:00 | Daily | n-security to: Maraetai. ..
2024-09-27 13:00 | MTI_WKM_2 | 2024-09-27 13:00 | 2024-09-27 17:00 | Daily | n-security to: Maraetai | Mercury Energy
2024-09-29 06:00 | PEN_FDR_2342 | 2024-09-29 06:00 | 2024-09-29 19:00 | Daily | loss of supply to: Southpark Corp. | SouthPark
2024-09-30 07:30 | MDN_T6 | 2024-09-30 07:30 | 2024-10-05 18:30 | Continuous | n-security to: Kaikohe, Kaitaia,Maungatapere,Kensington | Top Energy
2024-09-30 07:30 | MDN_MPE_2 | 2024-09-30 07:30 | 2024-10-05 18:30 | Continuous | n-security to: Kaikohe & Maungatapere | Top Energy, North Power
2024-09-30 07:30 | DRY_GLN_2 | 2024-09-30 07:30 | 2024-10-04 18:30 | Continuous | n-security to: Glenbrook | Counties Power , New Zealand Steel
2024-09-30 07:00 | TGA_T3 | 2024-09-30 07:00 | 2024-10-03 18:30 | Daily | n-security to: Tauranga 33kV | Powerco
2024-09-30 07:30 | BRB_T3 | 2024-09-30 07:30 | 2024-10-25 18:30 | Continuous | n-security to: Bream Bay | Northpower
2024-09-30 06:30 | COL_OTI_2 | 2024-09-30 06:30 | 2024-10-04 18:30 | Continuous | n-security if both COL_OTI circuits are RS to: Greymouth, Hokitika Avoid irrigation period if possible for a HOR & KBY load. | Orion New Zealand
2024-09-30 06:30 | APS_CLH_1 | 2024-09-30 06:30 | 2024-10-04 18:30 | Continuous | n-security at: Castle Hill, Arthur's Pass Out with COL_OTI_2 | Orion New Zealand
2024-09-30 06:30 | TUI_FDR_112 | 2024-09-30 06:30 | 2024-10-05 17:00 | Daily | Removes GIS Feeder hence the season.
2024-09-30 07:30 | TKR_T1 | 2024-09-30 07:30 | 2024-11-05 18:30 | Continuous | n-security to: Takapu Road 33kV | Wellington Electricity Lines
2024-10-01 07:00 | HAM_T6 | 2024-10-01 07:00 | 2024-10-01 18:30 | Daily | n-security to: Hamilton 11kV, Hinuera, Te-Awamutu, Karapiro, Cambridge, Waihou, Waikino, Kopu | WEL Networks , KiwiRail Holdings,Mercury Energy,Waipa Networks ,Powerco
2024-10-01 07:00 | HAM_117_157 | 2024-10-01 07:00 | 2024-10-01 18:30 | Daily | n-security to: Hamilton 11kV, Cambridge, Karapiro, Te-Awamutu, Waihou, Waikino, Kopu, Piako | WEL Networks , KiwiRail Holdings,Waipa Networks ,Mercury Energy,Powerco
2024-10-01 07:00 | HAM_T1 | 2024-10-01 07:00 | 2024-10-01 18:30 | Daily | n-security to: Hamilton 11kV | WEL Networks , KiwiRail Holdings
2024-10-01 07:00 | HAM_PAO_WHU_1 | 2024-10-01 07:00 | 2024-10-01 18:30 | Daily | n-security to: Piako, Waihou, Waikino , Kopu | Powerco
2024-10-01 07:00 | PAO_CB_212 | 2024-10-01 07:00 | 2024-10-01 18:30 | Daily | n-security to: Piako | Powerco
2024-10-01 07:00 | KPO_TMU_1 | 2024-10-01 07:00 | 2024-10-01 18:30 | Daily | n-security to: Te Awamutu | Waipa Networks
2024-10-01 07:00 | STU_DIS_66 | 2024-10-01 07:00 | 2024-10-08 12:00 | Continuous | n-security to: Studholme | Alpine Energy
2024-10-01 08:30 | ISL_TKB_1 | 2024-10-01 08:30 | 2024-10-03 18:30 | Continuous | n-security to: Tekapo B | Genesis Energy
2024-10-01 08:00 | OPK_KPI_SFD_2 | 2024-10-01 08:00 | 2024-10-01 17:00 | Daily | n-security to: Opunake | Powerco
2024-10-01 08:00 | OPK_T4 | 2024-10-01 08:00 | 2024-10-01 17:00 | Daily | n-security to: Opunake 33kV | Powerco
2024-10-02 08:00 | NAP_WRK_2 | 2024-10-02 08:00 | 2024-10-04 17:00 | Continuous | n-security to: Nga Awa Parua and Ohaaki (generation) | Mercury,Contact
2024-10-02 08:00 | NAP_144_154_177 | 2024-10-02 08:00 | 2024-10-04 17:00 | Continuous | n-security to: Nga Awa Purua and Ohaaki WARNING: This is a single bus site, so a bus tripping will trip the whole bus. The Service Provider should exercise increased rigor in planning & preparation. | Mercury,Contact
2025-11-11 07:30 | OHA_TWZ_1 | 2025-11-11 07:30 | 2025-11-13 18:30 | Continuous | n-security to: Ohau A | Meridian Energy
2025-11-12 07:30 | KAW_OHK_1 | 2025-11-12 07:30 | 2025-11-14 18:30 | Continuous | System splits to be implemented on EDG_KAW_1 and 2 (CLO EDG CB 292), or EDG_OWH_2 circuit for the EDG_KAW_3 contingency. KAW, ANI, MAT and KAG are on n-security.CW 14/2/25
2025-11-13 07:00 | HLY_397_684 | 2025-11-13 07:00 | 2025-11-13 19:00 | Daily | n-security to: Huntly station local services | Genesis Energy ,
2025-11-13 07:00 | HLY_T21 | 2025-11-13 07:00 | 2025-11-13 19:00 | Daily | n-security to: Huntly 33kV | Genesis Energy , WEL Networks
2025-11-13 07:00 | HLY_164_397 | 2025-11-13 07:00 | 2025-11-13 19:00 | Daily | n-security to: Huntly 33kV HLY OWH 1 trips - loss of connection to U2 HLY OHW 2 trips - loss of connection to U1 | Genesis
2025-11-15 07:00 | HLY_TWH_1 | 2025-11-15 07:00 | 2025-11-15 18:00 | Daily | n-security to: Te Kowhai,Taumarunui | WEL Networks ,KiwiRail Holdings
2025-11-15 07:00 | RDF_T2 | 2025-11-15 07:00 | 2025-11-16 17:30 | Continuous | n-security to: Redclyffe 33kV | Unison Networks
2025-11-15 07:30 | WIL_T5 | 2025-11-15 07:30 | 2025-12-05 18:30 | Continuous | n-security to: Wilton 33kV | Wellington Electricity Lines
2025-11-15 07:00 | RDF_110BS_G | 2025-11-15 07:00 | 2025-11-16 17:30 | Continuous | n-security to: Redclyffe 33kV, Fernhill, Tuai. | Unison Networks ,Unison Networks
2025-11-15 07:00 | RDF_T4 | 2025-11-15 07:00 | 2025-11-16 17:30 | Continuous | n-security to: Redclyffe, Tuai, Fernhill. | Unison Networks ,Genesis Energy , Eastland Network
2025-11-16 07:30 | WAI_T1 | 2025-11-16 07:30 | 2025-11-16 18:30 | Daily | n-security to: Waiotahi 11kV | Horizon Energy
2025-11-16 07:30 | WAI_T2 | 2025-11-16 07:30 | 2025-11-16 18:30 | Daily | n-security to: Waiotahi 11kV | Horizon Energy
2025-11-16 07:30 | EDG_WAI_2 | 2025-11-16 07:30 | 2025-11-16 18:30 | Daily | loss of supply to: Waiotahi + Te-Kaha
2025-11-16 07:30 | WAI_T5 | 2025-11-16 07:30 | 2025-11-16 18:30 | Daily | loss of supply to: Te kaha | Horizon Energy
2025-11-16 07:30 | WAI_104_114 | 2025-11-16 07:30 | 2025-11-16 18:30 | Daily | Loss of connection: Waiotahi | Horizon Energy
2025-11-16 07:00 | TAB_CB_652 | 2025-11-16 07:00 | 2025-11-16 18:00 | Daily | Loss of connection to: Tauhara
2025-11-17 07:30 | BRB_HPI_1 | 2025-11-17 07:30 | 2025-11-21 18:30 | Continuous | n-security to: Marsden, Bream Bay, Kaikohe , Maungatapere | 0,Northpower ,Top Energy
2025-11-17 07:30 | HEN_HPI_1 | 2025-11-17 07:30 | 2025-11-21 18:30 | Continuous | n-security to: Marsden, Bream Bay, Kaikohe, Kaitaia, Maungatapere, Maungaturoto | 0,Northpower ,Top Energy ,Northpower
2025-11-17 07:30 | OWH_T1 | 2025-11-17 07:30 | 2025-11-18 18:30 | Continuous | n-security to: Owhata 11kV | Unison Networks
2025-11-17 07:00 | OTA_HTU_WKM_1 | 2025-11-17 07:00 | 2025-11-23 18:30 | Continuous | n-security to: HTU | Waipa Networks
2025-11-17 07:00 | HTU_T1 | 2025-11-17 07:00 | 2025-11-23 18:30 | Continuous | n-security to: HTU | Waipa Networks
2025-11-17 06:30 | HKK_OTI_2 | 2025-11-17 06:30 | 2025-11-18 17:29 | Continuous | n-security to: Hokitika | Westpower
2025-11-17 07:30 | CML_FKN_2 | 2025-11-17 07:30 | 2025-11-28 18:30 | Continuous | n-security to: Frankton | Aurora Energy
2025-11-17 07:30 | SDN_T1 | 2025-11-17 07:30 | 2025-11-28 18:30 | Continuous | n-security to: South Dunedin 33kV | Aurora Energy
2025-11-17 06:30 | COL_OTI_2 | 2025-11-17 06:30 | 2025-11-18 17:30 | Continuous | n-security to: COL_OTI, if both circuits are RS to: Greymouth, Hokitika Avoid irrigation period if possible for a HOR & KBY load.
2025-11-17 07:30 | FKN_T3 | 2025-11-17 07:30 | 2025-11-28 18:30 | Continuous | n-security to: Frankton 33kV | Aurora Energy
2025-11-17 06:30 | PRM_T2 | 2025-11-17 06:30 | 2025-11-21 18:30 | Continuous | n-security to: Paraparaumu 33kV | Electra
2025-11-17 06:30 | BPE_PRM_HAY_2 | 2025-11-17 06:30 | 2025-11-21 18:30 | Continuous | n-security to: Paraparaumu | Electra
2025-11-17 07:30 | BPE_TNG_1 | 2025-11-17 07:30 | 2025-11-26 18:30 | Continuous | n-security to: TNG and RPO. | Kiwi Rail (Winstone)
2025-11-17 07:30 | CST_T2 | 2025-11-17 07:30 | 2025-11-28 18:30 | Continuous | n-security to: Carrington Street 33kV | Powerco
2025-11-18 07:30 | HAM_KPO_2 | 2025-11-18 07:30 | 2025-11-20 18:30 | Continuous | n-security to: Cambridge | Waipa Networks
2025-11-18 07:30 | CBG_T3 | 2025-11-18 07:30 | 2025-11-20 18:30 | Continuous | n-security to: Cambridge With T3 RFS the STOPS scheme will be disabled so the transformer rating applies on T4: summer 45.2MVA and Winter 47.2MVA
2025-11-18 07:30 | KPO_TMU_1 | 2025-11-18 07:30 | 2025-11-20 18:30 | Continuous | n-security to: Te Awamutu | Waipa Networks
2025-11-18 17:30 | HKK_OTI_2 | 2025-11-18 17:30 | 2025-11-21 18:30 | Continuous | n-security to: Hokitika | Westpower
2025-11-20 08:00 | ROT_TRK_1 | 2025-11-20 08:00 | 2025-11-20 18:30 | Daily | n-security to: Rotorua | Unison Networks
2025-11-21 07:30 | ROT_TRK_2 | 2025-11-21 07:30 | 2025-11-21 18:30 | Daily | n-security to: Rotorua | Unison Networks
2025-11-21 07:30 | OWH_TMI_TRK_1 | 2025-11-21 07:30 | 2025-11-21 18:30 | Daily | n-security to: Owhata , TeMatai | Unison Networks ,Powerco
2025-11-21 08:30 | TRK_T4 | 2025-11-21 08:30 | 2025-12-07 18:30 | Continuous | loss of connection to: Tarukenga 11kV | Unison Networks
2025-11-21 08:30 | TRK_11BS_A | 2025-11-21 08:30 | 2025-12-07 18:30 | Continuous | loss of supply to: Tarukenga | Unison Networks
2025-11-21 06:30 | MLG_T1 | 2025-11-21 06:30 | 2025-11-23 18:00 | Continuous | n-security to: Melling 11kV | Wellington Electricity Lines
2025-11-21 07:00 | RDF_T2 | 2025-11-21 07:00 | 2025-11-22 17:30 | Continuous | n-security to: Redclyffe 33kV | Unison Networks
2025-11-21 06:30 | HAY_MLG_1 | 2025-11-21 06:30 | 2025-11-23 18:00 | Continuous | n-security to: Melling | Wellington Electricity Lines
2025-11-21 06:30 | MLG_T3 | 2025-11-21 06:30 | 2025-11-23 18:00 | Continuous | n-security to: Melling 33kV | Wellington Electricity Lines
2025-11-21 07:00 | RDF_110BS_G | 2025-11-21 07:00 | 2025-11-22 17:30 | Continuous | n-security to: Redclyffe 33kV, Fernhill, Tuai. | Unison Networks ,Unison Networks
2025-11-21 07:00 | RDF_T4 | 2025-11-21 07:00 | 2025-11-22 17:30 | Continuous | n-security to: Redclyffe, Tuai, Fernhill. | Unison Networks ,Genesis Energy , Eastland Network
2025-11-23 08:30 | JFD_WIL_1 | 2025-11-23 08:30 | 2025-12-17 18:30 | Continuous | n-security to: Wilton | Wellington Electricity Lines
2025-11-24 06:30 | TAK_T8 | 2025-11-24 06:30 | 2025-11-29 18:30 | Continuous | n-security to: Takanini | Vector
2025-11-24 06:30 | HEN_T2 | 2025-11-24 06:30 | 2025-11-28 18:30 | Continuous | n-security to: Henderson 33kV | Vector
2025-11-24 08:00 | HAM_T2 | 2025-11-24 08:00 | 2025-11-28 18:30 | Continuous | n-security to: Hamilton 11kV | WEL Networks , KiwiRail Holdings
2025-11-24 08:00 | KAW_OHK_1 | 2025-11-24 08:00 | 2025-11-28 18:30 | Continuous | System splits to be implemented on EDG_KAW_1 and 2 (CLO EDG CB 292), or EDG_OWH_2 circuit for the EDG_KAW_3 contingency. KAW, ANI, MAT and KAG are on n-security.CW 14/2/25
2025-11-24 08:00 | OTA_HTU_WKM_1 | 2025-11-24 08:00 | 2025-11-29 18:30 | Continuous | n-security to: HTU | Waipa Networks
2025-11-24 08:00 | HTU_T1 | 2025-11-24 08:00 | 2025-11-29 18:30 | Continuous | n-security to: HTU | Waipa Networks
2025-11-24 06:30 | HEN_414_447_487 | 2025-11-24 06:30 | 2025-11-28 18:30 | Continuous | n-security to: Henderson 110kV and 33kV Bus's | Vector
2025-11-24 06:30 | DRY_TAK_OTA_2 | 2025-11-24 06:30 | 2025-11-29 18:30 | Continuous | n-security to: Takanini | Vector
2025-11-24 07:30 | MNG_T1 | 2025-11-24 07:30 | 2025-11-28 18:30 | Continuous | n-security to: Mangere 33kV | Vector
2025-11-24 09:00 | STK_FDR_102 | 2025-11-24 09:00 | 2025-11-26 16:00 | Continuous | n-security to: Stoke 66kV, Motueka , Golden Bay | Network Tasman , Nelson Electricity
2025-11-24 06:30 | PRM_T2 | 2025-11-24 06:30 | 2025-11-28 18:30 | Continuous | n-security to: Paraparaumu 33kV | Electra
2025-11-24 06:30 | BPE_PRM_HAY_2 | 2025-11-24 06:30 | 2025-11-28 18:30 | Continuous | n-security to: Paraparaumu | Electra
2025-11-24 07:00 | BPE_T10 | 2025-11-24 07:00 | 2025-12-02 18:00 | Continuous | n-security to: Bunnythorpe 33kV | Powerco , KiwiRail Holdings
2025-11-24 07:00 | BPE_CB_2208 | 2025-11-24 07:00 | 2025-12-02 18:00 | Continuous | n-security to: Bunnythorpe 33kV | Powerco , KiwiRail Holdings
2025-11-24 07:30 | CST_117_184 | 2025-11-24 07:30 | 2025-11-28 18:30 | Continuous | n-security to: Carrington Street 33kV | Powerco
2025-11-25 07:30 | HTI_T2 | 2025-11-25 07:30 | 2025-11-25 18:30 | Daily | n-security to: Hangatiki | The Lines Company
2025-11-25 07:30 | HTI_124_134_127 | 2025-11-25 07:30 | 2025-11-25 18:30 | Daily | n-security to: Hangatiki 33kV | The Lines Company
2025-11-25 07:30 | SFD_T8 | 2025-11-25 07:30 | 2025-11-27 18:30 | Continuous | n-security to: Stratford 33kV Bus | Powerco , Contact Energy
2025-11-25 07:00 | ARI_HTI_ONG_1 | 2025-11-25 07:00 | 2025-11-28 18:30 | Continuous | n-security to: Ongarue, National Park, Ohakune, Mataroa (the Central North Island ONG, NPK, OKN & MTR). | The Lines Company ,The Lines Company ,Powerco , The Lines Company
2025-11-25 07:30 | SFD_117_167 | 2025-11-25 07:30 | 2025-11-27 18:30 | Continuous | n-security to: Stratford 33kV | Powerco , Contact Energy
2025-11-26 07:30 | THI_WKM_1 | 2025-11-26 07:30 | 2025-11-27 18:30 | Continuous | n-security to: Te Mihi, Poihipi | Contact Energy
2025-12-01 07:30 | OWH_T2 | 2025-12-01 07:30 | 2025-12-03 18:30 | Continuous | n-security to: Owhata 11kV | Unison Networks
2025-12-01 07:30 | OWH_97_104_114 | 2025-12-01 07:30 | 2025-12-03 18:30 | Continuous | n-security to: Owhata | Unison Networks
2025-12-01 07:00 | BRB_HPI_1 | 2025-12-01 07:00 | 2025-12-06 18:30 | Continuous | n-security to: Marsden, Bream Bay, Kaikohe , Maungatapere | 0,Northpower ,Top Energy
2025-12-01 07:00 | HEN_HPI_1 | 2025-12-01 07:00 | 2025-12-06 18:30 | Continuous | n-security to: Marsden, Bream Bay, Kaikohe, Kaitaia, Maungatapere, Maungaturoto | 0,Northpower ,Top Energy ,Northpower
2025-12-01 07:00 | HEN_T3 | 2025-12-01 07:00 | 2025-12-06 18:30 | Continuous | n-security to: Henderson 33kV | Vector
2025-12-01 07:30 | OWH_TMI_TRK_1 | 2025-12-01 07:30 | 2025-12-06 18:30 | Continuous | n-security to: Owhata , TeMatai | Unison Networks ,Powerco
2025-12-01 08:00 | OTA_HTU_WKM_2 | 2025-12-01 08:00 | 2025-12-05 18:30 | Continuous | n-security to: HTU | Waipa Networks
2025-12-01 08:00 | HTU_T2 | 2025-12-01 08:00 | 2025-12-05 18:30 | Continuous | n-security to: HTU | Waipa Networks
2025-12-01 07:00 | OTA_T14 | 2025-12-01 07:00 | 2025-12-07 18:30 | Continuous | n-security to: Otahuhu 22kV | Vector
2025-12-01 07:00 | HEN_467_514_524 | 2025-12-01 07:00 | 2025-12-06 18:30 | Continuous | n-security to: Henderson 110kV and 33kV Bus's | Counties Power
2025-12-01 07:00 | HEN_SWN_1 | 2025-12-01 07:00 | 2025-12-06 18:30 | Continuous | n-security to: Southdown | KiwiRail Holdings , Southdown Cogeneration , Mercury Energy
2025-12-01 08:00 | DRY_BOB_HLY_1 | 2025-12-01 08:00 | 2025-12-01 18:30 | Daily | n-security to: GLN and BOB as system splits are placed on ARI_BOB and BOB_HAM. (Note: Places HLY_5 on n) Whenever Bus A and Bus B are connected by 2 or less half breakers HLY_T21 must be removed from service. This is to mitigate the chance of A and B buses being connected solely via T21 and T22. CW 20/3/25
2025-12-01 08:00 | BOB_T4 | 2025-12-01 08:00 | 2025-12-01 18:30 | Daily | n-security to: BOB as system splits are placed on ARI_BOB and BOB_HAM | Counties Power
2025-12-01 06:30 | ASB_BRY_1 | 2025-12-01 06:30 | 2025-12-05 18:30 | Continuous | n-security to: Bromley | Orion New Zealand
2025-12-01 06:30 | CUL_T23 | 2025-12-01 06:30 | 2025-12-05 18:00 | Continuous | n-security to: Culverden | Mainpower New Zealand
2025-12-01 06:30 | BRY_T7 | 2025-12-01 06:30 | 2025-12-05 18:30 | Continuous | n-security to: Bromley | Orion New Zealand
| BRY_827_887_917 | 2025-12-01 06:30 | 2025-12-05 18:30 | Continuous | n-security to: Bromley | Orion New Zealand
| HWB_SDN_1 | 2025-12-01 07:00 | 2025-12-05 18:30 | Continuous | n-security to: South Dunedin | Aurora Energy
| HWB_T3 | 2025-12-01 07:00 | 2025-12-05 18:30 | Continuous | n-security to: Halfway Bush 33kV | Powernet , Aurora Energy
| MLG_T1 | 2025-12-01 07:30 | 2025-12-09 18:30 | Continuous | n-security to: Melling 11kV | Wellington Electricity Lines
| WRK_T30 | 2025-12-01 08:00 | 2025-12-03 18:30 | Continuous | n-security to: Wairakei 33kV | Unison Networks , Contact Energy
| WPW_T1 | 2025-12-01 07:30 | 2025-12-07 17:00 | Continuous | n-security to: Waipawa 33kV Bus | Centralines
| DVK_T1 | 2025-12-01 07:30 | 2025-12-07 17:00 | Continuous | n-security to: Dannevirke 11kV Bus | Scanpower
| WDV_DVK_WPW_2 | 2025-12-01 07:30 | 2025-12-07 17:00 | Continuous | n-security to: Dannevirke, Waipawa. | Scanpower
| HAY_MLG_1 | 2025-12-01 07:30 | 2025-12-08 18:30 | Continuous | n-security to: Melling | Wellington Electricity Lines
| MLG_T3 | 2025-12-01 07:30 | 2025-12-09 18:30 | Continuous | n-security to: Melling 33kV | Wellington Electricity Lines
| HAY_JFD_1 | 2025-12-01 07:00 | 2025-12-05 18:30 | Continuous
| JFD_LTN_1 | 2025-12-01 07:00 | 2025-12-05 18:30 | Continuous | n-security to: Wilton | Wellington Electricity Lines
| DVK_44_64_74 | 2025-12-01 07:30 | 2025-12-07 17:00 | Continuous | n-security to: Dannevirke , Waipawa | Scanpower ,Centralines
| WDV_57_67_117 | 2025-12-01 07:30 | 2025-12-07 17:00 | Continuous | Removes WDV_DVK_WPW_2 and BPE_WDV_2 from service. WARNING: This is a single bus site, so a bus tripping will trip the whole bus. The Service Provider should exercise increased rigor in planning & preparation.
| CST_64_147 | 2025-12-02 07:30 | 2025-12-04 18:30 | Continuous | n-security to: Carrington Street 33kV | Powerco
| CST_T4 | 2025-12-02 07:30 | 2025-12-15 18:30 | Continuous | n-security to: Carrington Street 33kV | Powerco
| TAK_T5 | 2025-12-03 14:00 | 2025-12-05 17:00 | Continuous | n-security to: Takanini | Vector
| DRY_TAK_OTA_1 | 2025-12-03 14:00 | 2025-12-05 17:00 | Continuous | n-security to: Takanini , Glenbrook | Vector ,Counties Power , New Zealand Steel
| OTA_22BS_A | 2025-12-04 07:30 | 2025-12-04 16:00 | Daily | n-security to: Otahuhu 22kV | Vector
| ARA_WRK_1 | 2025-12-04 07:30 | 2025-12-05 18:30 | Continuous | loss of connection to: Aratiatia MB 15/5/25 | Contact Energy
| THI_WRK_1 | 2025-12-06 07:30 | 2025-12-07 18:30 | Continuous | n-security to: Te Mihi , Poihipi Generation required from HLY. Avoid an outage on HLY G5 NOTE Daily outages preferred. | Contact Energy
| ALB_T5 | 2025-12-07 07:30 | 2025-12-13 18:30 | Continuous | This places ALB's 110kV load and WRD's 33kV load on N-security via WRD_T7. CW 14/4/25 | Vector
| PRM_T2 | 2025-12-07 17:30 | 2025-12-07 18:00 | Daily | n-security to: Paraparaumu 33kV | Electra
| HEN_MPE_1 | 2025-12-08 08:00 | 2025-12-12 18:30 | Continuous | n-security to: Wellsford, Maungaturoto | Vector ,Northpower
| MTO_T1 | 2025-12-08 08:00 | 2025-12-12 18:30 | Continuous | n-security to: Maungaturoto | Northpower
| TMI_T1 | 2025-12-08 07:30 | 2025-12-10 18:30 | Continuous | n-security to: Te Matai | Powerco
| WEL_T2 | 2025-12-08 08:00 | 2025-12-12 18:30 | Continuous | n-security to: Wellsford | Vector
| MTO_1257_1277_1294 | 2025-12-08 08:00 | 2025-12-08 18:30 | Daily | WARNING: This is a single bus site, so a bus tripping will trip the whole bus. The Service Provider should exercise increased rigor in planning & preparation.
| OWH_TMI_TRK_1 | 2025-12-08 07:30 | 2025-12-12 18:30 | Continuous | n-security to: Owhata , TeMatai | Unison Networks ,Powerco
| KMO_MTM_1 | 2025-12-08 07:30 | 2025-12-08 17:00 | Daily | n-security to: Mt.Maunganui | Powerco
| GLN_T4 | 2025-12-08 07:00 | 2025-12-11 18:00 | Continuous | n-security to: Glenbrook NZ Steel Bus K and J feeders | Counties, NZ Steel
| TMI_137_144_154 | 2025-12-08 07:30 | 2025-12-10 18:30 | Continuous | n-security to: Te Matai WARNING: This is a single bus site, so a bus tripping will trip the whole bus. The Service Provider should exercise increased rigor in planning & preparation.
| STK_FDR_92 | 2025-12-08 09:00 | 2025-12-11 18:30 | Continuous | n-security to: Stoke 66kV, Motueka , Golden Bay | Network Tasman , Nelson Electricity
| CUL_T22 | 2025-12-08 06:30 | 2025-12-08 11:59 | Daily | n-security to: Culverden | Mainpower New Zealand
| HWB_SDN_1 | 2025-12-08 08:00 | 2025-12-10 18:30 | Continuous | n-security to: South Dunedin | Aurora Energy
| SDN_407_417_477 | 2025-12-08 08:00 | 2025-12-10 18:30 | Continuous | n-security to: South Dunedin | Aurora Energy
| BPE_T9 | 2025-12-08 07:00 | 2025-12-16 18:00 | Continuous | n-security to: Bunnythorpe 33kV | Powerco , KiwiRail Holdings
| WDV_T2 | 2025-12-08 07:30 | 2025-12-14 17:00 | Continuous | n-security to: Woodville 11kV | Scanpower , MEL (Te Apiti)
| WDV_DVK_WPW_1 | 2025-12-08 07:30 | 2025-12-14 17:00 | Continuous | n-security to: Dannevirke , Waipawa | Scanpower ,Centralines
| BPE_CB_2208 | 2025-12-08 07:00 | 2025-12-16 18:00 | Continuous | n-security to: Bunnythorpe 33kV | Powerco , KiwiRail Holdings
| WGN_44_64_87 | 2025-12-08 07:00 | 2025-12-12 17:30 | Continuous | n-security to: Wanganui 33kV WARNING: This is a single bus site, so a bus tripping will trip the whole bus. The Service Provider should exercise increased rigor in planning & preparation.
| WGN_T1 | 2025-12-08 07:00 | 2025-12-12 17:30 | Continuous | n-security to: Wanganui 33kV Bus | Powerco
| WGN_WVY_1 | 2025-12-08 07:00 | 2025-12-12 17:30 | Continuous | n-security to: Hawera, Patea, Waverley, Whaeroa | Powerco , Fonterra Todd Cogen , Beach Energy , TrustPower,Powerco
| DVK_84_94_104 | 2025-12-08 07:30 | 2025-12-14 17:00 | Continuous | n-security to: Dannevirke , Waipawa | Scanpower ,Centralines
| DVK_T2 | 2025-12-08 07:30 | 2025-12-14 17:00 | Continuous | n-security to: Dannevirke 11kV Bus | Scanpower
| WPW_T2 | 2025-12-08 07:30 | 2025-12-14 17:00 | Continuous | n-security to: Waipawa 33kV Bus | Centralines
| WDV_47_57_97 | 2025-12-08 07:30 | 2025-12-14 17:00 | Continuous | Removes WDV_DVK_WPW_1 and WDV_T2 from service. WARNING: This is a single bus site, so a bus tripping will trip the whole bus. The Service Provider should exercise increased rigor in planning & preparation.
| WAI_T1 | 2025-12-09 07:30 | 2025-12-10 18:30 | Continuous | loss of connection to Hinuera. HIN can be back-fed from PAO & ARI | Powerco
| TGA_T1 | 2025-12-09 07:30 | 2025-12-09 16:30 | Daily | n-security to: Tauranga 11kV | Powerco
| NMA_TWI_CAP_ITRIP_2 | 2025-12-09 08:00 | 2025-12-09 16:00 | Daily
| RDF_T1 | 2025-12-09 07:00 | 2025-12-10 17:30 | Continuous | n-security to: Redclyffe 33kV | Unison Networks
| RDF_110BS_F | 2025-12-09 07:00 | 2025-12-10 17:30 | Continuous | n-security to: Redclyffe 33kV, Fernhill, Tuai. | Unison Networks ,Unison Networks
| RDF_T5 | 2025-12-09 07:00 | 2025-12-10 17:30 | Continuous | n-security to: Redclyffe, Tuai, Fernhill. | Unison Networks ,Genesis Energy , Eastland Network
| WPW_64_74_94 | 2025-12-09 07:30 | 2025-12-10 18:30 | Continuous | n-security to: Dannevirke , Waipawa | Scanpower ,Centralines
| HWA_WAA_1 | 2025-12-09 08:00 | 2025-12-09 17:00 | Daily | n-security to: Whareroa | Whareroa Power
| WAI_T1 | 2025-12-10 07:30 | 2025-12-18 18:30 | Continuous | n-security to: Waiotahi 11kV | Horizon Energy
| TGA_T2 | 2025-12-10 07:30 | 2025-12-10 16:30 | Daily | n-security to: Tauranga 11kV | Powerco
| BDE_T1 | 2025-12-10 07:00 | 2025-12-12 18:30 | Continuous | n-security to: Brydone 11kV | Daiken
| HWA_WAA_2 | 2025-12-10 08:00 | 2025-12-10 17:00 | Daily | n-security to: Whareroa | Whareroa Power
| TGA_T3 | 2025-12-11 07:30 | 2025-12-11 12:30 | Daily | n-security to: Tauranga 33kV | Powerco
| TGA_T4 | 2025-12-12 07:30 | 2025-12-12 12:30 | Daily | n-security to: Tauranga 33kV | Powerco
| CUL_T22 | 2025-12-12 12:00 | 2025-12-12 18:00 | Daily | n-security to: Culverden | Mainpower New Zealand
| GLN_T6 | 2025-12-13 08:00 | 2025-12-13 18:30 | Daily | Reduced security to Glenbrook 33kv bus | Counties Power, NZ Steel Power,
| HTI_TMU_1 | 2025-12-15 08:00 | 2025-12-17 18:30 | Continuous | n-security to: Te Awamutu | Waipa Networks
| MTO_1224_1234_1257 | 2025-12-15 08:00 | 2025-12-16 18:30 | Daily | WARNING: This is a single bus site, so a bus tripping will trip the whole bus. The Service Provider should exercise increased rigor in planning & preparation.
| MTO_T2 | 2025-12-15 08:00 | 2025-12-19 18:30 | Continuous | n-security to: Maungaturoto | Northpower
| WEL_T1 | 2025-12-15 08:00 | 2025-12-19 18:30 | Continuous | n-security to: Wellsford | Vector
| HEN_MPE_2 | 2025-12-15 08:00 | 2025-12-19 18:30 | Continuous | n-security to: Wellsford, Maungaturoto | Vector ,Northpower
| HAM_427_467_487 | 2025-12-15 07:30 | 2025-12-19 18:30 | Continuous | n-security to: Hamilton 33kV Bus | WEL Networks , KiwiRail Holdings
| HAM_T5 | 2025-12-15 07:30 | 2025-12-19 18:30 | Continuous | n-security to: Hamilton 33kV | WEL Networks , KiwiRail Holdings
| RDF_T1 | 2025-12-15 07:00 | 2025-12-16 17:30 | Continuous | n-security to: Redclyffe 33kV | Unison Networks
| MTN_T2 | 2025-12-15 07:00 | 2025-12-19 17:30 | Continuous | n-security to: Marton 33kV | Powerco
| WGN_44_64_87 | 2025-12-15 07:00 | 2025-12-19 17:30 | Continuous | n-security to: Wanganui 33kV WARNING: This is a single bus site, so a bus tripping will trip the whole bus. The Service Provider should exercise increased rigor in planning & preparation.
| WGN_T1 | 2025-12-15 07:00 | 2025-12-19 17:30 | Continuous | n-security to: Wanganui 33kV Bus | Powerco
| WGN_WVY_1 | 2025-12-15 07:00 | 2025-12-19 17:30 | Continuous | n-security to: Hawera, Patea, Waverley, Whaeroa | Powerco , Fonterra Todd Cogen , Beach Energy , TrustPower,Powerco
| RDF_110BS_F | 2025-12-15 07:00 | 2025-12-16 17:30 | Continuous | n-security to: Redclyffe 33kV, Fernhill, Tuai. | Unison Networks ,Unison Networks
| RDF_T5 | 2025-12-15 07:00 | 2025-12-16 17:30 | Continuous | n-security to: Redclyffe, Tuai, Fernhill. | Unison Networks ,Genesis Energy , Eastland Network
| BPE_MTN_WGN_2 | 2025-12-15 07:00 | 2025-12-19 17:30 | Continuous | n-security to: Marton 33kV Load management maybe needed at HWA, MTN, WVY and WGN to resolve overloading and post-contingent voltage issues. 15/5/25 MB
| KMO_TMI_1 | 2025-12-16 07:30 | 2025-12-18 18:30 | Continuous | n-security to: Te Matai | Powerco
| TMI_T2 | 2025-12-16 07:30 | 2025-12-18 18:30 | Continuous | n-security to: Te Matai | Powerco
| TMI_134_147 | 2025-12-16 07:30 | 2025-12-18 18:30 | Continuous | n-security to: Te Matai WARNING: This is a single bus site, so a bus tripping will trip the whole bus. The Service Provider should exercise increased rigor in planning & preparation.
| HRP_RDF_1 | 2025-12-17 06:30 | 2025-12-17 18:30 | Daily | n-security to: Redclyffe, Whakatu, Tuai, Fernhill, Harapaki, Tauhara. | Unison Networks ,Unison Networks ,Genesis Energy , Eastland Network,Unison Networks
| GLN_T5 | 2025-12-19 08:00 | 2025-12-19 18:30 | Daily | n-security to: Glenbrook NZ Steel Bus K and J feeders | Counties Power, NZ Steel Power,
| STK_T6 | 2025-12-30 07:00 | 2025-12-30 18:00 | Daily | n-security to: Stoke 33kV | Network Tasman , Nelson Electricity
| HEN_SWN_1 | 2026-01-07 07:00 | 2026-01-13 18:00 | Continuous | n-security to: Southdown | KiwiRail Holdings , Southdown Cogeneration , Mercury Energy
| OTA_SWN_1 | 2026-01-07 07:00 | 2026-01-13 18:00 | Continuous | n-security to: Southdown | KiwiRail Holdings , Southdown Cogeneration , Mercury Energy
| SWN_220BS | 2026-01-07 07:00 | 2026-01-13 18:00 | Continuous | loss of supply to: Southdown. Advise KIwi Rail and Mercury .n security to Auckland Trains WARNING: This is a single bus site, so a bus tripping will trip the whole bus. The Service Provider should exercise increased rigor in planning & preparation.
| OTA_22BS_C | 2026-01-08 07:00 | 2026-01-08 18:30 | Daily | n-security to: Otahuhu 22kV | Vector
| OTA_T13 | 2026-01-08 07:00 | 2026-01-08 18:30 | Daily | n-security to: Otahuhu 22kV | Vector
| KMO_MTM_1 | 2026-01-12 07:30 | 2026-01-13 18:30 | Continuous | n-security to: Mt.Maunganui | Powerco
| MTM_47_84_94 | 2026-01-12 07:30 | 2026-01-13 18:30 | Continuous | n-security to: Mt.Maunganui WARNING: This is a single bus site, so a bus tripping will trip the whole bus. The Service Provider should exercise increased rigor in planning & preparation.
| MTM_T3 | 2026-01-12 07:30 | 2026-01-13 18:30 | Continuous | n-security to: Mt.Maunganui | Powerco
| BEN_OHC_2 | 2026-01-12 07:30 | 2026-01-12 18:30 | Daily | n-security to: Ohau C | Meridian Energy
| OHC_1207_1206 | 2026-01-12 07:30 | 2026-01-12 18:30 | Daily | n-security to: Ohau C | Meridian Energy
| BRY_807_817_897 | 2025-11-10 07:30 | 2025-11-13 18:30 | Continuous | n-security to: Bromley | Orion New Zealand
| BRY_ISL_1 | 2025-11-10 07:30 | 2025-11-13 18:30 | Continuous | n-security to: Bromley | Orion New Zealand
| PRM_T1 | 2025-11-10 06:30 | 2025-11-14 18:30 | Continuous | n-security to: Paraparaumu 33kV | Electra
| RPO_WRK_1 | 2025-11-10 07:30 | 2025-11-15 18:30 | Continuous | n-security to: Winstones Pulp International and Rangipo | Genesis, Winstones Pulp International
| BPE_PRM_HAY_1 | 2025-11-10 06:30 | 2025-11-14 18:30 | Continuous | n-security to: Paraparaumu | Electra
| BPE_MTN_WGN_1 | 2025-11-10 07:30 | 2025-11-14 18:30 | Continuous | n-security to: Marton 33kV Load management maybe needed at HWA, MTN, WVY and WGN to resolve overloading and post-contingent voltage issues. 15/5/25 MB | Powerco
| MTN_T1 | 2025-11-10 07:30 | 2025-11-14 18:30 | Continuous | n-security to: Marton 33kV | Powerco
| WGN_77_94 | 2025-11-10 07:30 | 2025-11-15 18:30 | Continuous | n-security to: Wanganui 33kV Bus WARNING: This is a single bus site, so a bus tripping will trip the whole bus. The Service Provider should exercise increased rigor in planning & preparation. | Powerco
| WGN_T2 | 2025-11-10 07:30 | 2025-11-15 18:30 | Continuous | n-security to: Wanganui 33kV Bus | Powerco
| HAY_UHT_2 | 2025-11-10 07:30 | 2025-11-14 17:00 | Continuous | n-security to: Upper Hutt , Masterton , Greytown | Wellington Electricity Lines ,Powerco
| OHA_TWZ_1 | 2025-11-11 07:30 | 2025-11-13 18:30 | Continuous | n-security to: Ohau A | Meridian Energy
| HLY_TWH_1 | 2025-11-15 07:00 | 2025-11-15 18:00 | Daily | n-security to: Te Kowhai,Taumarunui | WEL Networks ,KiwiRail Holdings
| RDF_T2 | 2025-11-15 07:00 | 2025-11-16 17:30 | Continuous | n-security to: Redclyffe 33kV | Unison Networks
| RDF_T4 | 2025-11-15 07:00 | 2025-11-16 17:30 | Continuous | n-security to: Redclyffe, Tuai, Fernhill. | Unison Networks ,Genesis Energy , Eastland Network
| RDF_110BS_G | 2025-11-15 07:00 | 2025-11-16 17:30 | Continuous | n-security to: Redclyffe 33kV, Fernhill, Tuai. | Unison Networks
| WAI_T1 | 2025-11-16 07:30 | 2025-11-16 18:30 | Daily | n-security to: Waiotahi 11kV | Horizon Energy
| WAI_T2 | 2025-11-16 07:30 | 2025-11-16 18:30 | Daily | n-security to: Waiotahi 11kV | Horizon Energy
| EDG_WAI_2 | 2025-11-16 07:30 | 2025-11-16 18:30 | Daily | loss of supply to: Waiotahi + Te-Kaha | Horizon Energy
| WAI_T5 | 2025-11-16 07:30 | 2025-11-16 18:30 | Daily | loss of supply to: Te kaha | Northpower
| WAI_104_114 | 2025-11-16 07:30 | 2025-11-16 18:30 | Daily | Loss of connection to Waiotahi | Horizon Energy
Formulas:
Start Date = [Planned Start Date/Time]