## D&E register
Dispensation ID | Status | Legal owner | Station | Equipment | Obligation
2000 | Granted | Meridian Energy | Te Apiti | All Units | Part 8, Subpart 2, 8.17 - Contribution by injections to overall frequency management
2001 | Granted | Meridian Energy | Te Apiti | All Units | Part 8, Subpart 2, 8.23(1)(a) - Exporting net reactive power at full load
2002 | Granted | Meridian Energy | Te Apiti | All Units | Part 8, Schedule 8.3, Technical Code A 5(1)(c) - Generating unit has a speed governor
2003 | Granted | Meridian Energy | Te Apiti | All Units | Part 8, Schedule 8.3, Technical Code A 5(1)(c)(ii) - Has adjustable droop
2004 | Granted | Meridian Energy | Te Apiti | All Units | Part 8, Schedule 8.3, Technical Code C 9(1) - Minimum required indications and measurements
2005 | Granted | Genesis Power Ltd | Huntly | Unit 6 | Part 8, Subpart 2, 8.19(1) - Generators (contributions to frequency support in the case of under-frequency events)
2019 | Granted | Contact Energy | Taranaki | TCC Unit | Part 8, Schedule 8.3, Technical Code A 5(1)(c)(ii) - Has adjustable droop
2025 | Granted | Tararua Wind Power Limited | Tararua III | All Units | Part 8, Subpart 2, 8.23(1)(a) - Exporting net reactive power at full load
2026 | Granted | Tararua Wind Power Limited | Tararua III | All Units | Part 8, Subpart 2, 8.23(1)(b) - Importing net reactive power at full load
2027 | Granted | Tararua Wind Power Limited | Tararua III | All Units | Part 8, Schedule 8.3, Technical Code A 5(1)(b) - Rate of change in output
2028 | Granted | Tararua Wind Power Limited | Tararua III | All Units | Part 8, Schedule 8.3, Technical Code A 5(2) - Voltage response and control
2033 | Granted | Genesis Power Ltd | Huntly | G1-G4 | Part 8, Subpart 2, 8.23(1)(a) - Exporting net reactive power at full load
2034 | Granted | Genesis Power Ltd | Huntly | G1-G4 | Part 8, Subpart 2, 8.23(1)(b) - Importing net reactive power at full load
2036 | Granted | Genesis Power Ltd | Kaitawa | G6-G7 | Part 8, Subpart 2, 8.23(1)(a) - Exporting net reactive power at full load
2037 | Granted | Genesis Power Ltd | Kaitawa | G6-G7 | Part 8, Subpart 2, 8.23(1)(b) - Importing net reactive power at full load
2041 | Granted | Genesis Power Ltd | Rangipo | G5-G6 | Part 8, Subpart 2, 8.22(2) - Generators
2042 | Granted | Genesis Power Ltd | Rangipo | G5-G6 | Part 8, Subpart 2, 8.23(1)(a) - Exporting net reactive power at full load
2043 | Granted | Genesis Power Ltd | Rangipo | G5-G6 | Part 8, Subpart 2, 8.23(1)(b) - Importing net reactive power at full load
2056 | Granted | Genesis Power Ltd | Huntly | G5 | Part 8, Subpart 2, 8.19(1) - Generators (contributions to frequency support in the case of under-frequency events)
2059 | Granted | Transpower NZ Limited | Blenheim | T1 | Part 8, Subpart 2, 8.22(1) - Grid Owner
2060 | Granted | Transpower NZ Limited | Blenheim | T2 | Part 8, Subpart 2, 8.22(1) - Grid Owner
2061 | Granted | Transpower NZ Limited | Bombay | T2 | Part 8, Subpart 2, 8.22(1) - Grid Owner
2062 | Granted | Transpower NZ Limited | Bombay | T3 | Part 8, Subpart 2, 8.22(1) - Grid Owner
2063 | Granted | Transpower NZ Limited | Brunswick | T1 | Part 8, Subpart 2, 8.22(1) - Grid Owner
2068 | Granted | Transpower NZ Limited | Edgecumbe | T7 | Part 8, Subpart 2, 8.22(1) - Grid Owner
2069 | Granted | Transpower NZ Limited | Edgecumbe | T8 | Part 8, Subpart 2, 8.22(1) - Grid Owner
2070 | Granted | Transpower NZ Limited | Edendale | T1 | Part 8, Subpart 2, 8.22(1) - Grid Owner
2071 | Granted | Transpower NZ Limited | Edendale | T2 | Part 8, Subpart 2, 8.22(1) - Grid Owner
2072 | Granted | Transpower NZ Limited | Fernhill | T1 | Part 8, Subpart 2, 8.22(1) - Grid Owner
2073 | Granted | Transpower NZ Limited | Fernhill | T2 | Part 8, Subpart 2, 8.22(1) - Grid Owner
2076 | Granted | Transpower NZ Limited | Gore | T2 | Part 8, Subpart 2, 8.22(1) - Grid Owner
2077 | Granted | Transpower NZ Limited | Gore | T3 | Part 8, Subpart 2, 8.22(1) - Grid Owner
2080 | Granted | Transpower NZ Limited | Hinuera | T1 | Part 8, Subpart 2, 8.22(1) - Grid Owner
2081 | Granted | Transpower NZ Limited | Hinuera | T2 | Part 8, Subpart 2, 8.22(1) - Grid Owner
2082 | Granted | Transpower NZ Limited | Hangatiki | T1 | Part 8, Subpart 2, 8.22(1) - Grid Owner
2083 | Granted | Transpower NZ Limited | Hangatiki | T2 | Part 8, Subpart 2, 8.22(1) - Grid Owner
2086 | Granted | Transpower NZ Limited | Hawera | T1 | Part 8, Subpart 2, 8.22(1) - Grid Owner
2087 | Granted | Transpower NZ Limited | Hawera | T2 | Part 8, Subpart 2, 8.22(1) - Grid Owner
2094 | Granted | Transpower NZ Limited | Kikiwa | T1 | Part 8, Subpart 2, 8.22(1) - Grid Owner
2100 | Granted | Transpower NZ Limited | Mangahao | T3 | Part 8, Subpart 2, 8.22(1) - Grid Owner
2101 | Granted | Transpower NZ Limited | Mangahao | T4 | Part 8, Subpart 2, 8.22(1) - Grid Owner
2102 | Granted | Transpower NZ Limited | Melling | T3 | Part 8, Subpart 2, 8.22(1) - Grid Owner
2103 | Granted | Transpower NZ Limited | Melling | T4 | Part 8, Subpart 2, 8.22(1) - Grid Owner
2110 | Granted | Transpower NZ Limited | Marton | T1 | Part 8, Subpart 2, 8.22(1) - Grid Owner
2111 | Granted | Transpower NZ Limited | Marton | T2 | Part 8, Subpart 2, 8.22(1) - Grid Owner
2112 | Granted | Transpower NZ Limited | Mataroa | T2 | Part 8, Subpart 2, 8.22(1) - Grid Owner
2118 | Granted | Transpower NZ Limited | Ongarue | T1 | Part 8, Subpart 2, 8.22(1) - Grid Owner
2119 | Granted | Transpower NZ Limited | Otahuhu | T2 | Part 8, Subpart 2, 8.22(1) - Grid Owner
2121 | Granted | Transpower NZ Limited | Pauatahanui | T1 | Part 8, Subpart 2, 8.22(1) - Grid Owner
2132 | Granted | Transpower NZ Limited | Tokaanu | T21 | Part 8, Subpart 2, 8.22(1) - Grid Owner
2133 | Granted | Transpower NZ Limited | Tokaanu | T22 | Part 8, Subpart 2, 8.22(1) - Grid Owner
2134 | Granted | Transpower NZ Limited | Te Matai | T1 | Part 8, Subpart 2, 8.22(1) - Grid Owner
2135 | Granted | Transpower NZ Limited | Twizel | T18 | Part 8, Subpart 2, 8.22(1) - Grid Owner
2136 | Granted | Transpower NZ Limited | Twizel | T19 | Part 8, Subpart 2, 8.22(1) - Grid Owner
2137 | Granted | Transpower NZ Limited | Upper Hutt | T1 | Part 8, Subpart 2, 8.22(1) - Grid Owner
2138 | Granted | Transpower NZ Limited | Upper Hutt | T2 | Part 8, Subpart 2, 8.22(1) - Grid Owner
2139 | Granted | Transpower NZ Limited | Wellsford | T1 | Part 8, Subpart 2, 8.22(1) - Grid Owner
2140 | Granted | Transpower NZ Limited | Wellsford | T2 | Part 8, Subpart 2, 8.22(1) - Grid Owner
2142 | Granted | Transpower NZ Limited | Wanganui | T1 | Part 8, Subpart 2, 8.22(1) - Grid Owner
2143 | Granted | Transpower NZ Limited | Wanganui | T2 | Part 8, Subpart 2, 8.22(1) - Grid Owner
2144 | Granted | Transpower NZ Limited | Waihou | T1 | Part 8, Subpart 2, 8.22(1) - Grid Owner
2145 | Granted | Transpower NZ Limited | Waihou | T2 | Part 8, Subpart 2, 8.22(1) - Grid Owner
2146 | Granted | Transpower NZ Limited | Waihou | T3 | Part 8, Subpart 2, 8.22(1) - Grid Owner
2147 | Granted | Transpower NZ Limited | Wiri | T1 | Part 8, Subpart 2, 8.22(1) - Grid Owner
2148 | Granted | Transpower NZ Limited | Waikino | T1 | Part 8, Subpart 2, 8.22(1) - Grid Owner
2149 | Granted | Transpower NZ Limited | Waikino | T2 | Part 8, Subpart 2, 8.22(1) - Grid Owner
2150 | Granted | Transpower NZ Limited | Waipawa | T2 | Part 8, Subpart 2, 8.22(1) - Grid Owner
2151 | Granted | Transpower NZ Limited | Waipawa | T1 | Part 8, Subpart 2, 8.22(1) - Grid Owner
2152 | Granted | Transpower NZ Limited | Wairakei | T29 | Part 8, Subpart 2, 8.22(1) - Grid Owner
2199 | Granted | Contact Energy | Roxburgh | All units | Part 8, Subpart 2, 8.23(1)(a) - Exporting net reactive power at full load
2205 | Granted | Contact Energy | Te Rapa | All units | Part 8, Subpart 2, 8.19(1) - Generators (contributions to frequency support in the case of under-frequency events)
2214 | Granted | Meridian Energy | Aviemore | Units G1-4 | Part 8, Subpart 2, 8.23(1)(a) - Exporting net reactive power at full load
2410 | Granted | Transpower NZ Limited | CUL | T22 | Part 8, Subpart 2, 8.22(1) - Grid Owner
2225 | Granted | Meridian Energy | Manapouri | All units | Part 8, Subpart 2, 8.22(2) - Generators
2234 | Granted | Meridian Energy | Ohau A | All units | Part 8, Subpart 2, 8.22(2) - Generators
2235 | Granted | Meridian Energy | Ohau A | Units G4-7 | Part 8, Subpart 2, 8.23(1)(a) - Exporting net reactive power at full load
2567 | Granted | Transpower Limited NZ | CUL | T23 | Part 8, Subpart 2, 8.22(1) - Grid Owner
2237 | Granted | Meridian Energy | Ohau A | All units | Part 8, Schedule 8.3, Technical Code A 5(2)(b)(i) - Voltage response and control - Generating unit requirements - Taps
2242 | Granted | Meridian Energy | Ohau B | All units | Part 8, Subpart 2, 8.22(2) - Generators
2243 | Granted | Meridian Energy | Ohau B | Units G8-11 | Part 8, Subpart 2, 8.23(1)(a) - Exporting net reactive power at full load
2245 | Granted | Meridian Energy | Ohau B | All units | Part 8, Schedule 8.3, Technical Code A 5(2)(b)(i) - Voltage response and control - Generating unit requirements - Taps
2250 | Granted | Meridian Energy | Ohau C | All units | Part 8, Subpart 2, 8.22(2) - Generators
2251 | Granted | Meridian Energy | Ohau C | Units G12-15 | Part 8, Subpart 2, 8.23(1)(a) - Exporting net reactive power at full load
2253 | Granted | Meridian Energy | Ohau C | All units | Part 8, Schedule 8.3, Technical Code A 5(2)(b)(i) - Voltage response and control - Generating unit requirements - Taps
2271 | Granted | Meridian Energy | Waitaki | Units G1-2 & 4-7 | Part 8, Subpart 2, 8.23(1)(a) - Exporting net reactive power at full load
2295 | Granted | Contact Energy | Wairakei | G1,4,7-14 | Part 8, Subpart 2, 8.22(2) - Generators
2304 | Granted | Alinta | Glenbrook | G3 | Part 8, Subpart 2, 8.23(1)(a) - Exporting net reactive power at full load.
2305 | Granted | Alinta | Glenbrook | G3 | Part 8, Subpart 2, 8.23(1)(b) - importing net reactive power at full load.
2308 | Granted | Mercury Ltd | Aratiatia | All units | Part 8, Schedule 8.3, Technical Code A 5(2)(b)(i) - Taps
2309 | Granted | Mercury Ltd | Aratiatia | All units | Part 8, Schedule 8.3, Technical Code A 5(2)(b)(ii) - Assets
2312 | Granted | Mercury Ltd | Atiamuri | All units | Part 8, Subpart 2, 8.23(1)(a) - Exporting net reactive power at full load
2313 | Granted | Mercury Ltd | Atiamuri | All units | Part 8, Subpart 2, 8.23(1)(b) - Importing net reactive power at full load
2314 | Granted | Mercury Ltd | Atiamuri | All units | Part 8, Schedule 8.3, Technical Code A 5(2)(b)(ii) - Assets
2315 | Granted | Mercury Ltd | Atiamuri | All units | Part 8, Schedule 8.3, Technical Code A 5(2)(b)(i) - Taps
2321 | Granted | Mercury Ltd | Maraetai I | All units | Part 8, Subpart 2, 8.23(1)(a) - Exporting net reactive power at full load
2322 | Granted | Mercury Ltd | Maraetai I | All units | Part 8, Schedule 8.3, Technical Code A 5(2)(b)(i) - Taps
2323 | Granted | Mercury Ltd | Maraetai I | All units | Part 8, Schedule 8.3, Technical Code A 5(2)(b)(ii) - Assets
2325 | Granted | Mercury Ltd | Maraetai II | All units | Part 8, Subpart 2, 8.23(1)(a) - Exporting net reactive power at full load
2326 | Granted | Mercury Ltd | Maraetai II | All units | Part 8, Schedule 8.3, Technical Code A 5(2)(b)(i) - Taps
2327 | Granted | Mercury Ltd | Maraetai II | All units | Part 8, Schedule 8.3, Technical Code A 5(2)(b)(ii) - Assets
2329 | Granted | Mercury Ltd | Ohakuri | All units | Part 8, Subpart 2, 8.23(1)(a) - Exporting net reactive power at full load
2330 | Granted | Mercury Ltd | Ohakuri | All units | Part 8, Subpart 2, 8.23(1)(b) - Importing net reactive power at full load
2331 | Granted | Mercury Ltd | Ohakuri | All units | Part 8, Schedule 8.3, Technical Code A 5(2)(b)(i) - Taps
2332 | Granted | Mercury Ltd | Ohakuri | All units | Part 8, Schedule 8.3, Technical Code A 5(2)(b)(ii) - Assets
2334 | Granted | Mercury Ltd | Waipapa | All units | Part 8, Subpart 2, 8.23(1)(a) - Exporting net reactive power at full load
2338 | Granted | Mercury Ltd | Whakamaru | All units | Part 8, Subpart 2, 8.23(1)(a) - Exporting net reactive power at full load
2339 | Granted | Mercury Ltd | Whakamaru | All units | Part 8, Subpart 2, 8.23(1)(b) - Importing net reactive power at full load
2340 | Granted | Mercury Ltd | Whakamaru | All units | Part 8, Schedule 8.3, Technical Code A 5(2)(b)(i) - Taps
2341 | Granted | Mercury Ltd | Whakamaru | All units | Part 8, Schedule 8.3, Technical Code A 5(2)(b)(ii) - Assets
2347 | Granted | Trustpower | Waipori | Waipori - All stations except Station 1 | Part 8, Schedule 8.3, Technical Code A 5(2)(b)(i) - Taps
2568 | Granted | Tararua Wind Power Limited | Mahinerangi Wind Farm | All units | Part 8, Subpart 2, 8.19(3)(b) - For 30 seconds at minimum South Island frequency
2351 | Granted | Trustpower | Wheao | Wheao | Part 8, Schedule 8.3, Technical Code A 5(2)(b) - Generating unit requirements
2352 | Granted | Trustpower | Wheao | Wheao | Part 8, Subpart 2, 8.22(2) - Generators
2355 | Granted | Trustpower | Matahina | Matahina | Part 8, Schedule 8.3, Technical Code A 5(2)(b) - Generating unit requirements
2356 | Granted | Trustpower | Matahina | Matahina | Part 8, Subpart 2, 8.22(2) - Generators
2357 | Granted | Trustpower | Matahina | Matahina | Part 8, Subpart 2, 8.23(1)(a) - Exporting net reactive power at full load
2358 | Granted | Trustpower | Matahina | Matahina | Part 8, Subpart 2, 8.23(1)(b) - Importing net reactive power at full load
2361 | Granted | Trustpower | Coleridge | All Coleridge Units | Part 8, Subpart 2, 8.22(2) - Generators
2362 | Granted | Trustpower | Coleridge | All Coleridge Units | Part 8, Subpart 2, 8.23(1)(a) - Exporting net reactive power at full load
2363 | Granted | Trustpower | Coleridge | All Coleridge Units | Part 8, Subpart 2, 8.23(1)(b) - Importing net reactive power at full load
2364 | Granted | Trustpower | Coleridge | Coleridge G8 and G9 units | Part 8, Schedule 8.3, Technical Code A 5(1)(c)(i) - Provides stable performance.
2365 | Granted | Trustpower | Coleridge | Coleridge G8 and G9 units | Part 8, Schedule 8.3, Technical Code A 5(1)(c)(ii) - Has adjustable droop
2366 | Granted | Trustpower | Coleridge | Coleridge G8 and G9 units | Part 8, Schedule 8.3, Technical Code A 5(1)(c)(iii) - Is able to synchronise.
2367 | Granted | Trustpower | Coleridge | All Coleridge Units | Part 8, Schedule 8.3, Technical Code A 5(2)(b) - Generating unit requirements
2368 | Granted | Trustpower | Cobb | Cobb | Part 8, Schedule 8.3, Technical Code A 5(2)(b) - Generating unit requirements
2369 | Granted | Trustpower | Cobb | Cobb | Part 8, Subpart 2, 8.22(2) - Generators
2370 | Granted | Trustpower | Cobb | Cobb | Part 8, Subpart 2, 8.23(1)(a) - Exporting net reactive power at full load
2371 | Granted | Trustpower | Cobb | Cobb | Part 8, Subpart 2, 8.23(1)(b) - Importing net reactive power at full load
2372 | Granted | Trustpower | Branch | Argyle and Wairau stations. | Part 8, Schedule 8.3, Technical Code A 5(2)(b) - Generating unit requirements
2373 | Granted | Trustpower | Branch | Argyle and Wairau stations. | Part 8, Subpart 2, 8.22(2) - Generators
2374 | Granted | Trustpower | Branch | Argyle and Wairau stations. | Part 8, Subpart 2, 8.23(1)(a) - Exporting net reactive power at full load
2375 | Granted | Trustpower | Branch | Argyle and Wairau stations. | Part 8, Subpart 2, 8.23(1)(b) - Importing net reactive power at full load
2377 | Granted | Contact Energy | Wairakei | All units | Part 8, Schedule 8.3, Technical Code C 9(1) - Minimum required indications and measurements
2378 | Granted | Contact Energy | Poihipi | All units | Part 8, Schedule 8.3, Technical Code C 9(1) - Minimum required indications and measurements
2379 | Granted | Contact Energy | Roxburgh | All units | Part 8, Schedule 8.3, Technical Code C 9(1) - Minimum required indications and measurements
2380 | Granted | Contact Energy | Clyde | All units | Part 8, Schedule 8.3, Technical Code C 9(1) - Minimum required indications and measurements
2382 | Granted | Contact Energy | Te Rapa | All units | Part 8, Schedule 8.3, Technical Code C 9(1) - Minimum required indications and measurements
2383 | Granted | Contact Energy | TCC | All units | Part 8, Schedule 8.3, Technical Code C 9(1) - Minimum required indications and measurements
2384 | Granted | Contact Energy | Ohaaki | All units | Part 8, Schedule 8.3, Technical Code C 9(1) - Minimum required indications and measurements
2385 | Granted | Contact Energy | Whirinaki | All units | Part 8, Schedule 8.3, Technical Code C 9(1) - Minimum required indications and measurements
2387 | Granted | KCE Mangahao Limited and Todd Energy Limited trading as a joint venture | Mangahao | G1 | Part 8, Subpart 2, 8.23(1)(a) - Exporting net reactive power at full load
2388 | Granted | KCE Mangahao Limited and Todd Energy Limited trading as a joint venture | Mangahao | G1 | Part 8, Subpart 2, 8.23(1)(b) - Importing net reactive power at full load
2390 | Granted | Meridian Energy | White Hill | All units | Part 8, Subpart 2, 8.19(3)(b) - For 30 seconds at minimum South Island frequency
2391 | Granted | Meridian Energy | White Hill | All units | Part 8, Schedule 8.3, Technical Code A 5(1)(c) - Generating unit has a speed governor
2393 | Granted | Meridian Energy | White Hill | All units | Part 8, Schedule 8.3, Technical Code C 9(1) - Minimum required indications and measurements
2402 | Granted | Contact Energy | Poihipi | All units | Part 8, Subpart 2, 8.23(1)(a) - Exporting net reactive power at full load
2403 | Granted | Contact Energy | Poihipi | All units | Part 8, Subpart 2, 8.23(1)(b) - Importing net reactive power at full load
2297 | Granted | Contact Energy | Wairakei | G1,4,7-13,15-16 | Part 8, Subpart 2, 8.23(1)(a) - Exporting net reactive power at full load
2299 | Granted | Contact Energy | Wairakei | G1,4,7-13,15-16 | Part 8, Subpart 2, 8.23(1)(b) - Importing net reactive power at full load
2300 | Granted | Contact Energy | Wairakei | G1,4,7-14 | Part 8, Schedule 8.3, Technical Code A 5(2)(a) - Excitation and voltage control system
2412 | Granted | Trustpower | Waipori_Deep_Stream | Deep Stream A and B | Part 8, Schedule 8.3, Technical Code A 5(1)(a)(i) - Supports the system operator
2413 | Granted | Trustpower | Waipori_Deep_Stream | Deep Stream A and B | Part 8, Schedule 8.3, Technical Code A 5(1)(b) - Rate of change in output
2414 | Granted | Trustpower | Waipori_Deep_Stream | Deep Stream A and B | Part 8, Schedule 8.3, Technical Code A 5(1)(c) - Generating unit has a speed governor
2415 | Granted | Trustpower | Waipori_Deep_Stream | Deep Stream A and B | Part 8, Schedule 8.3, Technical Code A 5(1)(d) - Appropriate speed govenor settings
2416 | Granted | Tuaropaki Power Company | Mokai Power Station | Mokai STG10 | Part 8, Subpart 2, 8.23(1)(a) - Exporting net reactive power at full load
2569 | Granted | Tararua Wind Power Limited | Mahinerangi Wind Farm | All units | Part 8, Schedule 8.3, Technical Code A 5(1)(c) - Generating unit has a speed governor
2571 | Granted | Tararua Wind Power Limited | Mahinerangi Wind Farm | All units | Part 8, Subpart 2, 8.23(1)(b) - Importing net reactive power at full load
2421 | Granted | Meridian Energy | Ohau B | 220kV Assets | Part 8, Schedule 8.3, Technical Code A 4(4)(b) - Duplicated main protection systems for assets other than busbars. (Clause 3.1 Appendix A of Technical Code A, Schedule C3)
2422 | Granted | Meridian Energy | Ohau C | 220kV Assets | Part 8, Schedule 8.3, Technical Code A 4(4)(b) - Duplicated main protection systems for assets other than busbars. (Clause 3.1 Appendix A of Technical Code A, Schedule C3)
2428 | Granted | Contact Energy | Ohaaki | 220kV Assets | Part 8, Schedule 8.3, Technical Code A, Appendix A, 3(d) - Different Main 1 protection and Main 2 protection
2430 | Granted | Contact Energy | Poihipi | 220kV Assets | Part 8, Schedule 8.3, Technical Code A, Appendix A, 3(d) - Different Main 1 protection and Main 2 protection
2436 | Granted | Contact Energy | Wairakei | 220kV Assets of G15 and G16 | Part 8, Schedule 8.3, Technical Code A, Appendix A, 3(d) - Different Main 1 protection and Main 2 protection
2570 | Granted | Tararua Wind Power Limited | Mahinerangi Wind Farm | All units | Part 8, Subpart 2, 8.23(1)(a) - Exporting net reactive power at full load
2526 | Granted | Mercury Ltd | Aratiatia | Circuit Breaker 42 | Part 8, Schedule 8.3, Technical Code A 4(4)(f) - Breaker Fail Protection system is provided
2527 | Granted | Mercury Ltd | Aratiatia | Circuit Breaker 52 | Part 8, Schedule 8.3, Technical Code A 4(4)(f) - Breaker Fail Protection system is provided
2528 | Granted | Mercury Ltd | Aratiatia | Circuit Breaker 62 | Part 8, Schedule 8.3, Technical Code A 4(4)(f) - Breaker Fail Protection system is provided
2530 | Granted | Contact Energy | Taranaki | TCC Unit | Part 8, Subpart 2, 8.23(1)(b) - Importing net reactive power at full load
2535 | Granted | Mercury Ltd | Waipapa | All units | Part 8, Schedule 8.3, Technical Code A 5(2)(b)(i) - Taps
2536 | Granted | Mercury Ltd | Waipapa | All units | Part 8, Schedule 8.3, Technical Code A 5(2)(b)(ii) - Assets
2537 | Granted | NZ windfarms | Te Rere Hau | All Units | Part 8, Schedule 8.3, Technical Code A 5(1)(b) - Rate of change in output
2538 | Granted | NZ windfarms | Te Rere Hau | All Units | Part 8, Schedule 8.3, Technical Code A 5(1)(c) - Generating unit has a speed governor
2539 | Granted | NZ windfarms | Te Rere Hau | All Units | Part 8, Schedule 8.3, Technical Code A 5(1)(d) - Appropriate speed govenor settings
2542 | Granted | Mercury Ltd | Kawerau | G1 | Part 8, Schedule 8.3, Technical Code C 9(3) - Maximum interval between indications and measurements
2559 | Granted | Tararua Wind Power Limited | Tararua III | All Units | Part 8, Schedule 8.3, Technical Code A 5(1)(c) - Generating unit has a speed governor
2560 | Granted | Tararua Wind Power Limited | Tararua III | All Units | Part 8, Schedule 8.3, Technical Code A 5(1)(d) - Appropriate speed govenor settings
2580 | Granted | Genesis Power Limited | Tekapo B | Units G2-3 | Part 8, Subpart 2, 8.23(1)(a) - Exporting net reactive power at full load
2587 | Granted | Genesis Power Limited | Tekapo B | All units | Part 8, Subpart 2, 8.23(1)(b) Importing net reactive power at full load
2579 | Granted | Genesis Power Limited | Tekapo A | Unit G1 | Part 8, Subpart 2, 8.23(1)(a) - Exporting net reactive power at full load
2581 | Granted | Genesis Power Limited | Tekapo B | Units G2-3 | Part 8, Subpart 2, 8.22(2) - Generators
2584 | Granted | Genesis Power Limited | Tekapo B | All units | Part 8, Schedule 8.3, Technical Code A 5(2)(b)(i) Voltage response and control - Generating unit requirements - Taps.
2578 | Granted | Meridian Energy Limited | Te Uku | 2.3MW Siemens Wind Turbine Generators | 8.23(1) (a) reactive power export
2593 | Granted | Contact Energy Ltd. | Whirinaki | 220kV Assets | Part 8, Schedule 8.3, Technical Code A 4(4)(b) - Duplicated main protection systems for assets other than busbars. (Clause 3.2 of Appendix A of Technical Code A, Schedule C3)
2591 | Granted | Contact Energy Ltd. | Whirinaki | 220kV Assets | Part 8, Schedule 8.3, Technical Code A 4(4)(b) - Duplicated main protection systems for assets other than busbars. (Clauses 2.2 of Appendix A of Technical Code A, Schedule C3)
2590 | Granted | Mercury Ltd | Arapuni | Units 5, 6, 7 and 8 | Part 8, 8.23(1)(a) Exporting net reactive power
2592 | Granted | Contact Energy Ltd. | Whirinaki | 220kV Assets | Part 8, Schedule 8.3, Technical Code A 4(4)(b) - Duplicated main protection systems for assets other than busbars. (Clause 3.4 of Appendix A of Technical Code A, Schedule C3)
2589 | Granted | Mercury Ltd | Arapuni | All Units | Part 8, 8.23(1)(b) - Importing net reactive power at full load
2598 | Granted | Mercury Ltd | Waipapa | G1, G2 and G3 | EIPC, Schedule 8.3, Tech Code A, 5(1) (c) (i) - stable performance
2602 | Granted | Taharoa Wind Farm LP | Taharoa | All | Clause 8.19 (1) (c), (d), (f)
2601 | Granted | Meridian Energy | Mill Creek | All units, 26 x 2.3MW Siemens Turbines | Part 8, 8.23 (a) - Reactive export
2603 | Granted | Taharoa Wind Farm LP | Taharoa | All | Clause 8.17
2608 | Granted | Taharoa Wind Farm LP | Taharoa | All | Sch 8.3 TC A 5 (2) (a) and (b)
2604 | Granted | Taharoa Wind Farm LP | Taharoa | All | Clause 8.23 (1) (a)
2619 | Granted | Contact Energy | Te Mihi | G1 and G2 | EIPC 2010, Part 8 Common Quality, 8.23 Voltage Support AOPOs, clause (1)(a)
2627 | Granted | Contact Energy | Wairakei | G14 | EIPC 2010, Part 8 Common Quality, 8.17, Contribution by injections to overall frequency management.
2628 | Granted | Contact Energy | Wairakei | G15 & G16 | EIPC 2010, Part 8 Common Quality, 8.17, Contribution by injections to overall frequency management.
2637 | Granted | Todd Generation Taranaki Limited | McKee | G62 | 8.23 Voltage support AOPOs (b)
2636 | Granted | Todd Generation Taranaki Limited | McKee | G61 | 8.23 Voltage support AOPOs (b)
2634 | Granted | Todd Generation Taranaki Limited | McKee | G61 | 8.23 Voltage support AOPOs (a)
2635 | Granted | Todd Generation Taranaki Limited | McKee | G62 | 8.23 Voltage support AOPOs (a)
2613 | Granted | Meridian Energy | Benmore | All units G1 - 6 | Part 8, 8.23(b) - Importing net reactive power at full load
2638 | Granted | Contact Energy | Poihipi | G1 | EIPC 2010, Schedule 8.3, Technical Code A, Clause 5(c)(ii)
2640 | Granted | Meridian Energy Limited | Mill Creek | All Units, 26 x 2.3MW | Part 8, schedule 8.3, technical code A 5(2)(a)
2319 | Granted | Mercury Ltd | Karapiro | T1 and T2 | Part 8, Schedule 8.3, Technical Code A 5(2)(b)(i) - Taps
2320 | Granted | Mercury Ltd | Karapiro | T1 and T2 | Part 8, Schedule 8.3, Technical Code A 5(2)(b)(ii) - Assets
2642 | Granted | Tararua Wind Power Limited | Tararua 1 | Tararua Wind Farm Stage 1 | Part 8 Sch 8.3 Tech Code A 5.1.(c)
2643 | Granted | Tararua Wind Power Limited | Tararua 2 | Tararua Wind Farm Stage 2 | Part 8 Sch 8.3 Tech Code A 5.1(c)
2646 | Granted | Top Energy | Kaikohe | Kaikohe T2 | Part 8 Subpart 2 8.22 (3)
2649 | Granted | Top Energy | Kaitaia | Kaitaia T5 | Part 8 Subpart 2 8.22 (3)
2647 | Granted | Top Energy | Kaikohe | Kaikohe T3 | Part 8 Subpart 2 8.22 (3)
2648 | Granted | Top Energy | Kaitaia | Kaitaia T4 | Part 8 Subpart 2 8.22 (3)
2665 | Granted | OtagoNet Joint Venture | Palmerston | Palmerston T1 transformer | Part 8, subpart 2, clause 8.22(3) voltage range AOPO of the Electricity Industry Participate Code (the Code).
2668 | Granted | Mercury Ltd | Atiamuri | Unit 1 | Part 8, Schedule 8.3, Technical Code A 5(1)(c)(i) - Provides stable performance
2669 | Granted | Mercury Ltd | Atiamuri | Unit 2 | Part 8, Schedule 8.3, Technical Code A 5(1)(c)(i) - Provides stable performance
2670 | Granted | Mercury Ltd | Atiamuri | Unit 3 | Part 8, Schedule 8.3, Technical Code A 5(1)(c)(i) - Provides stable performance
2671 | Granted | Mercury Ltd | Atiamuri | Unit 4 | Part 8, Schedule 8.3, Technical Code A 5(1)(c)(i) - Provides stable performance
2673 | Granted | Meridian Energy | Manapouri | T2 | Part 8, Schedule 8.3, Technical Code A 5 (2) (b)
2674 | Granted | Meridian Energy | Manapouri | T3 | Part 8, Schedule 8.3, Technical Code A 5 (2) (b)
2675 | Granted | Meridian Energy | Manapouri | T4 | Part 8, Schedule 8.3, Technical Code A 5 (2) (b)
2676 | Granted | Contact Energy | Taranaki Combined Cycle | SFD21 | EIPC 8.23(b)
2677 | Granted | Contact Energy | Taranaki Combined Cycle | SFD22 | EIPC 8.23(b)
2306 | Granted | Mercury Ltd | Aratiatia | G1 and G3 | Part 8, Subpart 2, 8.23(1)(a) - Exporting net reactive power at full load
2307 | Granted | Mercury Ltd | Aratiatia | G1 and G3 | Part 8, Subpart 2, 8.23(1)(b) - Importing net reactive power at full load
2301 | Granted | Contact Energy | Wairakei | T1 and T3 | Part 8, Schedule 8.3, Technical Code A 5(2)(b) - Generating unit requirements
2678 | Granted | Northpower Limited | Kensington | KEN T1 | 8.22 (3) Voltage Range AOPOs
2679 | Granted | Northpower Limited | Kensington | KEN T2 | 8.22 (3) Voltage Range AOPOs
2576 | Granted | Contact Energy | Taranaki Combined Cycle | Generator Governor | EIPC 2010 Clause 8.17 Contribution by injections to overall frequency management
2201 | Granted | Contact Energy | Roxburgh | T6-T8 | Part 8, Schedule 8.3, Technical Code A 5(2)(b) - Generating unit requirements
2651 | Granted | Meridian Energy | Manapouri | G1 | Part 8, Subpart 2, 8.23(1)(a) - Exporting net reactive power at full load
2652 | Granted | Meridian Energy | Manapouri | G1 | Part 8, Subpart 2, 8.23(1)(b) Importing net reactive power at full load
2656 | Granted | Meridian Energy | Manapouri | G3 | Part 8, Subpart 2, 8.23(1)(b) Importing net reactive power at full load
2658 | Granted | Meridian Energy | Manapouri | G4 | Part 8, Subpart 2, 8.23(1)(b) Importing net reactive power at full load
2695 | Granted | Meridian Energy | Ohau A | G6 | Part 8, Subpart 2, 8.23(b) Importing reactive power at full load
2698 | Granted | Meridian Energy | Ohau B | G9 | Part 8, Subpart 2, 8.23(b) Importing reactive power at full load
2701 | Granted | Meridian Energy | Ohau C | G12 | Part 8, Subpart 2, 8.23(b) Importing reactive power at full load
2704 | Granted | Meridian Energy | Ohau C | G15 | Part 8, Subpart 2, 8.23(b) Importing reactive power at full load
2653 | Granted | Meridian Energy | Manapouri | G2 | Part 8, Subpart 2, 8.23(1)(a) - Exporting net reactive power at full load
2654 | Granted | Meridian Energy | Manapouri | G2 | Part 8, Subpart 2, 8.23(1)(b) Importing net reactive power at full load
2655 | Granted | Meridian Energy | Manapouri | G3 | Part 8, Subpart 2, 8.23(1)(a) - Exporting net reactive power at full load
2657 | Granted | Meridian Energy | Manapouri | G4 | Part 8, Subpart 2, 8.23(1)(a) - Exporting net reactive power at full load
2659 | Granted | Meridian Energy | Manapouri | G5 | Part 8, Subpart 2, 8.23(1)(a) - Exporting net reactive power at full load
2660 | Granted | Meridian Energy | Manapouri | G5 | Part 8, Subpart 2, 8.23(1)(b) Importing net reactive power at full load
2661 | Granted | Meridian Energy | Manapouri | G6 | Part 8, Subpart 2, 8.23(1)(a) - Exporting net reactive power at full load
2662 | Granted | Meridian Energy | Manapouri | G6 | Part 8, Subpart 2, 8.23(1)(b) Importing net reactive power at full load
2663 | Granted | Meridian Energy | Manapouri | G7 | Part 8, Subpart 2, 8.23(1)(a) - Exporting net reactive power at full load
2664 | Granted | Meridian Energy | Manapouri | G7 | Part 8, Subpart 2, 8.23(1)(b) Importing net reactive power at full load
2693 | Granted | Meridian Energy | Ohau A | G4 | Part 8, Subpart 2, 8.23(b) Importing reactive power at full load
2696 | Granted | Meridian Energy | Ohau A | G7 | Part 8, Subpart 2, 8.23(b) Importing reactive power at full load
2699 | Granted | Meridian Energy | Ohau B | G10 | Part 8, Subpart 2, 8.23(b) Importing reactive power at full load
2702 | Granted | Meridian Energy | Ohau C | G13 | Part 8, Subpart 2, 8.23(b) Importing reactive power at full load
2705 | Granted | Tuaropaki Power Company | Mokai 2 | Mokai STG-30 | Part 8, Clause 8.23 a, b & c
2694 | Granted | Meridian Energy | Ohau A | G5 | Part 8, Subpart 2, 8.23(b) Importing reactive power at full load
2697 | Granted | Meridian Energy | Ohau B | G8 | Part 8, Subpart 2, 8.23(b) Importing reactive power at full load
2700 | Granted | Meridian Energy | Ohau B | G11 | Part 8, Subpart 2, 8.23(b) Importing reactive power at full load
2703 | Granted | Meridian Energy | Ohau C | G14 | Part 8, Subpart 2, 8.23(b) Importing reactive power at full load
2709 | Granted | Mercury Ltd | Arapuni | T5 | Part 8, Schedule 8.3, Technical Code A 5(2)(b)(i) and (ii)
2711 | Granted | Mercury Ltd | Arapuni | T6 | Part 8, Schedule 8.3, Technical Code A 5(2)(b)(i) and (ii)
2713 | Granted | Mercury Ltd | Arapuni | T7 | Part 8, Schedule 8.3, Technical Code A 5(2)(b)(i) and (ii)
2715 | Granted | Mercury Ltd | Arapuni | T8 | Part 8, Schedule 8.3, Technical Code A 5(2)(b)(i) and (ii)
2718 | Granted | Genesis Energy Limited | Kaitawa | G7 | 8.23(a)
2722 | Granted | Genesis Energy Limited | Tuai | G2 | 8.23(b)
2730 | Granted | Genesis Energy | Tuai | G2 | 8.22 (2)
2708 | Approved | Transpower New Zealand Limited | Tiwai | AUFLS | Schedule 8.3, Technical Code B, clause 7(6)
2728 | Granted | Meridian Energy | Waitaki | G3 | Part 8, Subpart 2, 8.23(a) - Exporting net reactive power at full load
2717 | Granted | Genesis Energy Limited | Kaitawa | G6 | 8.23(a)
2719 | Granted | Genesis Energy Limited | Tuai | G1 | 8.23(a)
2720 | Granted | Genesis Energy Limited | Tuai | G1 | 8.23(b)
2721 | Granted | Genesis Energy Limited | Tuai | G2 | 8.23(a)
2729 | Granted | Genesis Energy | Tuai | G1 | 8.22 (2)
2743 | Granted | Contact Energy | Clyde | Unit 4 | Part 8, Subpart 2, 8.23(b) - Importing net reactive power at full load
2733 | Granted | Mercury Ltd | Whakamaru | G3 | Part 8, Schedule 8.3, Technical Code A 5(2)(b) - Taps
2732 | Granted | Mercury Ltd | Whakamaru | G3 | Part 8, 8.23 (a) - Exporting net reactive power at full load
2739 | Granted | Contact Energy | Clyde | Unit 2 | Part 8, Subpart 2, 8.23(b) - Importing net reactive power at full load
2736 | Granted | Contact Energy | Clyde | Unit 1 | Part 8, Subpart 2, 8.23(a) - Exporting net reactive power at full load
2742 | Granted | Contact Energy | Clyde | Unit 4 | Part 8, Subpart 2, 8.23(a) - Exporting net reactive power at full load
2737 | Granted | Contact Energy | Clyde | Unit 1 | Part 8, Subpart 2, 8.23(b) - Importing net reactive power at full load
2738 | Granted | Contact Energy | Clyde | Unit 2 | Part 8, Subpart 2, 8.23(a) - Exporting net reactive power at full load
2740 | Granted | Contact Energy | Clyde | Unit 3 | Part 8, Subpart 2, 8.23(a) - Exporting net reactive power at full load
2741 | Granted | Contact Energy | Clyde | Unit 3 | Part 8, Subpart 2, 8.23(b) - Importing net reactive power at full load
2746 | Granted | Meridian Energy | Manapouri | T1 | Part 8, Schedule 8.3, Technical Code A, 5 (2) (b)
2747 | Granted | Meridian Energy | Manapouri | T5 | Part 8, Schedule 8.3, Technical Code A, 5 (2) (b)
2748 | Granted | Meridian Energy | Manapouri | T6 | Part 8, Schedule 8.3, Technical Code A, 5 (2) (b)
2749 | Granted | Meridian Energy | Manapouri | T7 | Part 8, Schedule 8.3, Technical Code A, 5 (2) (b)
2750 | Granted | Mercury Ltd | Whakamaru | G2 | Part 8, 8.23 (a) - Exporting net reactive power at full load
2751 | Granted | Mercury Ltd | Whakamaru | G2 | Part 8, Schedule 8.3, Technical Code A 5(2)(b) - Taps
2752 | Granted | Mercury Ltd | Aratiatia | T2 | Part 8, 8.23(a) & (b) and Technical Code A 5(2)(b)
2549 | Granted | Contact Energy | TCC | All Units | Part 8, Subpart 2, 8.19 (1)((b) and (f)) - Contributions to frequency support in the case of underfrequency events
2758 | Granted | Trustpower Ltd | Patea | Patea Generating Unit G3 | EIPC Part 8 Clause 8.23 (a) & (b).
2760 | Granted | Trustpower Ltd | Patea | Patea T2 Transformer | Part 8 Schedule 8.3 Tech Code A 5 (2)(b)
2756 | Granted | Trustpower Ltd | Patea | Patea G1 | EIPC Part 8 Clause 8.23(a) & (b)
2757 | Granted | Trustpower Ltd | Patea | Patea Generating Unit G2 | EIPC Part 8 clause 8.23 (a) & (b)
2759 | Granted | Trustpower Ltd | Patea | Patea T1 Transformer | Part 8 Schedule 8.3 Tech Code A 5 (2)(b)
2755 | Granted | Waverley Wind Farm Limited | Waipipi Wind Farm | All Units | Part 8, Subpart 2, 8.23(a) - Exporting net reactive power
2763 | Granted | Mercury Ltd | Aratiatia | T1 | Part 8, 8.23(a) & (b) and Technical Code A 5(2)(b)
2761 | Granted | Mercury Ltd | Whakamaru | G1 | Part 8, 8.23 (a) - Exporting net reactive power at full load
2762 | Granted | Mercury Ltd | Whakamaru | T1 | Part 8, Schedule 8.3, Technical Code A 5(2)(b) - Taps
2764 | Granted | Waverley Wind Farm Limited | Waipipi Wind Farm | All units | 8.25B (2) active power output
2317 | Granted | Mercury Ltd | Karapiro | All units | Part 8, Subpart 2, 8.23(1)(a) - Exporting net reactive power at full load
2318 | Granted | Mercury Ltd | Karapiro | All units | Part 8, Subpart 2, 8.23(1)(b) - Importing net reactive power at full load
2765 | Granted | Waverly Wind Farm Ltd | Waipipi Wind Farm | All units | Schedule 8.3, Technical Code A, 5 (2) (a) - Excitation control system
2766 | Granted | Waverly Wind Farm Ltd | Waipipi Wind Farm | All units | Schedule 8.3, Technical Code A, 5 (1) (c) & (d ) - Speed Governor
2767 | Granted | Mercury Ltd | Whakamaru | G4 | Part 8, 8.23 (a) - Exporting net reactive power at full load
2768 | Granted | Mercury Ltd | Whakamaru | T4 | Part 8, Schedule 8.3, Technical Code A 5(2)(b) - Taps
2769 | Granted | Mercury Ltd | Aratiatia | T3 | Part 8, 8.23(a) & (b) and Technical Code A 5(2)(b)
2771 | Granted | Todd Generation Taranaki Limited | Junction Road | G72 | 8.23 Voltage support AOPOs (b)
2770 | Granted | Todd Generation Taranaki Limited | Junction Road | G71 | 8.23 Voltage support AOPOs (b)
2773 | Granted | Todd Generation Taranaki Limited | Junction Road | G72 | 8.19(1) Contributions to frequency support in under-frequency events.
2772 | Granted | Todd Generation Taranaki Limited | Junction Road | G71 | 8.19(1) Contributions to frequency support in under-frequency events.
2774 | Granted | Contact Energy Limited | Wairakei | G13 | Clause 8.23(a)
2776 | Granted | Contact Energy Limited | Wairakei | G12 | Clause 8.23(a)
2775 | Granted | Contact Energy Limited | Wairakei | G13 | Clause 8.23(b)
2777 | Granted | Contact Energy Limited | Wairakei | G12 | Clause 8.23(b)
2780 | Granted | Todd Generation Taranaki Limited | Junction Road | G72 | 8.25A(1) 8.25B(1&2)
2779 | Granted | Todd Generation Taranaki Limited | Junction Road | G71 | 8.25A(1) 8.25B(1&2)
2778 | Approved | OMV NZ Production Limited | Motunui | AUFLS | Schedule 8.3, Technical Code B, clause 7(6)
2781 | Granted | Mercury Ltd | Turitea North | All Units | Schedule 8.3, Technical Code A, 5 (2) (a) - Excitation control system
2782 | Granted | Mercury Ltd | Turitea North | All Units | Schedule 8.3, Technical Code A, 5 (1) (c) & (d ) - Speed Governor
2783 | Granted | Meridian Energy | West Wind | All Units | Part 8, Clause 8.23 (a) - Voltage support AOPOs
2784 | Granted | Todd Generation Taranaki Limited | McKee | G61 | 8.19(1) Contributions to frequency support in under-frequency events.
2785 | Granted | Todd Generation Taranaki Limited | McKee | G62 | 8.19(1) Contributions to frequency support in under-frequency events.
2786 | Granted | Todd Generation Taranaki Limited | McKee | G61 | Clauses 8.25A(1) 8.25B(1&2)
2787 | Granted | Todd Generation Taranaki Limited | McKee | G62 | Clauses 8.25A(1) 8.25B(1&2)
2789 | Granted | Mt Cass Wind Farm Ltd | Mt Cass Wind Farm | All Units | Clause 8.23(a)
2790 | Granted | Ngawha Generation Ltd | Ngawha B | OEC4 | Part 8, Clause 8.25A - Fault ride through
2792 | Granted | Mercury Ltd | Tararua Wind Farm 1 | All Units | Clause(s) 8.25A and 8.25B
2793 | Granted | Mercury Ltd | Tararua Wind Farm 2 | All Units | Clause(s) 8.25A and 8.25B
2794 | Approved | Pan Pac Forest Products Limited | Whirinaki | AUFLS | Part 8, Schedule 8.3, Technical Code B, clause 7(6)
2795 | Approved | KiwiRail Holdings Limited | Bunnythorpe | AUFLS System | Part 8, Schedule 8.3, Technical Code B, Clause 7, sub-clause (6) of the Electricity Industry Participation Code
2797 | Approved | KiwiRail Holdings Limited | Tangiwai | AUFLS System | Part 8, Schedule 8.3, Technical Code B, Clause 7, sub-clause (6) of the Electricity Industry Participation Code
2798 | Approved | KiwiRail Holdings Limited | Taumaranui | AUFLS System | Part 8, Schedule 8.3, Technical Code B, Clause 7, sub-clause (6) of the Electricity Industry Participation Code
2799 | Approved | KiwiRail Holdings Limited | Hamilton | AUFLS System | Part 8, Schedule 8.3, Technical Code B, Clause 7, sub-clause (6) of the Electricity Industry Participation Code
2800 | Granted | Transpower New Zealand Ltd. | Waverley | Reclosers associated with Waverley 11 kV feeders (CB242, CB262 and CB282) | Part 8, Schedule 8.3, Technical Code A, Clause 4(4)(a)(ii)
2801 | Approved | Beach Energy Resources NZ | Hawera | AUFLS System | Part 8, Schedule 8.3, Technical code B, Clause 7 (6)
2802 | Approved | Winstone Pulp International Limited | Tangiwai | AUFLS System | Part 8, Schedule 8.3, Technical Code B, Clause 7 sub-clause 6
2804 | Granted | Meridian Energy Ltd | Manapouri | Unit 1 | Part 8, Subpart 2, 8.23(a) – Exporting net reactive power at full load
2805 | Granted | Meridian Energy Ltd | Manapouri | Unit 1 | Part 8, Subpart 2, 8.23(b) – Importing net reactive power at full load
2806 | Granted | Meridian Energy Ltd | Manapouri | Unit 2 | Part 8, Subpart 2, 8.23(a) – Exporting net reactive power at full load
2807 | Granted | Meridian Energy Ltd | Manapouri | Unit 2 | Part 8, Subpart 2, 8.23(b) – Importing net reactive power at full load
2808 | Granted | Meridian Energy Ltd | Manapouri | Unit 3 | Part 8, Subpart 2, 8.23(a) – Exporting net reactive power at full load
2809 | Granted | Meridian Energy Ltd | Manapouri | Unit 3 | Part 8, Subpart 2, 8.23(b) – Importing net reactive power at full load
2810 | Granted | Meridian Energy Ltd | Manapouri | Unit 4 | Part 8, Subpart 2, 8.23(a) – Exporting net reactive power at full load
2811 | Granted | Meridian Energy Ltd | Manapouri | Unit 4 | Part 8, Subpart 2, 8.23(b) – Importing net reactive power at full load
2812 | Granted | Meridian Energy Ltd | Manapouri | Unit 5 | Part 8, Subpart 2, 8.23(a) – Exporting net reactive power at full load
2813 | Granted | Meridian Energy Ltd | Manapouri | Unit 5 | Part 8, Subpart 2, 8.23(b) – Importing net reactive power at full load
2814 | Granted | Meridian Energy Ltd | Manapouri | Unit 6 | Part 8, Subpart 2, 8.23(a) – Exporting net reactive power at full load
2815 | Granted | Meridian Energy Ltd | Manapouri | Unit 6 | Part 8, Subpart 2, 8.23(b) – Importing net reactive power at full load
2816 | Granted | Meridian Energy Ltd | Manapouri | Unit 7 | Part 8, Subpart 2, 8.23(a) – Exporting net reactive power at full load
2817 | Granted | Meridian Energy Ltd | Manapouri | Unit 7 | Part 8, Subpart 2, 8.23(b) – Importing net reactive power at full load
2818 | Approved | New Zealand Steel Limited | Glenbrook | AUFLS System | Part 8, Schedule 8.3, Technical Code B, Clause 7, Sub-clause 6
2819 | Approved | Tararua Wind Power | Kaiwera Downs 1 | All Generating Units | Part 8, Schedule 8.3, Technical Code A, 5(1)(c) & (d) - Speed Governor
2820 | Approved | Meridian Energy Ltd | Harapaki | All Units | Part 8, Schedule 8.3, Technical Code A, 5(2)(a) - Excitation control system
2821 | Approved | Meridian Energy Ltd | Harapaki | All Units | Part 8, Schedule 8.3, Technical Code A, 5(1)(c) & (d) - Speed governor