## Contents
Click on the line name/ circuit name/ Branch ID to take you the asset variable line rating.
Transpower Assets in Variable Line Rating
North Island
Line Name | WRK-WKM-A | WRK-WKM-A | OTA-WKM-A | OTA-WKM-B | BOB-OTA-A | BOB-OTA-A | LCH-KIN-A | LCH-KIN-A, ARI-EDG-A & TRK-DEV-A | LCH-KIN-B | LCH-KIN-B, ARI-EDG-B & TRK-DEV-B | WRK-WKM-A | KAW-MAT-A | KAW-MAT-B
Circuit Name | ATI-OHK-1 | OHK-WRK-1 | OTA-HTU-WKM-1 | OTA-HTU-WKM-2 | BOB-OTA-1 | BOB-OTA-2 | KIN-LFD-1 | LFD-TRK-1 | KIN-LFD-2 | LFD-TRK-2 | ATI-WKM-1 | KAW-MAT-1 | KAW-MAT-2
Branch ID | ATI_OHK.1 | OHK_WRK.1 | OTA_HTU_WKM 1.1 & 1.2 | OTA_HTU_WKM 2.1 & 2.2 | BOB-OTA1.2 | BOB-OTA2.2 | KIN_TRK1.1 | KIN_TRK1.2 | KIN_TRK2.1 | KIN_TRK2.2 | ATI_WKM.1 | KAW_MAT1.1 | KAW_MAT2.1
Nominal Voltage (kV) | 220 | 220 | 220 | 220 | 110 | 110 | 110 | 110 | 110 | 110 | 220 | 110 | 110
Effective Start Date | 2018-10-03 | 2018-10-03 | 2025-03-05 | 2025-03-05 | 2018-10-10 | 2018-10-10 | 2018-10-10 | 2024-07-03 | 2018-10-10 | 2018-10-10 | 2018-10-03 | 2018-10-03 | 2018-10-03
South Island
Line Name | GNY-WTK-A | GNY-OAM-B | CML-FKN-A | CML-FKN-A
Circuit Name | BPC-OAM-1 | GNY-OAM-2 | CML-FKN-1 | CML-FKN-2
Branch ID | OAM_BPT_WTK1.1 | OAM_STU_WTK2.1 | CML_FKN1.1 | CML_FKN2.1
Nominal Voltage (kV) | 110 | 110 | 110 | 110
Effective Start Date | 2018-12-05 | 2018-12-05 | 2026-08-05 | 2026-08-05

## ATI-OHK
Back to Contents
Branch Details | [12 empty] | Version Information
Line |  |  | WRK-WKM-A | [9 empty] | Version | 4
Circuit |  |  | ATI-OHK-1 | [9 empty] | Revisions | Updated to 12 changes per day
Branch ID |  |  | ATI_OHK.1
Nominal Voltage (kV) |  |  | 220
Effective Start Date |  |  | 2012-03-07 | [9 empty] | Revision Date | 2018-09-19
[13 empty] | Publication Date | 2018-09-19
iVLR Ratings (MW)
Month | Time of day (NZ Local Time)/ iVLR Rating (MW)
Jan | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 434.78 | 425.25 | 411.54 | 365.43 | 343.33 | 345.99 | 353.62 | 372.29 | 396.67 | 400.87 | 438.59 | 442.4
Feb | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 438.59 | 425.25 | 419.54 | 370 | 348.66 | 348.66 | 350.95 | 355.9 | 394.77 | 423.35 | 432.87 | 430.97
Mar | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 440.5 | 434.78 | 415.35 | 390.2 | 355.9 | 360.86 | 358.19 | 386 | 398.96 | 432.87 | 464.12 | 458.79
Apr DT | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 440.5 | 413.44 | 427.16 | 392.48 | 370 | 355.9 | 353.62 | 358.19 | 374.57 | 430.97 | 442.4 | 442.4
Apr ST | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 440.5 | 413.44 | 427.16 | 392.48 | 370 | 355.9 | 353.62 | 358.19 | 374.57 | 430.97 | 442.4 | 442.4
May | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 427.16 | 427.16 | 425.25 | 400.87 | 381.43 | 372.29 | 370 | 372.29 | 419.54 | 450.02 | 456.88 | 429.06
Jun | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 446.21 | 417.25 | 409.25 | 405.06 | 390.2 | 381.43 | 379.15 | 392.48 | 415.35 | 434.78 | 458.79 | 462.22
Jul | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 450.02 | 432.87 | 415.35 | 407.34 | 392.48 | 383.72 | 381.43 | 392.48 | 417.25 | 456.88 | 451.55 | 442.4
Aug | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 466.03 | 458.79 | 455.36 | 442.4 | 403.15 | 376.86 | 409.25 | 430.97 | 440.5 | 453.45 | 479.74 | 477.84
Sep ST | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 446.21 | 425.25 | 429.06 | 411.54 | 374.57 | 365.43 | 409.25 | 429.06 | 434.78 | 469.46 | 466.03 | 453.45
Sep DT | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 446.21 | 425.25 | 429.06 | 411.54 | 374.57 | 365.43 | 409.25 | 429.06 | 434.78 | 469.46 | 466.03 | 453.45
Oct | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 446.21 | 430.97 | 442.4 | 415.35 | 363.14 | 396.67 | 425.25 | 438.59 | 464.12 | 451.55 | 472.88 | 470.98
Nov | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 446.21 | 442.4 | 425.25 | 372.29 | 353.62 | 372.29 | 392.48 | 396.67 | 415.35 | 430.97 | 444.31 | 458.79
Dec | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 456.88 | 444.31 | 429.06 | 367.71 | 353.62 | 376.86 | 365.43 | 400.87 | 427.16 | 451.55 | 451.55 | 458.79
| Min. | Max.
| 343.33 | 479.74
DT = Daylight Savings Time (section of month within daylight savings period)
ST = NZ Standard Time (section of month outside of daylight savings period)

## OHK-WRK
Back to Contents
Branch Details | [12 empty] | Version Information
Line |  |  | WRK-WKM-A | [9 empty] | Version | 4
Circuit |  |  | OHK-WRK-1 | [9 empty] | Revisions | Updated to 12 changes per day
Branch ID |  |  | OHK_WRK.1
Nominal Voltage (kV) |  |  | 220
Effective Start Date |  |  | 2012-03-07 | [9 empty] | Revision Date | 2018-09-19
[13 empty] | Publication Date | 2018-09-19
iVLR Ratings (MW)
Month | Time of day (NZ Local Time)/ iVLR Rating (MW)
Jan | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 415.35 | 417.25 | 411.54 | 363.14 | 341.04 | 333.04 | 348.66 | 372.29 | 388.29 | 396.67 | 417.25 | 427.16
Feb | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 427.16 | 421.44 | 411.54 | 367.71 | 345.99 | 338.37 | 345.99 | 358.19 | 367.71 | 405.06 | 425.25 | 434.78
Mar | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 432.87 | 421.44 | 417.25 | 383.72 | 355.9 | 343.33 | 355.9 | 383.72 | 396.67 | 430.97 | 453.45 | 450.02
Apr DT | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 429.06 | 409.25 | 425.25 | 386 | 367.71 | 355.9 | 353.62 | 355.9 | 374.57 | 413.44 | 421.44 | 442.4
Apr ST | 0-2 | 2-4 | 4-6 | 6-8 | 8-10 | 10-12 | 12-14 | 14-16 | 16-18 | 18-20 | 20-22 | 22-24
| 429.06 | 409.25 | 425.25 | 386 | 367.71 | 355.9 | 353.62 | 355.9 | 374.57 | 413.44 | 421.44 | 442.4
May | 0-2 | 2-4 | 4-6 | 6-8 | 8-10 | 10-12 | 12-14 | 14-16 | 16-18 | 18-20 | 20-22 | 22-24
| 423.35 | 415.35 | 415.35 | 396.67 | 381.43 | 370 | 367.71 | 372.29 | 419.54 | 425.25 | 427.16 | 430.97
Jun | 0-2 | 2-4 | 4-6 | 6-8 | 8-10 | 10-12 | 12-14 | 14-16 | 16-18 | 18-20 | 20-22 | 22-24
| 436.68 | 419.54 | 409.25 | 403.15 | 388.29 | 381.43 | 379.15 | 381.43 | 411.54 | 427.16 | 436.68 | 440.5
Jul | 0-2 | 2-4 | 4-6 | 6-8 | 8-10 | 10-12 | 12-14 | 14-16 | 16-18 | 18-20 | 20-22 | 22-24
| 432.87 | 425.25 | 411.54 | 407.34 | 392.48 | 381.43 | 379.15 | 386 | 407.34 | 438.59 | 448.12 | 429.06
Aug | 0-2 | 2-4 | 4-6 | 6-8 | 8-10 | 10-12 | 12-14 | 14-16 | 16-18 | 18-20 | 20-22 | 22-24
| 462.22 | 453.45 | 453.45 | 434.78 | 392.48 | 374.57 | 388.29 | 417.25 | 430.97 | 450.02 | 466.03 | 470.98
Sep ST | 0-2 | 2-4 | 4-6 | 6-8 | 8-10 | 10-12 | 12-14 | 14-16 | 16-18 | 18-20 | 20-22 | 22-24
| 446.21 | 425.25 | 421.44 | 409.25 | 372.29 | 363.14 | 396.67 | 413.44 | 429.06 | 451.55 | 450.02 | 456.88
Sep DT | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 446.21 | 425.25 | 421.44 | 409.25 | 372.29 | 363.14 | 396.67 | 413.44 | 429.06 | 451.55 | 450.02 | 456.88
Oct | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 444.31 | 430.97 | 430.97 | 405.06 | 360.86 | 376.86 | 398.96 | 409.25 | 442.4 | 446.21 | 466.03 | 456.88
Nov | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 440.5 | 425.25 | 413.44 | 370 | 350.95 | 360.86 | 370 | 372.29 | 379.15 | 415.35 | 434.78 | 444.31
Dec | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 438.59 | 438.59 | 429.06 | 365.43 | 348.66 | 370 | 365.43 | 398.96 | 417.25 | 440.5 | 448.12 | 446.21
| Min. | Max.
| 333.04 | 470.98
DT = Daylight Savings Time (section of month within daylight savings period)
ST = NZ Standard Time (section of month outside of daylight savings period)

## OTA-HTU-WKM-1
Back to Contents
Branch Details | [12 empty] | Version Information
Line |  |  | OTA-WKM-A | [9 empty] | Version | 1
Circuit |  |  | OTA-HTU-WKM-1 | [9 empty] | Revisions
Branch ID |  |  | OTA_HTU_WKM1.1 &1.2 | [9 empty] | Revision Date
Nominal Voltage (kV) |  |  | 220 | [9 empty] | Publication Date | 2025-03-05
Effective Start Date |  |  | 2025-03-05
iVLR Ratings (MW)
Month | Time of day (NZ Local Time)/ iVLR Rating (MW)
Jan | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 347.14 | 352.47 | 352.47 | 320.08 | 296.46 | 305.6 | 314.37 | 323.13 | 352.47 | 362.38 | 374.57 | 379.15
Feb | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 352.47 | 347.14 | 349.8 | 323.13 | 299.51 | 283.88 | 286.93 | 296.46 | 342.18 | 367.33 | 379.15 | 367.33
Mar | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 354.76 | 352.47 | 360.09 | 331.51 | 308.65 | 293.41 | 317.42 | 323.13 | 344.85 | 371.91 | 390.58 | 374.57
Apr DT | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 364.67 | 376.86 | 357.43 | 362.38 | 320.08 | 308.65 | 308.65 | 331.51 | 344.85 | 374.57 | 386 | 364.67
Apr ST | 0-2 | 2-4 | 4-6 | 6-8 | 8-10 | 10-12 | 12-14 | 14-16 | 16-18 | 18-20 | 20-22 | 22-24
| 364.67 | 376.86 | 357.43 | 362.38 | 320.08 | 308.65 | 308.65 | 331.51 | 344.85 | 374.57 | 386 | 364.67
May | 0-2 | 2-4 | 4-6 | 6-8 | 8-10 | 10-12 | 12-14 | 14-16 | 16-18 | 18-20 | 20-22 | 22-24
| 362.38 | 379.15 | 383.72 | 381.43 | 342.18 | 323.13 | 323.13 | 334.18 | 360.09 | 369.62 | 357.43 | 371.91
Jun | 0-2 | 2-4 | 4-6 | 6-8 | 8-10 | 10-12 | 12-14 | 14-16 | 16-18 | 18-20 | 20-22 | 22-24
| 367.33 | 367.33 | 367.33 | 362.38 | 344.85 | 336.85 | 334.18 | 336.85 | 362.38 | 367.33 | 379.15 | 367.33
Jul | 0-2 | 2-4 | 4-6 | 6-8 | 8-10 | 10-12 | 12-14 | 14-16 | 16-18 | 18-20 | 20-22 | 22-24
| 383.72 | 388.29 | 374.57 | 374.57 | 349.8 | 336.85 | 334.18 | 354.76 | 367.33 | 401.63 | 390.58 | 392.86
Aug | 0-2 | 2-4 | 4-6 | 6-8 | 8-10 | 10-12 | 12-14 | 14-16 | 16-18 | 18-20 | 20-22 | 22-24
| 405.82 | 399.34 | 399.34 | 383.72 | 344.85 | 331.51 | 376.86 | 395.15 | 395.15 | 405.82 | 414.2 | 416.49
Sep ST | 0-2 | 2-4 | 4-6 | 6-8 | 8-10 | 10-12 | 12-14 | 14-16 | 16-18 | 18-20 | 20-22 | 22-24
| 390.58 | 386 | 392.86 | 362.38 | 328.47 | 325.8 | 360.09 | 390.58 | 388.29 | 414.2 | 410.01 | 395.15
Sep DT | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 390.58 | 386 | 392.86 | 362.38 | 328.47 | 325.8 | 360.09 | 390.58 | 388.29 | 414.2 | 410.01 | 395.15
Oct | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 374.57 | 379.15 | 383.72 | 336.85 | 320.08 | 352.47 | 374.57 | 383.72 | 418.39 | 422.59 | 426.78 | 405.82
Nov | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 371.91 | 364.67 | 360.09 | 328.47 | 308.65 | 314.37 | 320.08 | 344.85 | 381.43 | 395.15 | 390.58 | 395.15
Dec | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 371.91 | 352.47 | 360.09 | 323.13 | 323.13 | 328.47 | 323.13 | 331.51 | 367.33 | 392.86 | 386 | 381.43
| Min. | Max.
| 283.88 | 426.78
DT = Daylight Savings Time (section of month within daylight savings period)
ST = NZ Standard Time (section of month outside of daylight savings period)

## OTA-HTU-WKM-2
Back to Contents
Branch Details | [12 empty] | Version Information
Line |  |  | OTA-WKM-B | [9 empty] | Version | 1
Circuit |  |  | OTA-WKM-2 | [9 empty] | Revisions
Branch ID |  |  | OTA_HTU_WKM2.1&2.2 | [9 empty] | Revision Date
Nominal Voltage (kV) |  |  | 220 | [9 empty] | Publication Date | 2025-03-05
Effective Start Date |  |  | 2025-03-05
iVLR Ratings (MW)
Month | Time of day (NZ Local Time)/ iVLR Rating (MW)
Jan | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 347.14 | 352.47 | 352.47 | 320.08 | 296.46 | 305.6 | 317.42 | 323.13 | 352.47 | 362.38 | 374.57 | 379.15
Feb | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 352.47 | 347.14 | 349.8 | 323.13 | 299.51 | 283.88 | 286.93 | 296.46 | 342.18 | 367.33 | 379.15 | 367.33
Mar | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 354.76 | 352.47 | 360.09 | 331.51 | 308.65 | 293.41 | 317.42 | 323.13 | 344.85 | 371.91 | 390.58 | 374.57
Apr DT | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 364.67 | 376.86 | 357.43 | 362.38 | 320.08 | 308.65 | 308.65 | 331.51 | 344.85 | 374.57 | 386 | 364.67
Apr ST | 0-2 | 2-4 | 4-6 | 6-8 | 8-10 | 10-12 | 12-14 | 14-16 | 16-18 | 18-20 | 20-22 | 22-24
| 364.67 | 376.86 | 357.43 | 362.38 | 320.08 | 308.65 | 308.65 | 331.51 | 344.85 | 374.57 | 386 | 364.67
May | 0-2 | 2-4 | 4-6 | 6-8 | 8-10 | 10-12 | 12-14 | 14-16 | 16-18 | 18-20 | 20-22 | 22-24
| 362.38 | 379.15 | 383.72 | 381.43 | 342.18 | 323.13 | 323.13 | 334.18 | 360.09 | 369.62 | 357.43 | 371.91
Jun | 0-2 | 2-4 | 4-6 | 6-8 | 8-10 | 10-12 | 12-14 | 14-16 | 16-18 | 18-20 | 20-22 | 22-24
| 367.33 | 367.33 | 367.33 | 362.38 | 344.85 | 336.85 | 334.18 | 336.85 | 362.38 | 367.33 | 379.15 | 367.33
Jul | 0-2 | 2-4 | 4-6 | 6-8 | 8-10 | 10-12 | 12-14 | 14-16 | 16-18 | 18-20 | 20-22 | 22-24
| 383.72 | 388.29 | 374.57 | 374.57 | 349.8 | 336.85 | 334.18 | 354.76 | 367.33 | 401.63 | 390.58 | 392.86
Aug | 0-2 | 2-4 | 4-6 | 6-8 | 8-10 | 10-12 | 12-14 | 14-16 | 16-18 | 18-20 | 20-22 | 22-24
| 405.82 | 399.34 | 399.34 | 383.72 | 344.85 | 331.51 | 376.86 | 395.15 | 395.15 | 405.82 | 414.2 | 416.49
Sep ST | 0-2 | 2-4 | 4-6 | 6-8 | 8-10 | 10-12 | 12-14 | 14-16 | 16-18 | 18-20 | 20-22 | 22-24
| 390.58 | 386 | 392.86 | 362.38 | 328.47 | 325.8 | 360.09 | 390.58 | 388.29 | 414.2 | 410.01 | 395.15
Sep DT | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 390.58 | 386 | 392.86 | 362.38 | 328.47 | 325.8 | 360.09 | 390.58 | 388.29 | 414.2 | 410.01 | 395.15
Oct | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 374.57 | 379.15 | 383.72 | 336.85 | 320.08 | 352.47 | 374.57 | 383.72 | 418.39 | 422.59 | 426.78 | 405.82
Nov | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 371.91 | 364.67 | 360.09 | 328.47 | 308.65 | 314.37 | 320.08 | 344.85 | 381.43 | 395.15 | 390.58 | 395.15
Dec | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 371.91 | 352.47 | 360.09 | 323.13 | 323.13 | 328.47 | 323.13 | 331.51 | 367.33 | 392.86 | 386 | 381.43
| Min. | Max.
| 283.88 | 426.78
DT = Daylight Savings Time (section of month within daylight savings period)
ST = NZ Standard Time (section of month outside of daylight savings period)

## BOB-OTA-1
Back to Contents
Branch Details | [12 empty] | Version Information
Line |  |  | BOB-OTA-A | [9 empty] | Version | 2
Circuit |  |  | BOB-OTA-1 | [9 empty] | Revisions | Updated to 12 changes per day
Branch ID |  |  | BOB_OTA1.2 | [9 empty] | Revision Date | 2018-09-19
Nominal Voltage (kV) |  |  | 110 | [9 empty] | Publication Date | 2018-09-19
Effective Start Date |  |  | 2015-10-07
iVLR Ratings (MW)
Month | Time of day (NZ Local Time)/ iVLR Rating (MW)
Jan | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 128.8 | 126.7 | 128.22 | 116.03 | 109.74 | 110.5 | 112.79 | 114.51 | 119.65 | 127.46 | 126.7 | 124.6
Feb | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 122.51 | 126.7 | 126.7 | 118.89 | 111.27 | 108.98 | 110.5 | 113.74 | 117.55 | 122.51 | 124.6 | 126.13
Mar | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 137.18 | 136.04 | 133.37 | 122.51 | 108.98 | 109.74 | 116.03 | 121.17 | 130.89 | 134.7 | 140.23 | 140.99
Apr DT | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 128.8 | 128.8 | 130.13 | 131.46 | 118.13 | 115.27 | 119.65 | 122.51 | 126.7 | 132.8 | 137.94 | 130.89
Apr ST | 0-2 | 2-4 | 4-6 | 6-8 | 8-10 | 10-12 | 12-14 | 14-16 | 16-18 | 18-20 | 20-22 | 22-24
| 128.8 | 128.8 | 130.13 | 131.46 | 118.13 | 115.27 | 119.65 | 122.51 | 126.7 | 132.8 | 137.94 | 130.89
May | 0-2 | 2-4 | 4-6 | 6-8 | 8-10 | 10-12 | 12-14 | 14-16 | 16-18 | 18-20 | 20-22 | 22-24
| 136.61 | 136.61 | 142.13 | 139.66 | 129.56 | 121.17 | 128.22 | 130.89 | 134.13 | 134.13 | 132.03 | 132.03
Jun | 0-2 | 2-4 | 4-6 | 6-8 | 8-10 | 10-12 | 12-14 | 14-16 | 16-18 | 18-20 | 20-22 | 22-24
| 136.61 | 135.27 | 134.13 | 137.18 | 133.37 | 124.6 | 129.56 | 136.04 | 143.28 | 141.56 | 140.99 | 139.08
Jul | 0-2 | 2-4 | 4-6 | 6-8 | 8-10 | 10-12 | 12-14 | 14-16 | 16-18 | 18-20 | 20-22 | 22-24
| 137.94 | 142.7 | 144.42 | 144.42 | 134.7 | 126.13 | 131.46 | 136.04 | 136.61 | 137.94 | 136.61 | 136.61
Aug | 0-2 | 2-4 | 4-6 | 6-8 | 8-10 | 10-12 | 12-14 | 14-16 | 16-18 | 18-20 | 20-22 | 22-24
| 151.47 | 152.42 | 152.42 | 145.18 | 136.04 | 140.99 | 140.99 | 137.18 | 143.85 | 144.42 | 150.32 | 146.9
Sep ST | 0-2 | 2-4 | 4-6 | 6-8 | 8-10 | 10-12 | 12-14 | 14-16 | 16-18 | 18-20 | 20-22 | 22-24
| 143.85 | 142.13 | 138.51 | 136.61 | 127.46 | 121.94 | 128.22 | 136.04 | 141.56 | 137.94 | 137.94 | 141.56
Sep DT | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 143.85 | 142.13 | 138.51 | 136.61 | 127.46 | 121.94 | 128.22 | 136.04 | 141.56 | 137.94 | 137.94 | 141.56
Oct | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 142.13 | 142.7 | 141.56 | 129.56 | 121.94 | 127.46 | 134.13 | 135.27 | 138.51 | 142.13 | 143.85 | 144.42
Nov | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 134.7 | 135.27 | 130.89 | 120.41 | 122.51 | 120.41 | 117.55 | 117.55 | 130.89 | 137.18 | 134.7 | 132.8
Dec | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 128.22 | 129.56 | 130.89 | 121.94 | 116.03 | 115.27 | 117.55 | 120.41 | 127.46 | 129.56 | 132.8 | 128.22
| Min. | Max.
| 108.98 | 152.42
DT = Daylight Savings Time (section of month within daylight savings period)
ST = NZ Standard Time (section of month outside of daylight savings period)

## BOB-OTA-2
Back to Contents
Branch Details | [12 empty] | Version Information
Line |  |  | BOB-OTA-A | [9 empty] | Version | 3
Circuit |  |  | BOB-OTA-2 | [9 empty] | Revisions | Updated ratings for August
Branch ID |  |  | BOB_OTA2.2 | [9 empty] | Revision Date | 2019-11-27
Nominal Voltage (kV) |  |  | 110 | [9 empty] | Publication Date | 2019-11-27
Effective Start Date |  |  | 2015-10-07
iVLR Ratings (MW)
Month | Time of day (NZ Local Time)/ iVLR Rating (MW)
Jan | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 128.8 | 126.7 | 128.22 | 116.03 | 109.74 | 110.5 | 112.79 | 114.51 | 119.65 | 127.46 | 126.7 | 124.6
Feb | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 122.51 | 126.7 | 126.7 | 118.89 | 111.27 | 108.98 | 110.5 | 113.74 | 117.55 | 122.51 | 124.6 | 126.13
Mar | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 137.18 | 136.04 | 133.37 | 122.51 | 108.98 | 109.74 | 116.03 | 121.17 | 130.89 | 134.7 | 140.23 | 140.99
Apr DT | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 128.8 | 128.8 | 130.13 | 131.46 | 118.13 | 115.27 | 119.65 | 122.51 | 126.7 | 132.8 | 137.94 | 130.89
Apr ST | 0-2 | 2-4 | 4-6 | 6-8 | 8-10 | 10-12 | 12-14 | 14-16 | 16-18 | 18-20 | 20-22 | 22-24
| 128.8 | 128.8 | 130.13 | 131.46 | 118.13 | 115.27 | 119.65 | 122.51 | 126.7 | 132.8 | 137.94 | 130.89
May | 0-2 | 2-4 | 4-6 | 6-8 | 8-10 | 10-12 | 12-14 | 14-16 | 16-18 | 18-20 | 20-22 | 22-24
| 136.61 | 136.61 | 142.13 | 139.66 | 129.56 | 121.17 | 128.22 | 130.89 | 134.13 | 134.13 | 132.03 | 132.03
Jun | 0-2 | 2-4 | 4-6 | 6-8 | 8-10 | 10-12 | 12-14 | 14-16 | 16-18 | 18-20 | 20-22 | 22-24
| 136.61 | 135.27 | 134.13 | 137.18 | 133.37 | 124.6 | 129.56 | 136.04 | 143.28 | 141.56 | 140.99 | 139.08
Jul | 0-2 | 2-4 | 4-6 | 6-8 | 8-10 | 10-12 | 12-14 | 14-16 | 16-18 | 18-20 | 20-22 | 22-24
| 137.94 | 142.7 | 144.42 | 144.42 | 134.7 | 126.13 | 131.46 | 136.04 | 136.61 | 137.94 | 136.61 | 136.61
Aug | 0-2 | 2-4 | 4-6 | 6-8 | 8-10 | 10-12 | 12-14 | 14-16 | 16-18 | 18-20 | 20-22 | 22-24
| 151.47 | 152.99 | 152.99 | 145.18 | 136.04 | 140.99 | 140.99 | 137.18 | 143.85 | 144.42 | 150.32 | 146.9
Sep ST | 0-2 | 2-4 | 4-6 | 6-8 | 8-10 | 10-12 | 12-14 | 14-16 | 16-18 | 18-20 | 20-22 | 22-24
| 143.85 | 142.13 | 138.51 | 136.61 | 127.46 | 121.94 | 128.22 | 136.04 | 141.56 | 137.94 | 137.94 | 141.56
Sep DT | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 143.85 | 142.13 | 138.51 | 136.61 | 127.46 | 121.94 | 128.22 | 136.04 | 141.56 | 137.94 | 137.94 | 141.56
Oct | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 142.13 | 142.7 | 141.56 | 129.56 | 121.94 | 127.46 | 134.13 | 135.27 | 138.51 | 142.13 | 143.85 | 144.42
Nov | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 134.7 | 135.27 | 130.89 | 120.41 | 122.51 | 120.41 | 117.55 | 117.55 | 130.89 | 137.18 | 134.7 | 132.8
Dec | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 128.22 | 129.56 | 130.89 | 121.94 | 116.03 | 115.27 | 117.55 | 120.41 | 127.46 | 129.56 | 132.8 | 128.22
| Min. | Max.
| 108.98 | 152.42
DT = Daylight Savings Time (section of month within daylight savings period)
ST = NZ Standard Time (section of month outside of daylight savings period)

## KIN-LFD-1
Back to Contents
Branch Details | [12 empty] | Version Information
Line |  |  | LCH-KIN-A | [9 empty] | Version | 2
Circuit |  |  | KIN-LFD-1 | [9 empty] | Revisions | Updated to 12 changes per day
Branch ID |  |  | KIN_TRK1.1 | [9 empty] | Revision Date | 2018-09-19
Nominal Voltage (kV) |  |  | 110 | [9 empty] | Publication Date | 2018-09-19
Effective Start Date |  |  | 2016-08-24
iVLR Ratings (MW)
Month | Time of day (NZ Local Time)/ iVLR Rating (MW)
Jan | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 74.69 | 74.69 | 72.97 | 61.92 | 52.01 | 50.68 | 53.16 | 56.59 | 62.87 | 65.92 | 73.92 | 77.16
Feb | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 74.69 | 71.26 | 69.54 | 61.92 | 53.16 | 52.01 | 49.35 | 52.01 | 61.92 | 66.87 | 75.64 | 77.16
Mar | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 83.45 | 80.4 | 77.92 | 69.54 | 57.73 | 57.73 | 59.83 | 64.97 | 64.97 | 72.97 | 79.64 | 83.45
Apr DT | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 83.45 | 76.4 | 77.92 | 79.64 | 68.59 | 58.87 | 60.97 | 59.83 | 62.87 | 74.69 | 81.93 | 82.69
Apr ST | 0-2 | 2-4 | 4-6 | 6-8 | 8-10 | 10-12 | 12-14 | 14-16 | 16-18 | 18-20 | 20-22 | 22-24
| 83.45 | 76.4 | 77.92 | 79.64 | 68.59 | 58.87 | 60.97 | 59.83 | 62.87 | 74.69 | 81.93 | 82.69
May | 0-2 | 2-4 | 4-6 | 6-8 | 8-10 | 10-12 | 12-14 | 14-16 | 16-18 | 18-20 | 20-22 | 22-24
| 80.4 | 82.69 | 86.31 | 84.78 | 78.88 | 65.92 | 62.87 | 65.92 | 75.64 | 81.93 | 80.4 | 82.69
Jun | 0-2 | 2-4 | 4-6 | 6-8 | 8-10 | 10-12 | 12-14 | 14-16 | 16-18 | 18-20 | 20-22 | 22-24
| 79.64 | 81.93 | 85.55 | 80.4 | 73.92 | 66.87 | 68.59 | 71.26 | 79.64 | 84.78 | 82.69 | 82.69
Jul | 0-2 | 2-4 | 4-6 | 6-8 | 8-10 | 10-12 | 12-14 | 14-16 | 16-18 | 18-20 | 20-22 | 22-24
| 85.55 | 87.07 | 86.31 | 84.78 | 77.92 | 71.26 | 70.49 | 74.69 | 80.4 | 88.4 | 89.17 | 85.55
Aug | 0-2 | 2-4 | 4-6 | 6-8 | 8-10 | 10-12 | 12-14 | 14-16 | 16-18 | 18-20 | 20-22 | 22-24
| 89.17 | 91.07 | 92.4 | 89.74 | 78.88 | 65.92 | 77.16 | 81.16 | 83.45 | 84.78 | 89.17 | 90.5
Sep ST | 0-2 | 2-4 | 4-6 | 6-8 | 8-10 | 10-12 | 12-14 | 14-16 | 16-18 | 18-20 | 20-22 | 22-24
| 84.78 | 80.4 | 83.45 | 77.16 | 71.26 | 66.87 | 76.4 | 79.64 | 80.4 | 84.02 | 87.07 | 87.07
Sep DT | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 84.78 | 80.4 | 83.45 | 77.16 | 71.26 | 66.87 | 76.4 | 79.64 | 80.4 | 84.02 | 87.07 | 87.07
Oct | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 81.16 | 81.93 | 81.16 | 74.69 | 61.92 | 67.64 | 69.54 | 71.26 | 78.88 | 79.64 | 85.55 | 87.07
Nov | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 77.92 | 77.92 | 72.97 | 67.64 | 56.59 | 58.87 | 58.87 | 65.92 | 69.54 | 71.26 | 80.4 | 81.93
Dec | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 79.64 | 77.92 | 74.69 | 64.97 | 59.83 | 59.83 | 54.3 | 56.59 | 65.92 | 74.69 | 77.16 | 81.16
| Min. | Max.
| 49.35 | 92.4
DT = Daylight Savings Time (section of month within daylight savings period)
ST = NZ Standard Time (section of month outside of daylight savings period)

## LFD-TRK-1
Back to Contents
Back to Contents
Branch Details | [12 empty] | Version Information
Line |  |  | LCH-KIN-A, ARI-EDG-A & TRK-DEV-A | [9 empty] | Version | 3
Circuit |  |  | LFD-TRK-1 | [9 empty] | Revisions | New values
Branch ID |  |  | KIN_TRK1.2 | [9 empty] | Revision Date | 2024-07-03
Nominal Voltage (kV) |  |  | 110 | [9 empty] | Publication Date | 2024-06-27
Effective Start Date |  |  | 2024-07-03
iVLR Ratings (MW)
Month | Time of day (NZ Local Time)/ iVLR Rating (MW)
Jan | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 84.21 | 84.21 | 82.31 | 69.73 | 58.49 | 58.49 | 58.49 | 64.97 | 72.02 | 75.26 | 83.26 | 87.07
Feb | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 84.21 | 80.4 | 78.31 | 69.73 | 59.83 | 61.16 | 55.63 | 58.49 | 70.88 | 76.4 | 85.16 | 87.07
Mar | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 93.93 | 90.5 | 87.83 | 78.31 | 68.59 | 64.97 | 70.88 | 69.73 | 75.26 | 84.21 | 89.74 | 93.93
Apr DT | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 93.93 | 86.12 | 88.78 | 91.45 | 76.4 | 70.88 | 68.59 | 69.73 | 75.26 | 84.21 | 93.17 | 93.17
Apr ST | 0-2 | 2-4 | 4-6 | 6-8 | 8-10 | 10-12 | 12-14 | 14-16 | 16-18 | 18-20 | 20-22 | 22-24
| 93.93 | 86.12 | 88.78 | 91.45 | 76.4 | 70.88 | 68.59 | 69.73 | 75.26 | 84.21 | 93.17 | 93.17
May | 0-2 | 2-4 | 4-6 | 6-8 | 8-10 | 10-12 | 12-14 | 14-16 | 16-18 | 18-20 | 20-22 | 22-24
| 90.5 | 93.17 | 97.17 | 95.64 | 90.5 | 79.45 | 75.26 | 78.31 | 85.16 | 92.21 | 90.5 | 93.17
Jun | 0-2 | 2-4 | 4-6 | 6-8 | 8-10 | 10-12 | 12-14 | 14-16 | 16-18 | 18-20 | 20-22 | 22-24
| 89.74 | 92.21 | 96.41 | 96.41 | 86.12 | 78.31 | 78.31 | 86.12 | 94.69 | 95.64 | 93.17 | 93.17
Jul | 0-2 | 2-4 | 4-6 | 6-8 | 8-10 | 10-12 | 12-14 | 14-16 | 16-18 | 18-20 | 20-22 | 22-24
| 96.41 | 97.93 | 101.17 | 99.64 | 93.93 | 82.31 | 83.26 | 89.74 | 96.41 | 99.64 | 100.41 | 96.41
Aug | 0-2 | 2-4 | 4-6 | 6-8 | 8-10 | 10-12 | 12-14 | 14-16 | 16-18 | 18-20 | 20-22 | 22-24
| 100.41 | 102.69 | 104.22 | 101.17 | 88.78 | 81.35 | 87.83 | 93.17 | 94.69 | 95.64 | 100.41 | 101.93
Sep ST | 0-2 | 2-4 | 4-6 | 6-8 | 8-10 | 10-12 | 12-14 | 14-16 | 16-18 | 18-20 | 20-22 | 22-24
| 95.64 | 90.5 | 93.93 | 88.78 | 81.35 | 77.35 | 87.07 | 90.5 | 91.45 | 95.64 | 97.93 | 97.93
Sep DT | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 95.64 | 90.5 | 93.93 | 88.78 | 81.35 | 77.35 | 87.07 | 90.5 | 91.45 | 95.64 | 97.93 | 97.93
Oct | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 91.45 | 93.93 | 91.45 | 84.21 | 74.3 | 78.31 | 80.4 | 81.35 | 89.74 | 90.5 | 97.17 | 98.88
Nov | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 87.83 | 87.83 | 82.31 | 76.4 | 63.83 | 66.3 | 67.45 | 74.3 | 79.45 | 80.4 | 91.45 | 93.17
Dec | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 89.74 | 87.83 | 84.21 | 74.3 | 67.45 | 67.45 | 62.49 | 64.97 | 75.26 | 85.16 | 87.07 | 91.45
| Min. | Max.
| 55.63 | 104.22
DT = Daylight Savings Time (section of month within daylight savings period)
ST = NZ Standard Time (section of month outside of daylight savings period)

## KIN-LFD-2
Back to Contents
Branch Details | [12 empty] | Version Information
Line |  |  | LCH-KIN-B | [9 empty] | Version | 3
Circuit |  |  | KIN-LFD-2 | [9 empty] | Revisions | Updated circuit static limits
Branch ID |  |  | KIN_TRK2.1 | [9 empty] | Revision Date | 2020-05-25
Nominal Voltage (kV) |  |  | 110 | [9 empty] | Publication Date | 2020-05-25
Effective Start Date |  |  | 2016-08-24
iVLR Ratings (MW)
Month | Time of day (NZ Local Time)/ iVLR Rating (MW)
Jan | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 93.36 | 93.36 | 91.26 | 76.02 | 61.73 | 60.21 | 63.45 | 66.49 | 76.02 | 79.83 | 92.21 | 96.41
Feb | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 93.36 | 88.98 | 86.88 | 76.02 | 64.97 | 61.73 | 58.49 | 61.73 | 74.69 | 80.97 | 93.36 | 95.26
Mar | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 103.07 | 100.22 | 97.36 | 85.74 | 69.35 | 64.97 | 70.68 | 77.35 | 78.69 | 90.12 | 99.26 | 103.07
Apr DT | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 103.07 | 94.31 | 96.41 | 97.36 | 82.31 | 70.68 | 72.02 | 72.02 | 76.02 | 92.21 | 102.12 | 103.07
Apr ST | 0-2 | 2-4 | 4-6 | 6-8 | 8-10 | 10-12 | 12-14 | 14-16 | 16-18 | 18-20 | 20-22 | 22-24
| 103.07 | 94.31 | 96.41 | 97.36 | 82.31 | 70.68 | 72.02 | 72.02 | 76.02 | 92.21 | 102.12 | 103.07
May | 0-2 | 2-4 | 4-6 | 6-8 | 8-10 | 10-12 | 12-14 | 14-16 | 16-18 | 18-20 | 20-22 | 22-24
| 100.22 | 103.07 | 107.65 | 104.98 | 95.26 | 79.83 | 76.02 | 80.97 | 93.36 | 101.17 | 100.22 | 103.07
Jun | 0-2 | 2-4 | 4-6 | 6-8 | 8-10 | 10-12 | 12-14 | 14-16 | 16-18 | 18-20 | 20-22 | 22-24
| 99.26 | 102.12 | 106.69 | 99.26 | 90.12 | 82.31 | 83.45 | 88.02 | 97.36 | 105.74 | 103.07 | 103.07
Jul | 0-2 | 2-4 | 4-6 | 6-8 | 8-10 | 10-12 | 12-14 | 14-16 | 16-18 | 18-20 | 20-22 | 22-24
| 106.69 | 108.41 | 106.69 | 104.98 | 95.26 | 86.88 | 85.74 | 91.26 | 98.31 | 109.36 | 109.36 | 105.74
Aug | 0-2 | 2-4 | 4-6 | 6-8 | 8-10 | 10-12 | 12-14 | 14-16 | 16-18 | 18-20 | 20-22 | 22-24
| 111.08 | 113.55 | 114.32 | 110.12 | 97.36 | 79.83 | 93.36 | 98.31 | 102.12 | 104.03 | 111.08 | 111.84
Sep ST | 0-2 | 2-4 | 4-6 | 6-8 | 8-10 | 10-12 | 12-14 | 14-16 | 16-18 | 18-20 | 20-22 | 22-24
| 105.74 | 100.22 | 102.12 | 94.31 | 85.74 | 79.83 | 94.31 | 96.41 | 98.31 | 104.98 | 107.65 | 108.41
Sep DT | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 105.74 | 100.22 | 102.12 | 94.31 | 85.74 | 79.83 | 94.31 | 96.41 | 98.31 | 104.98 | 107.65 | 108.41
Oct | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 101.17 | 101.17 | 101.17 | 92.21 | 73.54 | 80.97 | 84.59 | 85.74 | 97.36 | 99.26 | 104.98 | 107.65
Nov | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 96.41 | 97.36 | 91.26 | 82.31 | 67.83 | 69.35 | 67.83 | 77.35 | 85.74 | 86.88 | 101.17 | 103.07
Dec | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 99.26 | 97.36 | 92.21 | 78.69 | 72.02 | 70.68 | 64.97 | 67.83 | 79.83 | 93.36 | 96.41 | 101.17
| Min. | Max.
| 58.49 | 114.32
DT = Daylight Savings Time (section of month within daylight savings period)
ST = NZ Standard Time (section of month outside of daylight savings period)

## LFD-TRK-2
Back to Contents
Branch Details | [12 empty] | Version Information
Line |  |  | LCH-KIN-B, ARI-EDG-B & TRK-DEV-B | [9 empty] | Version | 3
Circuit |  |  | LFD-TRK-2 | [9 empty] | Revisions | Updated circuit static limits
Branch ID |  |  | KIN_TRK2.2 | [9 empty] | Revision Date | 2020-05-25
Nominal Voltage (kV) |  |  | 110 | [9 empty] | Publication Date | 2020-05-25
Effective Start Date |  |  | 2016-08-24
iVLR Ratings (MW)
Month | Time of day (NZ Local Time)/ iVLR Rating (MW)
Jan | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 92.21 | 91.26 | 90.12 | 76.02 | 61.73 | 60.21 | 55.06 | 60.21 | 72.02 | 79.83 | 82.31 | 93.36
Feb | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 90.12 | 88.98 | 86.88 | 74.69 | 63.45 | 61.73 | 58.49 | 61.73 | 76.02 | 78.69 | 93.36 | 95.26
Mar | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 99.45 | 96.41 | 96.41 | 85.74 | 72.02 | 69.35 | 72.02 | 64.97 | 74.69 | 86.88 | 96.41 | 99.45
Apr DT | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 99.45 | 94.31 | 97.36 | 99.26 | 83.45 | 76.02 | 72.02 | 73.54 | 78.69 | 92.21 | 99.45 | 99.45
Apr ST | 0-2 | 2-4 | 4-6 | 6-8 | 8-10 | 10-12 | 12-14 | 14-16 | 16-18 | 18-20 | 20-22 | 22-24
| 99.45 | 94.31 | 97.36 | 99.26 | 83.45 | 76.02 | 72.02 | 73.54 | 78.69 | 92.21 | 99.45 | 99.45
May | 0-2 | 2-4 | 4-6 | 6-8 | 8-10 | 10-12 | 12-14 | 14-16 | 16-18 | 18-20 | 20-22 | 22-24
| 98.31 | 99.45 | 99.45 | 99.26 | 91.26 | 79.83 | 80.97 | 82.31 | 91.26 | 99.26 | 98.31 | 99.45
Jun | 0-2 | 2-4 | 4-6 | 6-8 | 8-10 | 10-12 | 12-14 | 14-16 | 16-18 | 18-20 | 20-22 | 22-24
| 98.31 | 99.45 | 99.45 | 99.45 | 94.31 | 85.74 | 85.74 | 94.31 | 99.45 | 99.45 | 99.45 | 99.45
Jul | 0-2 | 2-4 | 4-6 | 6-8 | 8-10 | 10-12 | 12-14 | 14-16 | 16-18 | 18-20 | 20-22 | 22-24
| 99.45 | 99.45 | 99.45 | 99.45 | 99.45 | 88.98 | 90.12 | 97.36 | 99.45 | 99.45 | 99.45 | 99.45
Aug | 0-2 | 2-4 | 4-6 | 6-8 | 8-10 | 10-12 | 12-14 | 14-16 | 16-18 | 18-20 | 20-22 | 22-24
| 99.45 | 99.45 | 99.45 | 99.45 | 95.26 | 88.02 | 95.26 | 99.26 | 99.45 | 99.45 | 99.45 | 99.45
Sep ST | 0-2 | 2-4 | 4-6 | 6-8 | 8-10 | 10-12 | 12-14 | 14-16 | 16-18 | 18-20 | 20-22 | 22-24
| 99.45 | 98.31 | 97.36 | 91.26 | 86.88 | 80.97 | 88.02 | 92.21 | 88.98 | 98.31 | 99.45 | 99.45
Sep DT | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 99.45 | 98.31 | 97.36 | 91.26 | 86.88 | 80.97 | 88.02 | 92.21 | 88.98 | 98.31 | 99.45 | 99.45
Oct | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 98.31 | 99.45 | 99.45 | 92.21 | 79.83 | 82.31 | 83.45 | 88.02 | 95.26 | 94.31 | 99.45 | 99.45
Nov | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 96.41 | 96.41 | 91.26 | 79.83 | 67.83 | 66.49 | 70.68 | 77.35 | 83.45 | 88.02 | 95.26 | 97.36
Dec | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 97.36 | 96.41 | 93.36 | 79.83 | 70.68 | 69.35 | 63.45 | 66.49 | 79.83 | 90.12 | 94.31 | 99.45
| Min. | Max.
| 55.06 | 99.45
DT = Daylight Savings Time (section of month within daylight savings period)
ST = NZ Standard Time (section of month outside of daylight savings period)

## ATI-WKM-1
Back to Contents
Branch Details | [12 empty] | Version Information
Line |  |  | WRK-WKM-A | [9 empty] | Version | 2
Circuit |  |  | ATI-WKM-1 | [9 empty] | Revisions | Updated to 12 changes per day
Branch ID |  |  | ATI_WKM.1 | [9 empty] | Revision Date | 2018-09-19
Nominal Voltage (kV) |  |  | 220 | [9 empty] | Publication Date | 2018-09-19
Effective Start Date |  |  | 2018-02-14
iVLR Ratings (MW)
Month | Time of day (NZ Local Time)/ iVLR Rating (MW)
Jan | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 425.25 | 421.44 | 413.44 | 363.14 | 343.33 | 345.99 | 358.19 | 370 | 388.29 | 400.87 | 432.87 | 432.87
Feb | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 434.78 | 413.44 | 417.25 | 367.71 | 345.99 | 341.04 | 350.95 | 350.95 | 388.29 | 421.44 | 427.16 | 425.25
Mar | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 440.5 | 427.16 | 409.25 | 390.2 | 355.9 | 350.95 | 365.43 | 390.2 | 396.67 | 430.97 | 460.69 | 448.12
Apr DT | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 434.78 | 415.35 | 415.35 | 398.96 | 367.71 | 355.9 | 355.9 | 363.14 | 372.29 | 430.97 | 446.21 | 438.59
Apr ST | 0-2 | 2-4 | 4-6 | 6-8 | 8-10 | 10-12 | 12-14 | 14-16 | 16-18 | 18-20 | 20-22 | 22-24
| 434.78 | 415.35 | 415.35 | 398.96 | 367.71 | 355.9 | 355.9 | 363.14 | 372.29 | 430.97 | 446.21 | 438.59
May | 0-2 | 2-4 | 4-6 | 6-8 | 8-10 | 10-12 | 12-14 | 14-16 | 16-18 | 18-20 | 20-22 | 22-24
| 427.16 | 421.44 | 427.16 | 405.06 | 383.72 | 370 | 370 | 372.29 | 419.54 | 446.21 | 455.36 | 425.25
Jun | 0-2 | 2-4 | 4-6 | 6-8 | 8-10 | 10-12 | 12-14 | 14-16 | 16-18 | 18-20 | 20-22 | 22-24
| 434.78 | 411.54 | 419.54 | 403.15 | 388.29 | 381.43 | 379.15 | 388.29 | 419.54 | 442.4 | 460.69 | 453.45
Jul | 0-2 | 2-4 | 4-6 | 6-8 | 8-10 | 10-12 | 12-14 | 14-16 | 16-18 | 18-20 | 20-22 | 22-24
| 450.02 | 432.87 | 419.54 | 413.44 | 392.48 | 381.43 | 379.15 | 392.48 | 419.54 | 453.45 | 448.12 | 444.31
Aug | 0-2 | 2-4 | 4-6 | 6-8 | 8-10 | 10-12 | 12-14 | 14-16 | 16-18 | 18-20 | 20-22 | 22-24
| 469.46 | 456.88 | 455.36 | 440.5 | 405.06 | 374.57 | 413.44 | 434.78 | 440.5 | 450.02 | 474.41 | 476.31
Sep ST | 0-2 | 2-4 | 4-6 | 6-8 | 8-10 | 10-12 | 12-14 | 14-16 | 16-18 | 18-20 | 20-22 | 22-24
| 446.21 | 427.16 | 432.87 | 417.25 | 372.29 | 363.14 | 411.54 | 429.06 | 442.4 | 470.98 | 462.22 | 450.02
Sep DT | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 446.21 | 427.16 | 432.87 | 417.25 | 372.29 | 363.14 | 411.54 | 429.06 | 442.4 | 470.98 | 462.22 | 450.02
Oct | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 446.21 | 429.06 | 436.68 | 417.25 | 360.86 | 396.67 | 429.06 | 440.5 | 462.22 | 456.88 | 476.31 | 470.98
Nov | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 432.87 | 438.59 | 423.35 | 376.86 | 350.95 | 379.15 | 386 | 398.96 | 417.25 | 436.68 | 442.4 | 450.02
Dec | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 444.31 | 436.68 | 425.25 | 365.43 | 355.9 | 381.43 | 363.14 | 398.96 | 423.35 | 456.88 | 448.12 | 451.55
| Min. | Max.
| 341.04 | 476.31
DT = Daylight Savings Time (section of month within daylight savings period)
ST = NZ Standard Time (section of month outside of daylight savings period)

## KAW-MAT-1
Back to Contents
Branch Details | [12 empty] | Version Information
Line |  |  | KAW-MAT-A | [9 empty] | Version | 2
Circuit |  |  | KAW-MAT-1 | [9 empty] | Revisions | Updated to 12 changes per day
Branch ID |  |  | KAW_MAT1.1 | [9 empty] | Revision Date | 2018-09-19
Nominal Voltage (kV) |  |  | 110 | [9 empty] | Publication Date | 2018-09-19
Effective Start Date |  |  | 2018-10-03
iVLR Ratings (MW)
Month | Time of day (NZ Local Time)/ iVLR Rating (MW)
Jan | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 110.12 | 110.12 | 106.88 | 96.98 | 89.17 | 86.12 | 83.83 | 96.02 | 100.79 | 106.88 | 112.6 | 112.6
Feb | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 110.89 | 108.41 | 107.65 | 98.88 | 91.26 | 84.97 | 83.83 | 95.07 | 101.55 | 105.93 | 111.84 | 107.65
Mar | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 113.36 | 114.89 | 115.65 | 107.65 | 94.12 | 89.17 | 92.21 | 97.93 | 103.46 | 110.89 | 116.41 | 115.65
Apr DT | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 114.12 | 116.41 | 121.56 | 116.41 | 102.5 | 94.12 | 92.21 | 94.12 | 101.55 | 114.12 | 114.12 | 114.12
Apr ST | 0-2 | 2-4 | 4-6 | 6-8 | 8-10 | 10-12 | 12-14 | 14-16 | 16-18 | 18-20 | 20-22 | 22-24
| 114.12 | 116.41 | 121.56 | 116.41 | 102.5 | 94.12 | 92.21 | 94.12 | 101.55 | 114.12 | 114.12 | 114.12
May | 0-2 | 2-4 | 4-6 | 6-8 | 8-10 | 10-12 | 12-14 | 14-16 | 16-18 | 18-20 | 20-22 | 22-24
| 127.27 | 130.7 | 133.37 | 127.27 | 114.12 | 105.93 | 101.55 | 101.55 | 110.12 | 114.12 | 117.94 | 116.41
Jun | 0-2 | 2-4 | 4-6 | 6-8 | 8-10 | 10-12 | 12-14 | 14-16 | 16-18 | 18-20 | 20-22 | 22-24
| 128.03 | 129.37 | 129.94 | 125.18 | 115.65 | 105.17 | 102.5 | 104.22 | 111.84 | 119.46 | 120.98 | 120.22
Jul | 0-2 | 2-4 | 4-6 | 6-8 | 8-10 | 10-12 | 12-14 | 14-16 | 16-18 | 18-20 | 20-22 | 22-24
| 129.94 | 132.61 | 132.03 | 127.27 | 121.56 | 107.65 | 105.17 | 108.41 | 117.94 | 124.41 | 123.84 | 123.84
Aug | 0-2 | 2-4 | 4-6 | 6-8 | 8-10 | 10-12 | 12-14 | 14-16 | 16-18 | 18-20 | 20-22 | 22-24
| 127.27 | 129.37 | 128.03 | 123.08 | 110.89 | 101.55 | 109.36 | 113.36 | 113.36 | 120.22 | 124.41 | 125.94
Sep ST | 0-2 | 2-4 | 4-6 | 6-8 | 8-10 | 10-12 | 12-14 | 14-16 | 16-18 | 18-20 | 20-22 | 22-24
| 120.98 | 118.7 | 121.56 | 114.12 | 102.5 | 97.93 | 99.84 | 107.65 | 113.36 | 122.32 | 124.41 | 120.98
Sep DT | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 120.98 | 118.7 | 121.56 | 114.12 | 102.5 | 97.93 | 99.84 | 107.65 | 113.36 | 122.32 | 124.41 | 120.98
Oct | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 117.17 | 110.89 | 112.6 | 106.88 | 97.93 | 101.55 | 100.79 | 105.17 | 109.36 | 116.41 | 120.98 | 120.22
Nov | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 109.36 | 110.12 | 113.36 | 100.79 | 93.17 | 92.21 | 96.98 | 104.22 | 108.41 | 116.41 | 115.65 | 113.36
Dec | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 107.65 | 107.65 | 108.41 | 96.98 | 90.31 | 88.21 | 88.21 | 94.12 | 96.02 | 108.41 | 114.89 | 109.36
| Min. | Max.
| 83.83 | 133.37
DT = Daylight Savings Time (section of month within daylight savings period)
ST = NZ Standard Time (section of month outside of daylight savings period)

## KAW-MAT-2
Back to Contents
Branch Details | [12 empty] | Version Information
Line |  |  | KAW-MAT-B | [9 empty] | Version | 2
Circuit |  |  | KAW-MAT-2 | [9 empty] | Revisions | Updated to 12 changes per day
Branch ID |  |  | KAW_MAT2.1 | [9 empty] | Revision Date | 2018-09-19
Nominal Voltage (kV) |  |  | 110 | [9 empty] | Publication Date | 2018-09-19
Effective Start Date |  |  | 2018-10-03
iVLR Ratings (MW)
Month | Time of day (NZ Local Time)/ iVLR Rating (MW)
Jan | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 110.12 | 110.12 | 106.88 | 96.98 | 89.17 | 86.12 | 83.83 | 96.02 | 100.79 | 106.88 | 113.36 | 112.6
Feb | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 110.89 | 108.41 | 107.65 | 98.88 | 91.26 | 84.97 | 83.83 | 95.07 | 101.55 | 105.93 | 111.84 | 107.65
Mar | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 113.36 | 114.89 | 115.65 | 107.65 | 94.12 | 89.17 | 92.21 | 97.93 | 103.46 | 110.89 | 116.41 | 115.65
Apr DT | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 114.12 | 117.17 | 122.32 | 116.41 | 103.46 | 94.12 | 92.21 | 94.12 | 101.55 | 114.12 | 114.12 | 114.12
Apr ST | 0-2 | 2-4 | 4-6 | 6-8 | 8-10 | 10-12 | 12-14 | 14-16 | 16-18 | 18-20 | 20-22 | 22-24
| 114.12 | 117.17 | 122.32 | 116.41 | 103.46 | 94.12 | 92.21 | 94.12 | 101.55 | 114.12 | 114.12 | 114.12
May | 0-2 | 2-4 | 4-6 | 6-8 | 8-10 | 10-12 | 12-14 | 14-16 | 16-18 | 18-20 | 20-22 | 22-24
| 127.27 | 130.7 | 133.37 | 127.27 | 114.89 | 105.93 | 101.55 | 101.55 | 110.12 | 114.12 | 117.94 | 116.41
Jun | 0-2 | 2-4 | 4-6 | 6-8 | 8-10 | 10-12 | 12-14 | 14-16 | 16-18 | 18-20 | 20-22 | 22-24
| 128.03 | 129.37 | 130.7 | 125.94 | 116.41 | 105.17 | 102.5 | 104.22 | 111.84 | 119.46 | 120.98 | 120.22
Jul | 0-2 | 2-4 | 4-6 | 6-8 | 8-10 | 10-12 | 12-14 | 14-16 | 16-18 | 18-20 | 20-22 | 22-24
| 129.94 | 132.61 | 132.03 | 127.27 | 122.32 | 107.65 | 105.17 | 108.41 | 117.94 | 125.94 | 123.84 | 123.84
Aug | 0-2 | 2-4 | 4-6 | 6-8 | 8-10 | 10-12 | 12-14 | 14-16 | 16-18 | 18-20 | 20-22 | 22-24
| 127.27 | 129.37 | 129.37 | 123.08 | 110.89 | 101.55 | 109.36 | 113.36 | 113.36 | 120.22 | 124.41 | 125.94
Sep ST | 0-2 | 2-4 | 4-6 | 6-8 | 8-10 | 10-12 | 12-14 | 14-16 | 16-18 | 18-20 | 20-22 | 22-24
| 121.56 | 118.7 | 122.32 | 115.65 | 103.46 | 97.93 | 99.84 | 107.65 | 113.36 | 122.32 | 124.41 | 120.98
Sep DT | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 121.56 | 118.7 | 122.32 | 115.65 | 103.46 | 97.93 | 99.84 | 107.65 | 113.36 | 122.32 | 124.41 | 120.98
Oct | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 117.17 | 110.89 | 112.6 | 107.65 | 97.93 | 101.55 | 100.79 | 105.17 | 109.36 | 117.94 | 121.56 | 120.22
Nov | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 110.12 | 110.12 | 113.36 | 100.79 | 93.17 | 92.21 | 96.98 | 104.22 | 108.41 | 117.17 | 116.41 | 113.36
Dec | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 107.65 | 107.65 | 109.36 | 96.98 | 90.31 | 88.21 | 88.21 | 94.12 | 96.02 | 108.41 | 114.89 | 109.36
| Min. | Max.
| 83.83 | 133.37
DT = Daylight Savings Time (section of month within daylight savings period)
ST = NZ Standard Time (section of month outside of daylight savings period)

## OAM-BPT-WTK-1
Back to Contents
Branch Details | [12 empty] | Version Information
Line |  |  | GNY-WTK-A | [9 empty] | Version | 1
Circuit |  |  | BPC-OAM-1 | [9 empty] | Revisions | New VLR - 12 changes per day
Branch ID |  |  | OAM_BPT_WTK1.1 | [9 empty] | Revision Date
Nominal Voltage (kV) |  |  | 110 | [9 empty] | Publication Date | 2018-11-22
Effective Start Date |  |  | 2018-12-05
iVLR Ratings (MW)
Month | Time of day (NZ Local Time)/ iVLR Rating (MW)
Jan | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-1
| 67.83 | 69.16 | 67.45 | 59.25 | 52.78 | 57.16 | 63.06 | 62.11 | 64.02 | 64.97 | 65.73 | 67.07
Feb | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-1
| 67.07 | 67.07 | 68.4 | 62.11 | 55.06 | 52.78 | 58.11 | 63.06 | 63.64 | 63.06 | 64.97 | 65.35
Mar | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-1
| 70.3 | 71.83 | 71.45 | 66.68 | 62.11 | 56.01 | 59.25 | 63.06 | 64.59 | 64.97 | 67.83 | 68.78
Apr DT | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-1
| 69.54 | 70.68 | 71.45 | 71.83 | 65.73 | 62.11 | 59.25 | 63.64 | 66.68 | 67.45 | 67.45 | 70.3
Apr ST | 0-2 | 2-4 | 4-6 | 6-8 | 8-10 | 10-12 | 12-14 | 14-16 | 16-18 | 18-20 | 20-22 | 22-24
| 69.54 | 70.68 | 71.45 | 71.83 | 65.73 | 62.11 | 59.25 | 63.64 | 66.68 | 67.45 | 67.45 | 70.3
May | 0-2 | 2-4 | 4-6 | 6-8 | 8-10 | 10-12 | 12-14 | 14-16 | 16-18 | 18-20 | 20-22 | 22-24
| 71.83 | 74.11 | 73.35 | 73.35 | 69.92 | 65.73 | 64.97 | 64.02 | 66.68 | 69.16 | 72.21 | 72.59
Jun | 0-2 | 2-4 | 4-6 | 6-8 | 8-10 | 10-12 | 12-14 | 14-16 | 16-18 | 18-20 | 20-22 | 22-24
| 76.59 | 77.73 | 76.59 | 76.4 | 72.97 | 69.54 | 67.83 | 68.4 | 69.54 | 71.83 | 74.88 | 76.4
Jul | 0-2 | 2-4 | 4-6 | 6-8 | 8-10 | 10-12 | 12-14 | 14-16 | 16-18 | 18-20 | 20-22 | 22-24
| 76.02 | 74.88 | 75.64 | 73.73 | 72.97 | 69.92 | 67.83 | 69.92 | 70.3 | 72.21 | 74.5 | 76.4
Aug | 0-2 | 2-4 | 4-6 | 6-8 | 8-10 | 10-12 | 12-14 | 14-16 | 16-18 | 18-20 | 20-22 | 22-24
| 75.26 | 73.73 | 73.35 | 73.73 | 72.59 | 69.54 | 67.07 | 66.3 | 70.3 | 71.45 | 73.35 | 74.5
Sep ST | 0-2 | 2-4 | 4-6 | 6-8 | 8-10 | 10-12 | 12-14 | 14-16 | 16-18 | 18-20 | 20-22 | 22-24
| 71.83 | 72.59 | 72.21 | 72.97 | 68.4 | 64.02 | 64.02 | 69.16 | 69.16 | 70.3 | 69.92 | 70.68
Sep DT | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-1
| 71.83 | 72.59 | 72.21 | 72.97 | 68.4 | 64.02 | 64.02 | 69.16 | 69.16 | 70.3 | 69.92 | 70.68
Oct | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-1
| 71.45 | 72.97 | 72.21 | 68.4 | 64.59 | 56.01 | 65.35 | 66.68 | 67.83 | 66.3 | 68.78 | 70.3
Nov | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-1
| 68.78 | 71.07 | 70.3 | 64.59 | 55.06 | 60.21 | 62.11 | 63.64 | 66.3 | 66.68 | 65.35 | 67.07
Dec | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-1
| 68.78 | 68.4 | 67.83 | 63.64 | 58.11 | 56.01 | 64.59 | 64.97 | 66.3 | 65.73 | 67.07 | 68.4
| Min. | Max.
| 52.78 | 77.73
DT = Daylight Savings Time (section of month within daylight savings period)
ST = NZ Standard Time (section of month outside of daylight savings period)

## OAM-STU-WTK-2
Back to Contents
Branch Details | [12 empty] | Version Information
Line |  |  | GNY-OAM-B | [9 empty] | Version | 1
Circuit |  |  | GNY-OAM-2 | [9 empty] | Revisions | New VLR - 12 changes per day
Branch ID |  |  | OAM_STU_WTK2.1 | [9 empty] | Revision Date
Nominal Voltage (kV) |  |  | 110 | [9 empty] | Publication Date | 2018-11-22
Effective Start Date |  |  | 2018-12-05
iVLR Ratings (MW)
Month | Time of day (NZ Local Time)/ iVLR Rating (MW)
Jan | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-1
| 68.78 | 68.78 | 68.4 | 62.3 | 53.92 | 58.49 | 63.64 | 63.64 | 64.59 | 65.35 | 65.73 | 67.07
Feb | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-1
| 67.83 | 67.45 | 68.78 | 63.64 | 57.35 | 52.78 | 59.44 | 63.25 | 63.64 | 63.25 | 65.35 | 66.68
Mar | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-1
| 70.3 | 71.83 | 70.68 | 67.07 | 63.25 | 57.35 | 61.54 | 63.25 | 64.97 | 64.97 | 68.4 | 69.16
Apr DT | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-1
| 68.78 | 69.54 | 70.68 | 71.07 | 65.73 | 62.68 | 60.59 | 64.02 | 66.68 | 67.45 | 67.45 | 69.54
Apr ST | 0-2 | 2-4 | 4-6 | 6-8 | 8-10 | 10-12 | 12-14 | 14-16 | 16-18 | 18-20 | 20-22 | 22-24
| 68.78 | 69.54 | 70.68 | 71.07 | 65.73 | 62.68 | 60.59 | 64.02 | 66.68 | 67.45 | 67.45 | 69.54
May | 0-2 | 2-4 | 4-6 | 6-8 | 8-10 | 10-12 | 12-14 | 14-16 | 16-18 | 18-20 | 20-22 | 22-24
| 71.07 | 72.97 | 72.59 | 72.21 | 69.92 | 66.68 | 64.97 | 64.02 | 67.07 | 69.54 | 72.21 | 71.83
Jun | 0-2 | 2-4 | 4-6 | 6-8 | 8-10 | 10-12 | 12-14 | 14-16 | 16-18 | 18-20 | 20-22 | 22-24
| 75.64 | 76.59 | 75.64 | 75.26 | 71.83 | 69.92 | 68.4 | 68.4 | 69.54 | 70.68 | 73.73 | 75.26
Jul | 0-2 | 2-4 | 4-6 | 6-8 | 8-10 | 10-12 | 12-14 | 14-16 | 16-18 | 18-20 | 20-22 | 22-24
| 74.88 | 73.73 | 74.5 | 72.59 | 72.21 | 69.92 | 67.83 | 69.92 | 69.92 | 71.45 | 73.35 | 75.26
Aug | 0-2 | 2-4 | 4-6 | 6-8 | 8-10 | 10-12 | 12-14 | 14-16 | 16-18 | 18-20 | 20-22 | 22-24
| 74.11 | 72.59 | 72.59 | 72.59 | 71.83 | 69.92 | 67.07 | 66.3 | 70.3 | 71.83 | 73.73 | 73.35
Sep ST | 0-2 | 2-4 | 4-6 | 6-8 | 8-10 | 10-12 | 12-14 | 14-16 | 16-18 | 18-20 | 20-22 | 22-24
| 71.07 | 71.83 | 71.45 | 71.83 | 68.78 | 64.02 | 64.59 | 69.16 | 69.54 | 70.3 | 70.68 | 72.21
Sep DT | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-1
| 71.07 | 71.83 | 71.45 | 71.83 | 68.78 | 64.02 | 64.59 | 69.16 | 69.54 | 70.3 | 70.68 | 72.21
Oct | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-1
| 72.21 | 71.83 | 71.83 | 69.16 | 64.97 | 57.35 | 65.35 | 66.68 | 68.78 | 66.68 | 68.78 | 70.3
Nov | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-1
| 68.4 | 70.3 | 71.45 | 65.35 | 57.35 | 61.54 | 63.25 | 64.02 | 66.3 | 66.68 | 65.73 | 67.45
Dec | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-1
| 70.3 | 69.16 | 68.4 | 63.64 | 59.44 | 57.35 | 64.97 | 65.73 | 66.3 | 66.3 | 67.45 | 69.16
| Min. | Max.
| 52.78 | 76.59
DT = Daylight Savings Time (section of month within daylight savings period)
ST = NZ Standard Time (section of month outside of daylight savings period)

## CML-FKN-1
Back to Contents
Branch Details | [12 empty] | Version Information
Line |  |  | CML-FKN-A | [9 empty] | Version | 1
Circuit |  |  | CML-FKN-1 | [9 empty] | Revisions | VLR added
Branch ID |  |  | CML_FKN1.1 | [9 empty] | Revision Date
Nominal Voltage (kV) |  |  | 110 | [9 empty] | Publication Date | 2026-07-31
Effective Start Date |  |  | 2026-08-05
iVLR Ratings (MW)
Month | Time of day (NZ Local Time)/ iVLR Rating (MW)
Jan | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 130.32 | 129.75 | 129.18 | 121.94 | 116.41 | 112.03 | 110.5 | 121.94 | 122.7 | 129.75 | 121.36 | 131.65
Feb | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 129.75 | 130.32 | 130.32 | 124.03 | 118.51 | 113.55 | 119.84 | 118.51 | 119.27 | 122.7 | 129.18 | 131.65
Mar | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 134.13 | 132.22 | 132.22 | 127.84 | 121.94 | 117.17 | 115.65 | 116.41 | 120.6 | 124.03 | 131.08 | 135.84
Apr DT | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 133.56 | 134.13 | 134.13 | 131.65 | 125.94 | 121.36 | 119.84 | 120.6 | 124.6 | 128.6 | 131.08 | 133.56
Apr ST | 0-2 | 2-4 | 4-6 | 6-8 | 8-10 | 10-12 | 12-14 | 14-16 | 16-18 | 18-20 | 20-22 | 22-24
| 133.56 | 134.13 | 134.13 | 131.65 | 125.94 | 121.36 | 119.84 | 120.6 | 124.6 | 128.6 | 131.08 | 133.56
May | 0-2 | 2-4 | 4-6 | 6-8 | 8-10 | 10-12 | 12-14 | 14-16 | 16-18 | 18-20 | 20-22 | 22-24
| 135.84 | 136.42 | 136.42 | 135.27 | 129.75 | 125.94 | 125.37 | 125.37 | 127.84 | 132.22 | 134.13 | 135.27
Jun | 0-2 | 2-4 | 4-6 | 6-8 | 8-10 | 10-12 | 12-14 | 14-16 | 16-18 | 18-20 | 20-22 | 22-24
| 138.32 | 138.32 | 138.32 | 136.99 | 132.8 | 129.18 | 128.6 | 128.6 | 131.08 | 134.7 | 136.42 | 137.56
Jul | 0-2 | 2-4 | 4-6 | 6-8 | 8-10 | 10-12 | 12-14 | 14-16 | 16-18 | 18-20 | 20-22 | 22-24
| 138.89 | 139.46 | 139.46 | 138.32 | 134.13 | 130.32 | 129.18 | 129.18 | 131.08 | 135.27 | 137.56 | 139.46
Aug | 0-2 | 2-4 | 4-6 | 6-8 | 8-10 | 10-12 | 12-14 | 14-16 | 16-18 | 18-20 | 20-22 | 22-24
| 137.56 | 137.56 | 138.32 | 136.42 | 131.08 | 127.27 | 125.94 | 126.7 | 128.6 | 132.8 | 135.27 | 136.99
Sep ST | 0-2 | 2-4 | 4-6 | 6-8 | 8-10 | 10-12 | 12-14 | 14-16 | 16-18 | 18-20 | 20-22 | 22-24
| 136.42 | 135.84 | 136.42 | 132.22 | 126.7 | 123.27 | 121.94 | 126.7 | 125.37 | 129.18 | 136.99 | 138.89
Sep DT | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 136.42 | 135.84 | 136.42 | 132.22 | 126.7 | 123.27 | 121.94 | 126.7 | 125.37 | 129.18 | 136.99 | 138.89
Oct | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 133.56 | 134.13 | 134.13 | 127.84 | 122.7 | 124.03 | 124.03 | 127.27 | 136.42 | 135.84 | 131.65 | 134.7
Nov | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 132.22 | 132.8 | 132.22 | 124.6 | 119.27 | 127.27 | 125.94 | 131.65 | 136.99 | 138.89 | 134.7 | 132.22
Dec | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 130.32 | 131.08 | 129.75 | 122.7 | 117.94 | 117.94 | 122.7 | 119.84 | 123.27 | 132.8 | 130.32 | 130.32
| Min. | Max.
| 110.5 | 139.46
DT = Daylight Savings Time (section of month within daylight savings period)
ST = NZ Standard Time (section of month outside of daylight savings period)

## CML-FKN-2
Back to Contents
Branch Details | [12 empty] | Version Information
Line |  |  | CML-FKN-A | [9 empty] | Version | 1
Circuit |  |  | CML-FKN-2 | [9 empty] | Revisions | VLR added
Branch ID |  |  | CML_FKN2.1 | [9 empty] | Revision Date
Nominal Voltage (kV) |  |  | 110 | [9 empty] | Publication Date | 2026-07-31
Effective Start Date |  |  | 2026-08-05
iVLR Ratings (MW)
Month | Time of day (NZ Local Time)/ iVLR Rating (MW)
Jan | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 130.32 | 129.75 | 129.18 | 121.94 | 116.41 | 112.03 | 110.5 | 121.94 | 122.7 | 129.75 | 121.36 | 131.65
Feb | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 129.75 | 130.32 | 130.32 | 124.03 | 118.51 | 113.55 | 119.84 | 121.36 | 124.03 | 123.27 | 129.18 | 131.65
Mar | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 134.13 | 132.22 | 132.22 | 127.84 | 121.94 | 117.17 | 119.27 | 116.41 | 125.94 | 128.6 | 131.08 | 135.84
Apr DT | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 133.56 | 134.13 | 134.13 | 131.65 | 125.94 | 121.36 | 119.84 | 120.6 | 124.6 | 128.6 | 131.08 | 133.56
Apr ST | 0-2 | 2-4 | 4-6 | 6-8 | 8-10 | 10-12 | 12-14 | 14-16 | 16-18 | 18-20 | 20-22 | 22-24
| 133.56 | 134.13 | 134.13 | 131.65 | 125.94 | 121.36 | 119.84 | 120.6 | 124.6 | 128.6 | 131.08 | 133.56
May | 0-2 | 2-4 | 4-6 | 6-8 | 8-10 | 10-12 | 12-14 | 14-16 | 16-18 | 18-20 | 20-22 | 22-24
| 135.84 | 136.42 | 136.42 | 135.27 | 129.75 | 126.7 | 125.37 | 125.37 | 127.84 | 132.22 | 134.13 | 135.27
Jun | 0-2 | 2-4 | 4-6 | 6-8 | 8-10 | 10-12 | 12-14 | 14-16 | 16-18 | 18-20 | 20-22 | 22-24
| 138.32 | 138.32 | 138.89 | 136.99 | 132.8 | 129.18 | 128.6 | 128.6 | 131.08 | 134.7 | 136.42 | 137.56
Jul | 0-2 | 2-4 | 4-6 | 6-8 | 8-10 | 10-12 | 12-14 | 14-16 | 16-18 | 18-20 | 20-22 | 22-24
| 138.89 | 139.46 | 139.46 | 138.32 | 134.13 | 130.32 | 129.18 | 129.18 | 131.65 | 135.27 | 137.56 | 139.46
Aug | 0-2 | 2-4 | 4-6 | 6-8 | 8-10 | 10-12 | 12-14 | 14-16 | 16-18 | 18-20 | 20-22 | 22-24
| 137.56 | 137.56 | 138.32 | 136.42 | 131.08 | 127.27 | 125.94 | 126.7 | 129.18 | 132.8 | 135.84 | 136.99
Sep ST | 0-2 | 2-4 | 4-6 | 6-8 | 8-10 | 10-12 | 12-14 | 14-16 | 16-18 | 18-20 | 20-22 | 22-24
| 136.42 | 135.84 | 136.42 | 132.22 | 126.7 | 123.27 | 126.7 | 129.75 | 129.18 | 132.22 | 136.99 | 138.89
Sep DT | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 136.42 | 135.84 | 136.42 | 132.22 | 126.7 | 123.27 | 126.7 | 129.75 | 129.18 | 132.22 | 136.99 | 138.89
Oct | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 133.56 | 134.13 | 134.13 | 127.84 | 122.7 | 125.94 | 124.03 | 129.75 | 136.42 | 135.84 | 131.65 | 134.7
Nov | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 132.22 | 132.8 | 132.22 | 124.6 | 119.27 | 127.27 | 125.94 | 131.65 | 136.99 | 138.89 | 134.7 | 132.22
Dec | 1-3 | 3-5 | 5-7 | 7-9 | 9-11 | 11-13 | 13-15 | 15-17 | 17-19 | 19-21 | 21-23 | 23-25
| 130.32 | 131.08 | 129.75 | 123.27 | 117.94 | 122.7 | 122.7 | 122.7 | 123.27 | 133.56 | 130.32 | 130.32
| Min. | Max.
| 110.5 | 139.46
DT = Daylight Savings Time (section of month within daylight savings period)
ST = NZ Standard Time (section of month outside of daylight savings period)