## Title
Integrated Transmission Plan 2025
RT01 Expenditure and Performance Schedules
September 2025

## Contents
Contents
1 | Forecast summary
Sets out the Proposed Base Capex and Opex allowances on a constant and nominal basis.
2 | Operating Expenditure
Sets out operating expenditure by expenditure category on a constant and nominal basis.
3 | Base Capital Expenditure
Sets out Base Capex by asset grouping on a constant basis including interest during construction, constant basis including interest during construction, nominal expenditure basis and nominal commissioned basis.
4 | Major Capex, Listed projects and other Uncertainty Mechanisms
Sets out Major capital and Listed projects: approved, under development and both listed and other reconductoring. Outputs on approved major capital projects under way. Also sets out the maximum possible expenditure under our proposed uncertainty mechanisms.
5 | Major Capex - outputs
Describes the approved capex outputs, major capex allowances and indicative commissioning dates
6 | Identified Programmes
Outlines the identified programmes determined from the definition of identified programmes in the Commerce Commission's information request.
7 | Grid Performance Targets
Measures (GP1 and GP2) measuring the number and average duration of unplanned interruptions.
8 | Asset Performance and Health
Asset performance caps, collars, targets, quality standards and incentive summary for our revenue linked performance measures, and asset health targets for asset classes with an AHI of 8 or higher.

## 1. Forecast summary
Transpower New Zealand Ltd
1. Forecast Summary
This schedule presents an overview of all forecast expenditure during regulatory control periods three, four and five (RCP4, RCP5 and RCP6). All figures are presented in constant 2024/25 dollars. For capital expenditure (capex) we include the forecast cost of interest during construction. This approach is consistent with the way our base capex allowances are set. Base capex includes major projects and listed projects. Major projects are enhancement and development (E&D) projects with a value in incess of $30 million. Listed projects are large reconductoring projects. Major capex schedules provide further information on the total cost of approved major projects and projects under development.
2025 Summary of RCP4 forecasts expenditure $m |  |  | RCP2 | [5 empty] | RCP3 |  |  |  |  | RCP4 | [5 empty] | RCP5 | [5 empty] | RCP6
This sheet sets out proposed base capex and opex allowances |  |  | 2015/16 | 2016/17 | 2017/18 | 2018/19 | 2019/20 | RCP2 Total | 2020/21 | 2021/22 | 2024/25 | 2023/24 | 2024/25 | 2025/26 | 2026/27 | 2027/28 | 2028/29 | 2029/30 | RCP4 Total | 2030/31 | 2031/32 | 2032/33 | 2033/34 | 2034/35 | RCP5 Total | 2035/36 | 2036/37 | 2037/38 | 2038/39 | 2039/40 | RCP6 Total
Operating Expenditure | Network Opex | Constant 2024/25 $ | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 235653896.8481 | 240247646.5128 | 481833112.2669 | 251749942.969 | 247126466.619 | 239029811.583 | 1459986979.9507 | 235984450.2688 | 470223294.9812 | 239709710.4679 | 239734235.5325 | 235448385.6936 | 1421100076.9439 | 237979859.8395 | 475959716.4748 | 239530658.5302 | 238949103.9479 | 237979859.8395 | 1430399198.6319
| Non-Network opex | Constant 2024/25 $ | [10 empty] | 145821429.1422 | 168059940.6853 | 339778779.1955 | 174558240.8026 | 176830331.8275 | 168289053.8308 | 1027516346.3416 | 169881470.8979 | 342070904.1687 | 175826952.8667 | 177591802.0233 | 180305724.4794 | 1045676854.4361 | 177975327.6888 | 355950655.3776 | 177975327.6888 | 177975327.6888 | 177975327.6888 | 1067851966.1328
| Total Operating Expenditure | Nominal $m | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 381475325.9902 | 408307587.1981 | 821611891.4623 | 426308183.7716 | 423956798.4465 | 407318865.4138 | 2487503326.2922 | 405865921.1666 | 812294199.1499 | 415536663.3346 | 417326037.5558 | 415754110.173 | 2466776931.38 | 415955187.5283 | 831910371.8524 | 417505986.219 | 416924431.6367 | 415955187.5283 | 2498251164.7647
Base Capex
Renewal | Substations | Constant 2024/25 $ | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 100633845.6836 | 108009471.9857 | 109364169.3933 | 123930693.0394 | 138795574.3695 | 86237320.9425 | 566337229.7304 | 100875773.0999 | 167657941.7697 | 137328075.6493 | 131174308.3698 | 83926932.577 | 620963031.4657 | 101594848.679 | 144252510.392 | 131892999.5734 | 129437260.416 | 111867668.4231 | 619045287.4836
| Buildings & Grounds | Constant 2024/25 $ | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 49820486.5212 | 31533512.1844 | 23893533.8698 | 15248810.0838 | 12859610.5112 | 11464088.0129 | 94999554.6621 | 9330228.4111 | 10053077.9187 | 12166190.7269 | 10201207.5225 | 12504715.8877 | 54255420.4669 | 12412396.4736 | 10396896.2355 | 9787575.6155 | 9399349.3462 | 9170826.706 | 51167044.3768
| Transmission Lines | Constant 2024/25 $ | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 136681637.0115 | 153790609.6552 | 148820093.6835 | 160806886.9987 | 161957615.5768 | 146774832.3269 | 772150038.2411 | 164977076.3856 | 166076114.378 | 176505263.5918 | 184845740.2067 | 210372092.1075 | 902776286.6696 | 203622584.5209 | 200273006.6079 | 207766837.8813 | 207584141.9698 | 207855777.0786 | 1027102348.0584
| HVDC & reactive assets | Constant 2024/25 $ | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31698824.5885 | 27054091.585 | 40097971.2444 | 49243729.6279 | 36093101.1533 | 18117508.1812 | 170606401.7919 | 38727278.7566 | 41257463.1355 | 36896302.9656 | 26926135.9778 | 30024589.5114 | 173831770.3469 | 13549788.1077 | 12122330.2367 | 11919062.9084 | 15719687.8409 | 18893456.3121 | 72204325.4058
| Secondary Assets | Constant 2024/25 $ | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 43690852.6265 | 51918655.6313 | 76585219.7141 | 73214296.3299 | 57757895.2303 | 50263846.4652 | 309739913.3707 | 61027665.9446 | 61178016.5163 | 54978278.2983 | 55184786.0851 | 46687651.4694 | 279056398.3138 | 44212424.7603 | 74203800.1047 | 30481163.6241 | 26351707.3954 | 44676424.3425 | 219925520.2269
Other | E&D | Constant 2024/25 $ | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 30278987.6751 | 16761467.841 | 21536482.3868 | 27171924.1333 | 26597600.7422 | 21625382.8967 | 113692858 | 41012938.5125 | 26332201.7567 | 23377601.2858 | 23583176.6664 | 30970062.7533 | 145275980.9748 | 37249819.9001 | 52964012.5269 | 42480803.9165 | 24159348.705 | 22977976.5646 | 179831961.6131
| Resilience | Constant 2024/25 $ | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 2083454.2565 | 6997712.4191 | 37585152.3191 | 31765630.8935 | 29796435.9784 | 21397007.9879 | 127541939.5979 | 38766004.9066 | 38950697.137 | 38912624.7417 | 38988392.6399 | 39034328.4884 | 194652047.9136 | 38409874.2408 | 38485176.3972 | 38566656.8299 | 38650019.7081 | 38705051.7893 | 192816778.9653
| ICT | Constant 2024/25 $ | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 47602461.19 | 65538977.8456 | 79648438.4349 | 47940393.0422 | 15284766.0241 | 15284766.0241 | 223697341.3708 | 37564827.0531 | 41945919.2401 | 39795592.9259 | 39793265.2947 | 39799936.7258 | 198899541.2395 | 39617607.9496 | 39611498.7722 | 39603858.155 | 39596313.8039 | 39647505.9698 | 198076784.6505
| Business support capex | Constant 2024/25 $ | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9897606.7822 | 7312779.421 | 9891081.2151 | 11605016.4423 | 6088533.8662 | 6161524.7009 | 41058935.6454 | 6101590.6095 | 5410777.4568 | 5520482.1957 | 5633477.9669 | 5749863.3348 | 28416191.5638 | 5749863.6923 | 5749863.4545 | 5749864.2328 | 5749863.9118 | 5749863.0307 | 28749318.3221
| Total Base Capex |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 452388156.3351 | 468917278.5682 | 547422142.261 | 540927380.5909 | 485231133.452 | 377326277.5383 | 2419824212.4104 | 498383383.6795 | 558862209.3089 | 525480412.3811 | 516330490.7297 | 499070172.8554 | 2598126668.9545 | 496419208.3243 | 578059094.7276 | 518248822.7368 | 496647693.097 | 499544550.2166 | 2588919369.1024
Major Capex | Approved Major Capex | Constant 2024/25 $ | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 61360213.9558 | 100597761.283 | 93448601.6104 | 79247228.1107 | 135555217.8503 | 140241156.718 | 549089965.5724 | 40098626.9092 | 27882070.9389 | 22881648.4472 | 57110870.6057 | 24351854.7882 | 172325071.6892 | 0 | 0 | 29020021.4149 | 93766669.31 | 65110738.8331 | 187897429.5581
| Unallocated adjustments | Constant 2024/25 $ | [5 empty] | 0 | [10 empty] | 0 | [5 empty] | 0 | [5 empty] | 0
| Capex spend including adjustments | Constant 2024/25 $ | [5 empty] | 0 | [10 empty] | 0 | [5 empty] | 0 | [5 empty] | 0
| Under development | Constant 2024/25 $ | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 18129537.5638 | 53457349.0757 | 149275275.3937 | 180660136.57 | 262828983.2781 | 357514068.5246 | 1003735812.8421 | 620959906.1436 | 1687778126.7529 | 538887476.187 | 508229224.7108 | 540365346.2546 | 3896220080.0489 | 80083474.7142 | 159327604.8882 | 318837657.03 | 318344910.6211 | 317908495.7005 | 1194502142.9541
| Total Major Capex |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 79489751.5196 | 154055110.3586 | 242723877.0041 | 259907364.6807 | 398384201.1284 | 497755225.2425 | 1552825778.4145 | 661058533.0528 | 1715660197.6918 | 561769124.6342 | 565340095.3165 | 564717201.0428 | 4068545151.7381 | 80083474.7142 | 159327604.8882 | 347857678.4449 | 412111579.9312 | 383019234.5336 | 1382399572.5122
check
Listed projects | Total listed and other conductor replacement expenditure | Constant 2024/25 $ | [5 empty] | 0 | #REF! | #REF! | #REF! | #REF! | 0 | 912492.2459 | 25565212.6372 | 52658243.369 | 46643552.4306 | 64388879.7018 | 190168380.3845 | 49846973.1411 | 49845628.4028 | 60159546.6826 | 80260151.3953 | 85293163.5407 | 325405463.1625 | 91551608.0161 | 91553276.7275 | 91553081.5467 | 91552943.2313 | 91550941.0072 | 457761850.5288
Resilience | Resilience Uncertainty mechanism | Constant 2024/25 $ | 0 | 0 | 0 | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 0 | 7291495.7486 | 15599396.3299 | 14343932.7174 | 37234824.7959 | 8271641.4029 | 1823348.0951 | 1951504.543 | 0 | 0 | 12046494.041 | 0 | 0 | 0 | 0 | 0 | 0
| Proposed capex and opex | Nominal $m | 0 | 0 | 0 | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | 913353233.8449 | 1032192468.3708 | 1637323123.3647 | 1287092668.1608 | 1369815081.7874 | 1361133180.6138 | 6687556522.2975 | 1623426452.4429 | 3138485582.6485 | 1564897251.5756 | 1579256774.9973 | 1564834647.612 | 9470900709.2762 | 1084009478.5828 | 1660850348.1958 | 1375165568.9474 | 1417236647.8962 | 1390069913.2857 | 6927331956.908

## 2. Operating expenditure
Transpower New Zealand Ltd
2. Operating expenditure | 2025 ITP | 2025 ITP |  |  |  |  | 2025 ITP |  |  |  |  | 2025 ITP | [7 empty] | Expenditure, constant 2024/25 $m |  |  |  |  | Expenditure, constant 2024/25 $m |  |  |  |  | Expenditure, constant 2024/25 $m
| RCP3 | RCP4 |  |  |  |  | RCP5 |  |  |  |  | RCP6 |  |  |  |  | RCP4 | RCP5 | RCP6 | RCP4 |  |  |  |  | RCP5 |  |  |  |  | RCP6
Expenditure Category | 2024/25 | 2025/26 | 2026/27 | 2027/28 | 2028/29 | 2029/30 | 2030/31 | 2031/32 | 2032/33 | 2033/34 | 2034/35 | 2035/36 | 2036/37 | 2037/38 | 2038/39 | 2039/40 | RCP4 Total | RCP5 Total | RCP6 Total | 2025/26 | 2026/27 | 2027/28 | 2028/29 | 2029/30 | 2030/31 | 2031/32 | 2032/33 | 2033/34 | 2034/35 | 2035/36 | 2036/37 | 2037/38 | 2038/39 | 2039/40
Preventive Maintenance | 49747927.3945 | 52018455.2062 | 48791379.4131 | 50641646.7698 | 50636509.2514 | 50315511.0811 | 50388497.2648 | 49643405.1099 | 50449334.1142 | 50037458.4896 | 48759066.0756 | 47632578.6261 | 47632578.6261 | 47632578.6261 | 47632578.6261 | 47632578.6261 | 252403501.7216 | 249277761.0542 | 238162893.1304 | 46288004.6234 | 43801257.702 | 45388844.6143 | 45433511.9966 | 45241339.3507 | 45563441.7826 | 45096651.5589 | 46246287.7332 | 45041228.1396 | 44597928.3544 | 44597928.3544 | 44597928.3544 | 44597928.3544 | 44597928.3544 | 44597928.3544
Predictive Maintenance | 90766497.0755 | 90100264.369 | 91503661.8367 | 97733318.1099 | 94164782.0925 | 89906536.7795 | 85648563.8002 | 83841124.0958 | 86299891.5684 | 86478647.2604 | 83576181.3566 | 84934061.121 | 84934061.121 | 84934061.121 | 84934061.121 | 84934061.121 | 463408563.1875 | 425844408.0813 | 424670305.6048 | 86103848.7398 | 83716189.3366 | 89706990.3561 | 86370708.1328 | 82304649.3207 | 81912875.67 | 80017864.2343 | 81920553.3541 | 82948545.5832 | 79522950.0897 | 79522950.0897 | 79522950.0897 | 79522950.0897 | 79522950.0897 | 79522950.0897
Corrective Maintenance | 6505954.67 | 4372434.457 | 5152999.486 | 5150340.438 | 5150140.1859 | 5140592.8126 | 5138061.6284 | 5135641.3408 | 5133074.9644 | 5130775.1719 | 5128520.464 | 4919349.2319 | 4919349.2319 | 4919349.2319 | 4919349.2319 | 4919349.2319 | 24966507.3796 | 25666073.5695 | 24596746.1594 | 4829142.2232 | 4800125.0177 | 4784101.3254 | 4751936.8733 | 4726053.5711 | 4706706.1946 | 4680985.3092 | 4667215.3331 | 4636916.231 | 4605939.6934 | 4605939.6934 | 4605939.6934 | 4605939.6934 | 4605939.6934 | 4605939.6934
Proactive Maintenance | 1046030.44 | 1158933.4678 | 1153249.0151 | 1153039.1044 | 1153654.6349 | 1152610.3445 | 1152709.0574 | 1152824.5564 | 1152907.4743 | 1153034.3189 | 1153162.3714 | 1102233.8979 | 1102233.8979 | 1102233.8979 | 1102233.8979 | 1102233.8979 | 5771486.5667 | 5764637.7784 | 5511169.4896 | 1082022.0329 | 1075520.4112 | 1071930.128 | 1064723.3314 | 1058923.895 | 1054588.9041 | 1048825.8589 | 1045740.5455 | 1038951.7009 | 1032011.0695 | 1032011.0695 | 1032011.0695 | 1032011.0695 | 1032011.0695 | 1032011.0695
Resilience | 0 | 1185530.8393 | 1185530.8393 | 2467184.4152 | 1986567.5284 | 1185530.8393 | 1374578.8003 | 1374575.5962 | 2784399.8699 | 2255711.3616 | 1374578.8003 | 1512031.8742 | 1512028.67 | 3062830.5649 | 2481275.9826 | 1512031.8742 | 8010344.4615 | 9163844.4283 | 10080198.9659 | 1358356.476 | 875209.066 | 2215099.8017 | 1706006.4483 | 1442463.9095 | 1287005 | 1287002 | 2607007 | 2112001 | 1287005 | 1415701 | 1415698 | 2867699 | 2323195 | 1415701
Asset Management and Operations | 87587487.2681 | 90936879.4236 | 93323496.4138 | 94129265.3817 | 93559664.176 | 90853880.976 | 91806890.9676 | 92616125.2633 | 93414953.7266 | 94203460.1803 | 94981727.8757 | 97404456.3385 | 97404456.3385 | 97404456.3385 | 97404456.3385 | 97404456.3385 | 462803186.371 | 467023158.0135 | 487022281.6923 | 91177082.9617 | 93154743.3978 | 93768316.4871 | 93109295.5621 | 90566334.7038 | 87752035.988 | 88509489.2626 | 89257201.0032 | 89995249.689 | 90723713.2576 | 90723713.2576 | 90723713.2576 | 90723713.2576 | 90723713.2576 | 90723713.2576
Sustainability | 0 | 475148.75 | 475148.75 | 475148.75 | 475148.75 | 475148.75 | 475148.75 | 475148.75 | 475148.75 | 475148.75 | 475148.75 | 475148.75 | 475148.75 | 475148.75 | 475148.75 | 475148.75 | 2375743.75 | 2375743.75 | 2375743.75 | 475148.75 | 475148.75 | 475148.75 | 475148.75 | 475148.75 | 475148.75 | 475148.75 | 475148.75 | 475148.75 | 475148.75 | 475148.75 | 475148.75 | 475148.75 | 475148.75 | 475148.75
Business Support | 62835816.2521 | 71766376.207 | 72572105.801 | 72005041.6955 | 70143210.2923 | 68284772.905 | 68234673.5993 | 68640166.1657 | 69045542.3453 | 69434821.9554 | 69823802.3326 | 67223604.3869 | 67223604.3869 | 67223604.3869 | 67223604.3869 | 67223604.3869 | 354771506.9009 | 345179006.3982 | 336118021.9346 | 62783689.1893 | 65931920.9159 | 65490871.6215 | 63815005.8998 | 62088208.8303 | 61555432.2065 | 61910131.1133 | 62258687.1308 | 62602235.85 | 62940818.6298 | 62940818.6298 | 62940818.6298 | 62940818.6298 | 62940818.6298 | 62940818.6298
ICT Opex | 43996454.5401 | 45660921.4163 | 48341618.6262 | 50623704.3153 | 54361256.3724 | 52262646.3341 | 51036148.7926 | 51607183.879 | 53217803.6243 | 52507306.2441 | 53041873.4476 | 53303889.3052 | 53303889.3052 | 53303889.3052 | 53303889.3052 | 53303889.3052 | 251250147.0642 | 261410315.9875 | 266519446.526 | 42085826.6393 | 45154500.9463 | 47496320.3096 | 51012750.2469 | 49147992.834 | 47925223.8385 | 48485546.7054 | 50024850.8507 | 49380219.2263 | 49907922.3677 | 49907922.3677 | 49907922.3677 | 49907922.3677 | 49907922.3677 | 49907922.3677
ICT Software as a Service | 6772245.59 | 16960793.6767 | 13823369.1055 | 13348139.8856 | 12063240.2022 | 5737969.5517 | 6771317.1445 | 6771294.5858 | 6771271.9608 | 6771249.2696 | 6771226.5118 | 6779011.8092 | 6779011.8092 | 6779011.8092 | 6779011.8092 | 6779011.8092 | 61933512.4219 | 33856359.4725 | 33895059.0459 | 15076023.276 | 13343592 | 12583784 | 11465848 | 4936904 | 6347124 | 6347124 | 6347124 | 6347124 | 6347124 | 6347124 | 6347124 | 6347124 | 6347124 | 6347124
Insurance | 32216912.76 | 33671849.3852 | 36981744.9775 | 38581354.9061 | 40262624.9606 | 42003665.04 | 43839331.3615 | 45170788.6404 | 46792334.9363 | 48878424.5543 | 50668822.1875 | 50668822.1875 | 50668822.1875 | 50668822.1875 | 50668822.1875 | 50668822.1875 | 191501239.2694 | 235349701.6801 | 253344110.9375 | 33295632.066 | 34625654.552 | 36123354.0478 | 37697511.1393 | 39327630.3343 | 41046347.1758 | 42292977.9072 | 43811216.2141 | 45764401.996 | 47440734.1971 | 47440734.1971 | 47440734.1971 | 47440734.1971 | 47440734.1971 | 47440734.1971
Delivery risk adjustment per table X3 pg. 12 | [19 empty] | -2329776.9778 | -13730169.2276 | -14671442.6273 | -16359130.0614 | -14593560.298
Total Opex | 381475325.9902 | 408307587.1981 | 413304304.2643 | 426308183.7716 | 423956798.4465 | 407318865.4138 | 405865921.1666 | 406428277.9833 | 415536663.3346 | 417326037.5558 | 415754110.173 | 415955187.5283 | 415955184.3241 | 417505986.219 | 416924431.6367 | 415955187.5283 | 2079195739.0942 | 2060911010.2134 | 2082295977.2364 | 384554776.9778 | 386953862.0954 | 399104761.4415 | 396902446.3805 | 381315649.4993 | 379625929.5102 | 380151746.6998 | 388661031.9148 | 390342022.1659 | 388881295.4091 | 389009991.4091 | 389009988.4091 | 390461989.4091 | 389917485.4091 | 389009991.4091
Capitalised Leases (Cash flow/expenditure value) | [16 empty] | 0 | 0 | 0 | 10370106.4875 | 11564393.7365 | 17007233.9113 | 10316690.98 | 9396863.6279 | 9387437.4689 | 9232899.0649 | 9206944.2471 | 9179125.4872 | 9011181.6683 | 9011181.6683 | 9011181.6683 | 9011181.6683 | 9011181.6683 | 9011181.6683

## 3. Base capital expenditure
Transpower New Zealand Ltd
3. Base capital expenditure |  |  |  | Expenditure including IDC, constant 2024/25 $ |  |  |  |  | Expenditure including IDC, constant 2024/25 $ |  |  |  |  | Expenditure including IDC, constant 2024/25 $ | [5 empty] | RCP Totals |  | Expenditure including IDC, constant 2024/25 $ |  |  |  |  | Expenditure including IDC, constant 2024/25 $ |  |  |  |  | Expenditure including IDC, constant 2024/25 $ |  |  |  |  | Expenditure including IDC, constant 2024/25 $ |  |  |  |  | Expenditure including IDC, constant 2021/22 $ |  |  |  |  | Expenditure including IDC, constant 2024/25 $ |  |  |  |  | Expenditure including IDC, constant 2024/25 $ |  |  |  |  | Expenditure including IDC, constant 2024/25 $ |  |  |  |  | Expenditure including IDC, constant 2024/25 $ |  |  |  |  | Expenditure including IDC, constant 202/23 $
Capital Expenditure, constant 2024/25 $m |  |  | RCP3 | RCP4 |  |  |  |  | RCP5 |  |  |  |  | RCP6 | [7 empty] | RCP2 |  |  |  |  | RCP3 |  |  |  |  | RCP4 |  |  |  |  | RCP5 |  |  |  |  | RCP6 |  |  |  |  | RCP2 |  |  |  |  | RCP3 |  |  |  |  | RCP4 |  |  |  |  | RCP5 |  |  |  |  | RCP6
Expenditure Category | Asset Category | Asset Class | 2024/25 | 2025/26 | 2026/27 | 2027/28 | 2028/29 | 2029/30 | 2030/31 | 2031/32 | 2032/33 | 2033/34 | 2034/35 | 2035/36 | 2036/37 | 2037/38 | 2038/39 | 2039/40 | RCP4 Total | RCP5 Total | RCP6 Total | 2015/16 | 2016/17 | 2017/18 | 2018/19 | 2019/20 | 2020/21 | 2021/22 | 2024/25 | 2023/24 | 2024/25 | 2025/26 | 2026/27 | 2027/28 | 2028/29 | 2029/30 | 2030/31 | 2031/32 | 2032/33 | 2033/34 | 2034/35 | 2035/36 | 2036/37 | 2037/38 | 2038/39 | 2039/40 | 2015/16 | 2016/17 | 2017/18 | 2018/19 | 2019/20 | 2020/21 | 2021/22 | 2024/25 | 2023/24 | 2024/25 | 2025/26 | 2026/27 | 2027/28 | 2028/29 | 2029/30 | 2030/31 | 2031/32 | 2032/33 | 2033/34 | 2034/35 | 2035/36 | 2036/37 | 2037/38 | 2038/39 | 2039/40
| AC Substations | Power Transformers | 34280932.1333 | 20877301.4623 | 42949765.783 | 47032094.449 | 70460390.8905 | 43076101.9339 | 29510583.176 | 100642961.2125 | 76396279.8385 | 67718096.6533 | 30492077.3 | 15545571.3247 | 64712528.659 | 56416507.0278 | 49588947.5284 | 31229139.0069 | 224395654.5187 | 304759998.1803 | 217492693.5468 | 8872673.7057 | 14772680.8579 | 26279581.9504 | 45025862.2744 | 36324084.3876 | 22357892.4262 | 18365955.984 | 20843474.1565 | 31477107.9446 | 34422896.6739 | 27581171.5722 | 31344234.1846 | 23381525.1787 | 55556742.2428 | 71664605.433 | 18808036.3114 | 85887273.5837 | 79187283.8839 | 55530053.4945 | 27278075.2832 | 16022707.476 | 65646414.9078 | 58257085.5431 | 50897189.3907 | 31808899.2875 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
|  | Indoor Switchgear | 16395929.8818 | 11241887.0886 | 10336105.4163 | 15900915.8209 | 2099672.8283 | 6466569.9623 | 15129306.12 | 9604053.5994 | 6026783.0062 | 10528506.7995 | 10063700.9162 | 41227446.0779 | 36384088.274 | 33670686.5873 | 49321832.2173 | 45065529.2931 | 46045151.1164 | 51352350.4414 | 205669582.4497 | 1515089.0817 | 10116296.9379 | 17035132.9787 | 10750704.3185 | 8016974.494 | 8233092.3935 | 10392714.408 | 7638838.3612 | 9341251.7541 | 18331677.3678 | 11332748.6626 | 10636512.7242 | 10976073.9163 | 1998076.2014 | 6462133.0498 | 15387525.6732 | 10190752.8616 | 6362756.5914 | 11123371.1096 | 10672650.6926 | 43355605.1229 | 38369470.5608 | 35004508.9825 | 51335980.1071 | 47486890.0335 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
|  | Outdoor Switchgear | 8406595.5555 | 16690672.0865 | 29623886.3212 | 26370052.069 | 24455808.5426 | 23564897.8628 | 34649962.3804 | 22126771.8025 | 23350309.1222 | 19942080.0121 | 24117336.3342 | 33668778.8313 | 30015183.497 | 29132582.7374 | 19451792.4575 | 24192408.8821 | 120705316.8821 | 124186459.6515 | 136460746.4054 | 10717561.997 | 14391350.8919 | 10749937.4003 | 10029675.5397 | 20994089.308 | 12868130.3394 | 4863915.504 | 2470509.5295 | 4885786.3884 | 10918133.9658 | 30535567.366 | 22294887.5054 | 19704307.3651 | 19899284.0224 | 17091692.6917 | 20840189.8097 | 19511788.2171 | 18109684.1981 | 17947372.2499 | 21809814.1357 | 27271242.5447 | 25185236.8891 | 26169869.7889 | 18727381.6077 | 19110939.3708 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
|  | Structures & Buswork | 4731030.004 | 5498040.108 | 5710638.7122 | 7719551.6737 | 21326676.6962 | 6228571.7224 | 5573160.2629 | 7453467.6563 | 7598226.9569 | 6304676.9519 | 5120402.936 | 4156218.4203 | 5925849.6215 | 4992284.419 | 3417284.3279 | 3748200.9111 | 46483478.9124 | 32049934.764 | 22239837.6998 | 15228396.5528 | 5774599.878 | 1682612.8231 | 792750.256 | 930355.7272 | 984600.1258 | 176822.352 | 153774.8462 | 2203628.5194 | 6335246.4976 | 11482.8902 | 7431463.6498 | 10728508.5892 | 18307150.8715 | 4666041.7493 | 5418985.6533 | 6974409.6709 | 8165663.6258 | 6861614.7066 | 5602701.5485 | 4055905.547 | 5580782.6581 | 5202746.726 | 3512398.6543 | 3880312.0914 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
|  | Power Cables | 29848580.4052 | 41822466.287 | 10443568.04 | 6002055.3081 | 4897541.4834 | 2199219.7734 | 5201658.9342 | 12269627.6031 | 16270982.3657 | 17760042.7634 | 3668356.7795 | 296894.0683 | 546840.1393 | 1323308.943 | 1321802.2271 | 711281.6301 | 65364850.8919 | 55170668.4461 | 4200127.0079 | 38137.6447 | 390052.2741 | 124670.9287 | 423502.0615 | 223235.9424 | 1906176.0631 | 2867953.8 | 4269405.7306 | 11165503.9691 | 34764737.5056 | 28031104.7628 | 8723489.6788 | 4527567.107 | 6329131.9459 | 2267221.6863 | 1758634.8281 | 5041892.1574 | 8609744.7632 | 11056980.2266 | 1107034.324 | 483193.3109 | 896319.3948 | 2046834.332 | 1976948.4936 | 1220423.4762 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
|  | Other AC Substation Equipment | 4061044.7619 | 6459985.9905 | 8784309.8818 | 11018965.7939 | 8674767.5364 | 4701959.6877 | 8058957.5535 | 8245188.5101 | 7476616.2598 | 7511469.5458 | 6760022.6423 | 6699939.9566 | 6668020.2011 | 6357629.8589 | 6335601.6577 | 6921108.6998 | 39639988.8903 | 38052254.5115 | 32982300.374 | 2725886.5753 | 3380169.9633 | 2534301.0868 | 1955228.2557 | 5780017.8377 | 4620052.9436 | 3987616.164 | 13477212.5228 | 10621225.914 | 4556299.347 | 9912726.0823 | 5729512.4084 | 8327203.9917 | 6789129.2981 | 4326642.7327 | 8130331.9628 | 7665081.3179 | 7870358.227 | 8074573.0031 | 6914264.2138 | 6675260.0921 | 6634985.9643 | 6391680.5156 | 6381020.8868 | 7237277.7347 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
|  | Outdoor 33kV switchyards: Outdoor to Indoor Conversion | 2909732.9418 | 5419118.9628 | 1515895.2388 | 9887057.9249 | 6880716.392 | 0 | 2752144.6729 | 7315871.3857 | 208878.1 | 1409435.6437 | 3705035.6688 | 0 | 0 | 0 | 0 | 0 | 23702788.5185 | 15391365.471 | 0 | 21057880.8067 | 23038080.6576 | 18768949.0342 | 26708476.7205 | 32107794.267 | 35576873.42 | 13517256.276 | 5635502.3645 | 5203487.6321 | 12499082.923 | 19243647.6867 | 14133973.3368 | 7525416.9368 | 0 | 0 | 0 | 0 | 219500.444 | 1140218.2025 | 3014819.0143 | 0 | 0 | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Renewal | ACS Buildings & Grounds | Buildings & Grounds | 49820486.5212 | 31533512.1844 | 23893533.8698 | 15248810.0838 | 12859610.5112 | 11464088.0129 | 9330228.4111 | 10053077.9187 | 12166190.7269 | 10201207.5225 | 12504715.8877 | 12412396.4736 | 10396896.2355 | 9787575.6155 | 9399349.3462 | 9170826.706 | 94999554.6621 | 54255420.4669 | 51167044.3768 | 10542397.0043 | 9015689.3112 | 7635364.9781 | 7358778.8994 | 6542541.6166 | 8260563.8155 | 8384457.589 | 10411917.8681 | 34228209.8887 | 31267522.402 | 20738317.0217 | 17986205.3495 | 16107462.6676 | 15111321.7498 | 14256785.7059 | 11309452.462 | 10323612.2517 | 11700303.8586 | 9943561.0264 | 12659615.5945 | 9993226.4037 | 10694934.5407 | 10309056.42 | 10009004.2287 | 9501706.3931 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Transmission Lines | Structures & Insulators | 95472465.2809 | 98586410.4206 | 102159443.5968 | 110860775.976 | 117000383.4243 | 118923097.1194 | 112036301.841 | 113976330.9918 | 115547124.9564 | 116218141.9972 | 117147178.878 | 117950025.7787 | 119380953.2684 | 122584695.6651 | 122760104.7544 | 125943086.7207 | 547530110.5372 | 574925078.6645 | 608618866.1873 | 52426326.8957 | 59010587.454 | 64370584.2492 | 65789422.5619 | 63980708.5075 | 66313188.1293 | 56882789.652 | 59888219.1117 | 72232522.1691 | 76538349.4325 | 98921535.7091 | 101018876.4751 | 105545314.4607 | 107204666.4896 | 106294487.6089 | 105306656.4727 | 109011283.9865 | 111404000.1209 | 112067226.9522 | 112607926.7019 | 113086353.1313 | 115023516.1513 | 119128734.7843 | 119559404.2785 | 122076465.5199 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
|  | Conductor & hardware | 10023589.8844 | 24586017.145 | 28121640.9546 | 33571629.9086 | 31613751.3196 | 14882489.9382 | 37531549.8236 | 37496172.8173 | 44749911.383 | 52560291.8358 | 78251505.7664 | 71926716.5606 | 67145669.3428 | 71435463.7031 | 71077060.3544 | 68165663.5485 | 132775529.266 | 250589431.6261 | 349750573.5094 | 8061420.9283 | 6094825.0205 | 10230582.2805 | 17715546.5566 | 25007545.8006 | 15404766.2339 | 11387238.144 | 18314893.6851 | 23494049.9694 | 26011319.3993 | 20377087.3916 | 29937744.2662 | 20508513.1989 | 25573656.5369 | 52110323.0937 | 39159670.2081 | 38698318.3471 | 44190425.089 | 53087541.7477 | 64374456.5622 | 75210734.369 | 69848272.1765 | 73558961.0499 | 73388224.1863 | 70993518.2471 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
|  | Grillage | 9744615.7182 | 12562437.7542 | 9364816.5398 | 9668854.5059 | 9769272.9161 | 9394204.7425 | 9872351.6713 | 10451898.3926 | 12056377.4011 | 11915401.1784 | 10821456.9216 | 9431610.3383 | 9432014.4467 | 9432263.5406 | 9432515.8182 | 9432603.2307 | 50759586.4585 | 55117485.5649 | 47161007.3744 | 12649471.5574 | 12150973.3146 | 11106778.9553 | 9990631.7489 | 10438049.5424 | 8665526.7991 | 7707244.428 | 5873322.1267 | 15684394.6488 | 11222861.6056 | 9330104.3297 | 9302497.2974 | 9304261.7319 | 9304769.1122 | 9306322.8897 | 10068609.4339 | 10674918.0578 | 12340114.4112 | 12246264.5887 | 11157282.4407 | 9615023.1613 | 9615252.1661 | 9615247.144 | 9615244.0931 | 9615022.066 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
|  | Foundation and Access | 21440966.128 | 18055744.3354 | 9174192.5924 | 6705626.6082 | 3574207.9168 | 3575040.5267 | 5536873.0497 | 4151712.1764 | 4151849.8513 | 4151905.1953 | 4151950.5415 | 4314231.8432 | 4314369.55 | 4314414.9726 | 4314461.0428 | 4314423.5787 | 41084811.9795 | 22144290.8141 | 21571900.9873 | 3176317.7953 | 2500334.9654 | 4225513.3103 | 1587406.9264 | 2294914.411 | 1990467.1266 | 6501809.916 | 7741335.2587 | 16178330.6025 | 12988379.5786 | 5159169.8553 | 7766553.3167 | 7169644.6763 | 4462712.2269 | 3933994.0797 | 4289840.0467 | 4290067.357 | 4289840.4845 | 4289843.7695 | 4289842.2655 | 4460596.3368 | 4460716.7957 | 4460714.3463 | 4460719.1793 | 4460591.6754 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| HVDC & reactive assets | HVDC | 21226120.3647 | 12822078.1937 | 14932357.3712 | 28238854.1159 | 14692631.2279 | 8616222.35 | 24345189.1616 | 23545965.3186 | 21302511.943 | 20686971.662 | 20686876.9376 | 8071038.0464 | 8092262.8173 | 8092243.2208 | 8092229.2414 | 8092099.1697 | 79302143.2586 | 110567515.0227 | 40439872.4957 | 3025788.664 | 578240.725 | 3751280.4697 | 6451659.7574 | 18544146.4655 | 7915566.0866 | 3542820.864 | 12837581.1624 | 28664182.2542 | 17700211.9034 | 14886782.6113 | 29075322.1771 | 25431689.6147 | 9373600.1537 | 7245757.4206 | 22669872.662 | 23411662.6736 | 21733063.6053 | 21733068.2577 | 21733076.6443 | 8472095.5632 | 8501577.1283 | 8501573.6467 | 8501573.2994 | 8501402.8273 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
|  | Reactive Assets | 10472704.2238 | 14232013.3913 | 25165613.8733 | 21004875.512 | 21400469.9254 | 9501285.8312 | 14382089.595 | 17711497.8169 | 15593791.0226 | 6239164.3158 | 9337712.5739 | 5478750.0612 | 4030067.4194 | 3826819.6876 | 7627458.5994 | 10801357.1424 | 91304258.5333 | 63264255.3242 | 31764452.91 | 2176307.8772 | 871657.7581 | 3652583.9497 | 2279540.213 | 3614210.0879 | 2494779.8239 | 1171889.7 | 5611903.3881 | 12722072.1591 | 19134938.7319 | 9614051.9068 | 13456400.4498 | 13858462.6488 | 26899077.2632 | 22450869.1864 | 8657670.4562 | 10678845.3336 | 11319867.598 | 7077098.6212 | 8677171.3013 | 5907023.2862 | 3851779.6604 | 3876560.1111 | 8005898.3336 | 8584200.7262 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Secondary Assets | Protection, battery systems and Revenue Meters | 34671649.245 | 47675754.6095 | 72236339.4003 | 67242928.009 | 46672847.4257 | 47454317.1463 | 50122820.1946 | 56249622.623 | 48100424.688 | 51176101.4012 | 41009176.3272 | 40688118.6046 | 62888692.3478 | 27491624.5989 | 21685249.0812 | 42798317.7357 | 281282186.5908 | 246658145.2339 | 195552002.3682 | 14780798.8252 | 13908076.1365 | 12311997.9928 | 20984623.0568 | 27002767.6599 | 34343703.425 | 27353903.292 | 31809741.1902 | 38540345.2852 | 40285536.3404 | 50916078.043 | 67172456.507 | 54983542.2317 | 48718296.8791 | 51907637.0213 | 43381684.7298 | 55022653.3046 | 49217693.6917 | 52310724.9586 | 41485090.3844 | 43897297.4173 | 66040179.7394 | 26842079.5737 | 20249166.5221 | 40107183.7067 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
|  | Substation Management Systems | 9019203.3815 | 4242901.0218 | 4348880.3139 | 5971368.3209 | 11085047.8045 | 2809529.3189 | 10904845.75 | 4928393.8934 | 6877853.6103 | 4008684.6839 | 5678475.1422 | 3524306.1557 | 11315107.7569 | 2989539.0252 | 4666458.3141 | 1878106.6068 | 28457726.78 | 32398253.0798 | 24373517.8587 | 8720333.5655 | 12551262.651 | 18828177.4946 | 21501522.9276 | 18003082.4521 | 19342605.9771 | 13125737.088 | 12708631.2914 | 13533026.7759 | 5653739.339 | 5190963.7975 | 7052592.4435 | 4725068.1942 | 6484598.7045 | 3861505.2179 | 5694669.6686 | 3608721.6122 | 7485738.43 | 4237841.728 | 6284619.8408 | 6084816.0101 | 6060541.0068 | 2526738.7027 | 6003516.7373 | 2017665.4391 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Enhancement and Development | Grid E&D | Grid E&D | 30278987.6751 | 16761467.841 | 21536482.3868 | 27171924.1333 | 26597600.7422 | 21625382.8967 | 41012938.5125 | 26332201.7567 | 23377601.2858 | 23583176.6664 | 30970062.7533 | 37249819.9001 | 52964012.5269 | 42480803.9165 | 24159348.705 | 22977976.5646 | 113692858 | 145275980.9748 | 179831961.6131 | 4617819.011 | 17148816.9206 | 18657341.4267 | 36917470.6813 | 43651949.6473 | 13277376.0754 | 14396794.86 | 28597366.4026 | 50241240.8505 | 19087896.1091 | 17588125.4847 | 22598638.6341 | 28512014.3324 | 27909365.9268 | 22691923.622 | 25344145.0546 | 25671608.2719 | 25855318.1608 | 24958467.5651 | 24182810.1248 | 24184848.8111 | 24181742.6027 | 24115489.8892 | 24115477.565 | 24115000.1013 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Resilience | Resilience | Resilience | 2083454.2565 | 6997712.4191 | 37585152.3191 | 31765630.8935 | 29796435.9784 | 21397007.9879 | 38766004.9066 | 38950697.137 | 38912624.7417 | 38988392.6399 | 39034328.4884 | 38409874.2408 | 38485176.3972 | 38566656.8299 | 38650019.7081 | 38705051.7893 | 127541939.5979 | 194652047.9136 | 192816778.9653 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 565095.1149 | 33658625.1781 | 33677902.899 | 24407421.5744 | 24465382.9901 | 24505405.6866 | 40712975.684 | 40822013.9184 | 40919233.1107 | 41028024.2295 | 41095948.3357 | 40339868.8351 | 40446796.8626 | 40562090.0291 | 40681679.8476 | 40760742.849 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
ICT capex | ICT | ICT including XaaS | 47602461.19 | 65538977.8456 | 79648438.4349 | 47940393.0422 | 15284766.0241 | 15284766.0241 | 37564827.0531 | 41945919.2401 | 39795592.9259 | 39793265.2947 | 39799936.7258 | 39617607.9496 | 39611498.7722 | 39603858.155 | 39596313.8039 | 39647505.9698 | 223697341.3708 | 198899541.2395 | 198076784.6505 | 34419358.5841 | 45991229.224 | 30107444.3124 | 42168146.9688 | 47848317.6112 | 34159391.87 | 27129426.6517 | 20264484.5455 | 31167652.0478 | 51428365.3758 | 58234067.9268 | 65474182.9747 | 50433125.0948 | 28589952.4048 | 20966012.9697 | 33258419.4886 | 33258419.1013 | 33258420.591 | 33258419.7412 | 33258419.2668 | 33072781.428 | 33072782.1822 | 33072785.6176 | 33072784.9078 | 33072780.4508 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Business support Capex | Business support | Business support | 9897606.7822 | 7312779.421 | 9891081.2151 | 11605016.4423 | 6088533.8662 | 6161524.7009 | 6101590.6095 | 5410777.4568 | 5520482.1957 | 5633477.9669 | 5749863.3348 | 5749863.6923 | 5749863.4545 | 5749864.2328 | 5749863.9118 | 5749863.0307 | 41058935.6454 | 28416191.5638 | 28749318.3221 | 3339935.3097 | 11350782.4674 | 14200658.0604 | 3395298.9006 | 5413770.1403 | 3260771.8211 | 4629921.5314 | 3657473.1025 | 7647590.0621 | 5045483.8336 | 8020069.4287 | 9987408.5239 | 3863209.6463 | 4547610.9402 | 4547578.2416 | 6110886.2985 | 5419020.8221 | 5528892.4185 | 5642061.0059 | 5758623.6335 | 5758623.5854 | 5758623.554 | 5758624.0316 | 5758623.8654 | 5758623.362 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Total capex |  |  | 452388156.3351 | 468917278.5682 | 547422142.261 | 540927380.5909 | 485231133.452 | 377326277.5383 | 498383383.6795 | 558862209.3089 | 525480412.3811 | 516330490.7297 | 499070172.8554 | 496419208.3243 | 578059094.7276 | 518248822.7368 | 496647693.097 | 499544550.2166 | 2419824212.4104 | 2598126668.9545 | 2588919369.1024 | 218091902.3818 | 263035707.409 | 276253493.6818 | 331826248.6249 | 376718555.9064 | 301975524.8953 | 236386268.204 | 272205586.6441 | 419231608.835 | 438757773.4465 | 479283427.707 | 514800854.8019 | 450020333.1577 | 447524525.9598 | 450556940.0869 | 426308256.9041 | 506162342.8463 | 507767903.3036 | 493614327.1844 | 463964242.3087 | 477947202.4323 | 539869924.9419 | 495401381.2343 | 496252236.1843 | 490309645.358 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
|  |  | 446767621.3897 | 478289525.2633 | 537818839.3111 | 532176742.6402 | 463098439.6737 | 367428606.9553 | 488492302.4643 | 547257192.8666 | 519391878.5149 | 510168966.0288 | 492968582.2459 | 491008430.8674 | 572538612.5319 | 512615344.77 | 490897829.7622 | 493794686.5243 | 2407134280.683 | 2592376805.0428 | 2583169506.0717
Summary Base Capex
Renewal | Substations |  | 100633845.6836 | 108009471.9857 | 109364169.3933 | 123930693.0394 | 138795574.3695 | 86237320.9425 | 100875773.0999 | 167657941.7697 | 137328075.6493 | 131174308.3698 | 83926932.577 | 101594848.679 | 144252510.392 | 131892999.5734 | 129437260.416 | 111867668.4231 | 566337229.7304 | 620963031.4657 | 619045287.4836 | 60155626.3639 | 71863231.4607 | 77175186.2021 | 95686199.4262 | 104376551.9639 | 86546817.7116 | 54172234.488 | 54488717.5112 | 74897992.1216 | 121828074.2806 | 126648449.0229 | 100294073.4879 | 85170603.0849 | 108879514.5821 | 106478337.3427 | 70343704.2384 | 135271197.8086 | 128524991.7334 | 111734182.9927 | 76399359.2122 | 97863914.0936 | 142313210.3749 | 133072725.888 | 132830919.1401 | 110744741.9941 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Buildings & Grounds |  | 49820486.5212 | 31533512.1844 | 23893533.8698 | 15248810.0838 | 12859610.5112 | 11464088.0129 | 9330228.4111 | 10053077.9187 | 12166190.7269 | 10201207.5225 | 12504715.8877 | 12412396.4736 | 10396896.2355 | 9787575.6155 | 9399349.3462 | 9170826.706 | 94999554.6621 | 54255420.4669 | 51167044.3768 | 10542397.0043 | 9015689.3112 | 7635364.9781 | 7358778.8994 | 6542541.6166 | 8260563.8155 | 8384457.589 | 10411917.8681 | 34228209.8887 | 31267522.402 | 20738317.0217 | 17986205.3495 | 16107462.6676 | 15111321.7498 | 14256785.7059 | 11309452.462 | 10323612.2517 | 11700303.8586 | 9943561.0264 | 12659615.5945 | 9993226.4037 | 10694934.5407 | 10309056.42 | 10009004.2287 | 9501706.3931 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Transmission Lines |  | 136681637.0115 | 153790609.6552 | 148820093.6835 | 160806886.9987 | 161957615.5768 | 146774832.3269 | 164977076.3856 | 166076114.378 | 176505263.5918 | 184845740.2067 | 210372092.1075 | 203622584.5209 | 200273006.6079 | 207766837.8813 | 207584141.9698 | 207855777.0786 | 772150038.2411 | 902776286.6696 | 1027102348.0584 | 76313537.1768 | 79756720.7545 | 89933458.7953 | 95083007.7937 | 101721218.2616 | 92373948.2889 | 82479082.14 | 91817770.1821 | 127589297.3899 | 126760910.0159 | 133787897.2856 | 148025671.3555 | 142527734.0678 | 146545804.3656 | 171645127.672 | 158824776.1613 | 162674587.7484 | 172224380.1056 | 181690877.0581 | 192429507.9703 | 202372706.9985 | 198947757.2897 | 206763657.3245 | 207023591.7372 | 207145597.5084 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| HVDC & reactive assets |  | 31698824.5885 | 27054091.585 | 40097971.2444 | 49243729.6279 | 36093101.1533 | 18117508.1812 | 38727278.7566 | 41257463.1355 | 36896302.9656 | 26926135.9778 | 30024589.5114 | 13549788.1077 | 12122330.2367 | 11919062.9084 | 15719687.8409 | 18893456.3121 | 170606401.7919 | 173831770.3469 | 72204325.4058 | 5202096.5412 | 1449898.4831 | 7403864.4194 | 8731199.9704 | 22158356.5535 | 10410345.9105 | 4714710.564 | 18449484.5505 | 41386254.4133 | 36835150.6353 | 24500834.518 | 42531722.6269 | 39290152.2636 | 36272677.4169 | 29696626.6071 | 31327543.1182 | 34090508.0071 | 33052931.2033 | 28810166.8789 | 30410247.9457 | 14379118.8494 | 12353356.7887 | 12378133.7578 | 16507471.633 | 17085603.5534 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Secondary Assets |  | 43690852.6265 | 51918655.6313 | 76585219.7141 | 73214296.3299 | 57757895.2303 | 50263846.4652 | 61027665.9446 | 61178016.5163 | 54978278.2983 | 55184786.0851 | 46687651.4694 | 44212424.7603 | 74203800.1047 | 30481163.6241 | 26351707.3954 | 44676424.3425 | 309739913.3707 | 279056398.3138 | 219925520.2269 | 23501132.3907 | 26459338.7875 | 31140175.4874 | 42486145.9844 | 45005850.112 | 53686309.4022 | 40479640.38 | 44518372.4816 | 52073372.0612 | 45939275.6795 | 56107041.8405 | 74225048.9505 | 59708610.4259 | 55202895.5837 | 55769142.2392 | 49076354.3984 | 58631374.9167 | 56703432.1218 | 56548566.6866 | 47769710.2252 | 49982113.4275 | 72100720.7462 | 29368818.2764 | 26252683.2594 | 42124849.1458 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Total Renewal |  |  | 362525646.4313 | 372306341.0416 | 398760987.9052 | 422444416.0797 | 407463796.8411 | 312857595.9287 | 374938022.5978 | 446222613.7182 | 417874111.232 | 408332178.1619 | 383515981.5531 | 375392042.5415 | 441248543.5768 | 391847639.6026 | 388492146.9682 | 392464152.8623 | 1913833137.7962 | 2030882907.2629 | 1989444525.5514 | 175714789.4769 | 188544878.7969 | 213288049.8824 | 249345332.0742 | 279804518.5076 | 251277985.1287 | 190230125.161 | 219686262.5935 | 330175125.8747 | 362630933.0132 | 361782539.6887 | 383062721.7702 | 342804562.5097 | 362012213.698 | 377846019.5669 | 320881830.3784 | 400991280.7326 | 402206039.0226 | 388727354.6426 | 359668440.9479 | 374591079.7727 | 436409979.7402 | 391892391.6667 | 392623669.9985 | 386602498.5948 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Other | E&D |  | 30278987.6751 | 16761467.841 | 21536482.3868 | 27171924.1333 | 26597600.7422 | 21625382.8967 | 41012938.5125 | 26332201.7567 | 23377601.2858 | 23583176.6664 | 30970062.7533 | 37249819.9001 | 52964012.5269 | 42480803.9165 | 24159348.705 | 22977976.5646 | 113692858 | 145275980.9748 | 179831961.6131 | 4617819.011 | 17148816.9206 | 18657341.4267 | 36917470.6813 | 43651949.6473 | 13277376.0754 | 14396794.86 | 28597366.4026 | 50241240.8505 | 19087896.1091 | 17588125.4847 | 22598638.6341 | 28512014.3324 | 27909365.9268 | 22691923.622 | 25344145.0546 | 25671608.2719 | 25855318.1608 | 24958467.5651 | 24182810.1248 | 24184848.8111 | 24181742.6027 | 24115489.8892 | 24115477.565 | 24115000.1013 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Resilience |  | 2083454.2565 | 6997712.4191 | 37585152.3191 | 31765630.8935 | 29796435.9784 | 21397007.9879 | 38766004.9066 | 38950697.137 | 38912624.7417 | 38988392.6399 | 39034328.4884 | 38409874.2408 | 38485176.3972 | 38566656.8299 | 38650019.7081 | 38705051.7893 | 127541939.5979 | 194652047.9136 | 192816778.9653 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 565095.1149 | 33658625.1781 | 33677902.899 | 24407421.5744 | 24465382.9901 | 24505405.6866 | 40712975.684 | 40822013.9184 | 40919233.1107 | 41028024.2295 | 41095948.3357 | 40339868.8351 | 40446796.8626 | 40562090.0291 | 40681679.8476 | 40760742.849 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| ICT |  | 47602461.19 | 65538977.8456 | 79648438.4349 | 47940393.0422 | 15284766.0241 | 15284766.0241 | 37564827.0531 | 41945919.2401 | 39795592.9259 | 39793265.2947 | 39799936.7258 | 39617607.9496 | 39611498.7722 | 39603858.155 | 39596313.8039 | 39647505.9698 | 223697341.3708 | 198899541.2395 | 198076784.6505 | 34419358.5841 | 45991229.224 | 30107444.3124 | 42168146.9688 | 47848317.6112 | 34159391.87 | 27129426.6517 | 20264484.5455 | 31167652.0478 | 51428365.3758 | 58234067.9268 | 65474182.9747 | 50433125.0948 | 28589952.4048 | 20966012.9697 | 33258419.4886 | 33258419.1013 | 33258420.591 | 33258419.7412 | 33258419.2668 | 33072781.428 | 33072782.1822 | 33072785.6176 | 33072784.9078 | 33072780.4508 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Business support capex |  | 9897606.7822 | 7312779.421 | 9891081.2151 | 11605016.4423 | 6088533.8662 | 6161524.7009 | 6101590.6095 | 5410777.4568 | 5520482.1957 | 5633477.9669 | 5749863.3348 | 5749863.6923 | 5749863.4545 | 5749864.2328 | 5749863.9118 | 5749863.0307 | 41058935.6454 | 28416191.5638 | 28749318.3221 | 3339935.3097 | 11350782.4674 | 14200658.0604 | 3395298.9006 | 5413770.1403 | 3260771.8211 | 4629921.5314 | 3657473.1025 | 7647590.0621 | 5045483.8336 | 8020069.4287 | 9987408.5239 | 3863209.6463 | 4547610.9402 | 4547578.2416 | 6110886.2985 | 5419020.8221 | 5528892.4185 | 5642061.0059 | 5758623.6335 | 5758623.5854 | 5758623.554 | 5758624.0316 | 5758623.8654 | 5758623.362 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Total Base Capex |  |  | 452388156.3351 | 468917278.5682 | 547422142.261 | 540927380.5909 | 485231133.452 | 377326277.5383 | 498383383.6795 | 558862209.3089 | 525480412.3811 | 516330490.7297 | 499070172.8554 | 496419208.3243 | 578059094.7276 | 518248822.7368 | 496647693.097 | 499544550.2166 | 2419824212.4104 | 2598126668.9545 | 2588919369.1024 | 218091902.3818 | 263035707.409 | 276253493.6818 | 331826248.6249 | 376718555.9064 | 301975524.8953 | 236386268.204 | 272205586.6441 | 419231608.835 | 438757773.4465 | 479283427.707 | 514800854.8019 | 450020333.1577 | 447524525.9598 | 450556940.0869 | 426308256.9041 | 506162342.8463 | 507767903.3036 | 493614327.1844 | 463964242.3087 | 477947202.4323 | 539869924.9419 | 495401381.2343 | 496252236.1843 | 490309645.358 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!

## 4. MCP, Listed & other UM
Transpower New Zealand Ltd
4. RCP4 Major, Listed and other projects and outputs |  |  | Expenditure including IDC, constant 2024/25 $ |  |  |  |  | Expenditure including IDC, constant 2024/25 $ |  |  |  |  | Expenditure including IDC, constant 2024/25 $ |  |  |  |  | Expenditure including IDC, constant 2024/25 $
Major, Listed and other Capital Projects including IDC, constant 2024/25 $m |  |  | RCP4 |  |  |  |  | RCP5 |  |  |  |  | RCP6 |  |  |  |  | RCP3 | RCP4 | RCP5 | RCP6
Spend basis $m | Expenditure Category | 2024/25 | 2025/26 | 2026/27 | 2027/28 | 2028/29 | 2029/30 | 2030/31 | 2031/32 | 2032/33 | 2033/34 | 2034/35 | 2035/36 | 2036/37 | 2037/38 | 2038/39 | 2039/40 | RCP3 Total | RCP4 Total | RCP5 Total | RCP6 Total
Approved Major Capex | Waikato & Upper North Island (WUNI) Voltage mgt Stage 1 Statcom | 26830954.5344 | 7413952.8897 | 251626.649 | 11915139.6586 | 89796203.0981 | 121122368.6651 | 11798047.6376 | 22557401.644 | 22666681.4472 | 57110870.6057 | 24351854.7882 | 0 | 0 | 29020021.4149 | 93766669.31 | 65110738.8331 | 26830954.5344 | 230499290.9605 | 138484856.1227 | 187897429.5581
| Net Zero Grid Pathways - Stage 1.1 | 34023008.9959 | 93052153.1443 | 93196974.9614 | 62330338.5638 | 31847862.4087 | 2288064.9673 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 34023008.9959 | 282715394.0454 | 0 | 0
| Western Bay of Plenty Capacity | 0 | 0 | 0 | 5001749.8883 | 13911152.3436 | 16830723.0856 | 28300579.2716 | 5324669.2949 | 214967 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 35743625.3175 | 33840215.5665 | 0
| Other approved major capex | 13046.4381 | 18115.6829 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13046.4381 | 18115.6829 | 0 | 0
| Upper North Island Dynamic Reactive Support | 55322.1493 | 36097.8819 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 55322.1493 | 36097.8819 | 0 | 0
| BOB-OTA Bombay Otahuhu Regional | 437881.8381 | 77441.6842 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 437881.8381 | 77441.6842 | 0 | 0
| Total approved major capital projects expenditure | 61360213.9558 | 100597761.283 | 93448601.6104 | 79247228.1107 | 135555217.8503 | 140241156.718 | 40098626.9092 | 27882070.9389 | 22881648.4472 | 57110870.6057 | 24351854.7882 | 0 | 0 | 29020021.4149 | 93766669.31 | 65110738.8331 | 61360213.9558 | 549089965.5724 | 172325071.6892 | 187897429.5581
| Redclyffe 220 kV Rebuild | 0 | 2131526.7946 | 25666813.7916 | 17385987.7915 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 45184328.3776 | 0 | 0
| Upper South Island upgrade - Stage 2 | 0 | 9108671.4966 | 68945179.3922 | 66797681.3438 | 9783653.4893 | 3050128.9786 | 0 | 0 | 14897447.2052 | 15527840.5976 | 35846106.0537 | 13052784.3532 | 0 | 0 | 0 | 0 | 0 | 157685314.7007 | 66271393.8565 | 13052784.3532
| HVDC capacity upgrade | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1400000000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1400000000 | 0
| Waikato regional interconnecting capacity | 0 | 0 | 2651311.7491 | 10111912.5494 | 11215404.6963 | 1404916.9786 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 25383545.9734 | 0 | 0
Major capex under development | ENC Regional capacity | 0 | 0 | 0 | 0 | 0 | 13240489.5948 | 75907656.5219 | 168187535.262 | 327347130.8778 | 378460505.5582 | 411864968.9608 | 0 | 0 | 0 | 0 | 0 | 0 | 13240489.5948 | 1361767797.1808 | 0
| NZGP 1.2 HVDC Capacity increase & cable replacement | 18065350.8388 | 42217150.7845 | 52011970.4608 | 81342135.8433 | 192214640.4965 | 278116544.0198 | 545052249.6216 | 113800381.2345 | 185996552.5935 | 89998292.6923 | 69634565.5559 | 0 | 0 | 0 | 0 | 0 | 18065350.8388 | 645902441.6049 | 1004482041.6979 | 0
| NZGP Wairakei Ring transmission constraint | 64186.725 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 64186.725 | 0 | 0 | 0
| Southland Regional Capacity | 0 | 0 | 0 | 4309627.458 | 31593129.9456 | 30983377.8356 | 0 | 5790210.2564 | 10646345.5105 | 24242585.8626 | 23019705.6842 | 67030690.3611 | 159327604.8882 | 318837657.03 | 318344910.6211 | 317908495.7005 | 0 | 66886135.2392 | 63698847.3137 | 1181449358.601
| Tararua Regional Upgrade | 0 | 0 | 0 | 712791.584 | 18022154.6504 | 30718611.1171 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49453557.3515 | 0 | 0
| Total major capital projects expenditure under development | 18129537.5638 | 53457349.0757 | 149275275.3937 | 180660136.57 | 262828983.2781 | 357514068.5246 | 620959906.1436 | 1687778126.7529 | 538887476.187 | 508229224.7108 | 540365346.2546 | 80083474.7142 | 159327604.8882 | 318837657.03 | 318344910.6211 | 317908495.7005 | 18129537.5638 | 1003735812.8421 | 3896220080.0489 | 1194502142.9541
Listed projects | Haywards bus rationalisation | 0 | 0 | 4497610.9706 | 10894025.5832 | 18059104.4177 | 10165606.3213 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 43616347.2928 | 0 | 0
| Huntly-Õtãhuhu A reconductoring | 0 | 0 | 0 | 0 | 9523689.4818 | 28218529.6753 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 37742219.1571 | 0 | 0
| Õtãhuhu-Whakamaru A and B reconductoring | 0 | 912492.2459 | 21067601.6666 | 29405478.6357 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 51385572.5482 | 0 | 0
| Rangipō gas insulated switchgear replacement | 0 | 0 | 0 | 12358739.15 | 19060758.5311 | 26004743.7053 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 57424241.3864 | 0 | 0
| RCP5 and 6 reconductoring | 0 | 0 | 0 | 0 | 0 | 0 | 49846973.1411 | 49845628.4028 | 60159546.6826 | 80260151.3953 | 85293163.5407 | 91551608.0161 | 91553276.7275 | 91553081.5467 | 91552943.2313 | 91550941.0072 | 0 | 0 | 325405463.1625 | 457761850.5288
| Total listed and other conductor replacement expenditure | 0 | 912492.2459 | 25565212.6372 | 52658243.369 | 46643552.4306 | 64388879.7018 | 49846973.1411 | 49845628.4028 | 60159546.6826 | 80260151.3953 | 85293163.5407 | 91551608.0161 | 91553276.7275 | 91553081.5467 | 91552943.2313 | 91550941.0072 | 0 | 190168380.3845 | 325405463.1625 | 457761850.5288
Resilience | Resilience Uncertainty mechanism | 0 | 0 | 0 | 7291495.7486 | 15599396.3299 | 14343932.7174 | 8271641.4029 | 1823348.0951 | 1951504.543 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 37234824.7959 | 12046494.041 | 0
| Total other uncertainty mechanisms | 0 | 0 | 0 | 7291495.7486 | 15599396.3299 | 14343932.7174 | 8271641.4029 | 1823348.0951 | 1951504.543 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 37234824.7959 | 12046494.041 | 0
Total Major, Listed and Other projects |  | 79489751.5196 | 154967602.6045 | 268289089.6414 | 319857103.7983 | 460627149.8889 | 576488037.6618 | 719177147.5968 | 1767329174.1897 | 623880175.8599 | 645600246.7117 | 650010364.5835 | 171635082.7303 | 250880881.6158 | 439410759.9916 | 503664523.1625 | 474570175.5408 | 79489751.5196 | 1780228983.5949 | 4405997108.9417 | 1840161423.0409

## 5. Major capex - outputs
Transpower New Zealand Ltd
1. Major capital expenditure - outputs
This schedule presents outputs for both approved and under development major capex projects. For more details refer to Chapter 4 of the Transmission Planning Report
Projects | Outputs | Status | Estimated cost (nominal) | Commissioning date (estimate)
Approved MCP
Stage 1 - Waikato and Upper North Island Voltage Management | 1) one dynamic reactive device in the Upper North Island capable of delivering (within 10%) 150 Mvar capacitive to 150 Mvar inductive at nominal voltage 2) one dynamic reactive device in the Waikato capable of delivering (within 10%) 150 Mvar capacitive to 150 Mvar inductive at nominal voltage 3) a post-fault demand management scheme for the Waikato Upper North Island region 4) preparatory works for Stage 2, including additional investigation, consultation, obtaining property rights and environmental approvals, design work and non-binding tendering for future series capacitors and installation works on the BrownhillWhakamaru 1&2 transmission lines (BHL-WKM lines) | In progress | $143m | 2028-12-01
Net Zero Grid Pathways Stage 1 | 1) HVDC upgrade: installing reactive plant, filter banks and associated equipment to upgrade inter-island HVDC link north transfer availability from 1071 MW to closer to 1200 MW; 2) Central North Island upgrade: increasing transfer capacity north from Bunnythorpe by between 60% to 90% by installing variable line rating and tactical thermal upgrade of Tokaanu-Whakamaru lines and to Bunnythorpe-Tokaanu circuits; duplexing Tokaanu-Whakamaru circuits with Goat conductor; upgrading protection on Huntly-Stratford circuit; replacing the special protection scheme at Tokaanu; and splitting the Bunnythorpe-Ongarue circuit; 3) Wairakei ring upgrade: increasing transmission capacity by 25% (300 MW) under typical operating conditions by installing tactical thermal upgrading on both circuits of Wairakei-Whakamaru C line and the Edgecumbe-Kawerau 3 circuit on the Ohakuri-Edgecumbe A and Kawerau-Deviation lines; and splitting the Edgecumbe-Kawerau circuit; 4) Preparedness projects: carry out the investigation and design of a number of possible stage two projects. | In progress | $392.9m | 2028-06-01
Western Bay of Plenty | 1 install a new 220kV/110kV interconnecting transformer at Kaitemako; 2 reconductor the interconnection section of the Kaitemako-Tauranga 110kV line to a rating of 200MVA; 3 reconductor the Okere-Te Matai, Okere-Tarukenga, and Kaitemako-Te Matai 110kV lines to a rating of 195 MVA; and 4 fund a development NTS.5 | In progress | $86.1m | 1938-06-01
Unapproved MCP – under investigation
Redcylffe Substation | Reslience work and raising the site to mitigate flood risk | Ready for submission | $43m | TBC
Upper South Island voltage stability | Increase capacity and maintain voltage stability through construction of switching stations | Under invesitation | $155m | TBC
HVDC capacity upgrade | Install replacement undersea cables which are coming to end of life | Under determination (current estimate) | $1,400m | 2032
Waikato and Upper North Island Voltage Management (WUNI) Stage2 | Addressing thermal and voltage constraints following on from the WUNI (stage 1) investments. Solution is costed as a series capacitor on the Brownhill– Whakamaru circuits | Investigation currently underway | $90m | 2025
HVDC capacity upgrade | Possible capacity increase, risk-based replacement of existing cables, and improve link reliability. | Investigation currently underway | $150m - $300m | 2031
Unapproved Major Capex Projects – investigation scheduled for options analysis
Upper South Island voltage stability | Stages 1 and 2 were approved in 2013-14, and included a 6th 220 kV bus section at Islington and land purchase and consenting for switching stations at Rangitata and Orari. | Investigation to start in 20/21 | $72m | 2027
The upcoming investigation will evaluate options (including bussing the 220 kV Waitaki Valley-Christchurch circuits at Orari and Rangitata) to increase the voltage stability constraint on transmission into the upper South Island.
Waikato 220/110 kV interconnection capacity | Evaluate options to resolve n-1 constraints on the 220/110 kV interconnecting transformers at Hamilton, particularly during low generation on the Waikato 110 kV network. Additionally, this presents an opportunity to look at increasing security of supply to the Waikato region as it is currently supplied on n- security during outages on 220 kV circuits and 220/110 kV interconnectors. | Investigation to start 21/22 | $30m | 2025
Note on A10: Author: https://comcom.govt.nz/__data/assets/pdf_file/0027/344583/Transpower-Net-Zero-Grid-Pathways-stage-one-Final-decision-and-reasons-paper-28-February-2024.pdf See point 4.32 AND https://www.transpower.co.nz/projects/net-zero-grid-pathways-programme-nzgp

## 6. Identified programmes
Transpower New Zealand Ltd
5. Identified Programmes
Capex
The Capex Input Methodology (Capex IM) requires Transpower to agree with the Commerce Commission a set of criteria for determining the list of identified programmes (IPs) to include in the base capex revenue proposal.
Capex criteria:
1. The top two portfolios by RCP4 forecast expenditure for the following asset categories across capex:
a. Grid capex – Substations
b. Grid capex – Lines
c. Grid capex – HVDC & reactive assets
d. Grid capex – secondary assets
e. Non-network capex including ICT capex* and corporate capex
2. Buildings & Grounds
3. All enhancement and development expenditure
4. Where the capex meeting criteria 1 and 2 do not cover 70% of forecast base capex for RCP4**, the next largest RCP4 forecast base capex portfolio(s) until 70% of base capex coverage is achieved.
* Note, SaaS opex was previously categorised as capex. SaaS opex is included in the Opex 'Identified programmes'.
** This includes uncertain capex related to proposed use-it-or-lose it mechanisms for bringing forward transformer replacement and/or adding incremental capacity at connections (first mover disadvantage type 2).
Applying the above criteria resulted in the following identified programmes for RCP4 base capex:
Capex | Expenditure category | Asset category | Identified Programme (Asset grouping name) | % of RCP4 Capex | RCP4 Capex $m
Base Capex | Renewal | AC Substations | Power Transformers | 11.58% | 224395654.5187
|  |  | Outdoor Switchgear | 6.228% | 120705316.8821
|  | Buildings and grounds | Buildings & Grounds | 4.902% | 94999554.6621
|  | Transmission Lines | Structures & Insulators | 28.25% | 547530110.5372
|  |  | Conductor & hardware | 6.851% | 132775529.266
|  | HVDC & Reactive assets | HVDC | 4.092% | 79302143.2586
|  |  | Reactive Assets | 4.711% | 91304258.5333
|  | Secondary Assets | Protection, battery systems and Revenue Meters | 14.51% | 281282186.5908
|  |  | Substation Management Systems | 1.468% | 28457726.78
| Enhancement & Development | Grid E&D | Grid E&D | 5.866% | 113692858
| ICT Capex | ICT including XaaS | ICT including XaaS | 11.54% | 223697341.3708
|  |  |  | 100% | 1938142680.3996
Total Base Capex |  |  |  | 80.09% | 2419824212.4104
Opex
We have agreed the following criteria for opex:
1. The top four portfolios by expenditure across all opex portfolios
2. Where the opex meeting criterion 1 do not cover 75% of forecast base opex for RCP4, the next largest RCP4 forecast base opex portfolio(s) until 75% of base opex coverage is achieved.
Applying the above criteria resulted in the following identified programmes for RCP4 opex
Opex | Expenditure category | Expenditure category |  | % of RCP4 Opex | RCP4 Opex $m
Opex | Network opex | Preventive Maintenance |  | 12.14% | 252403501.7216
|  | Predictive Maintenance |  | 22.29% | 463408563.1875
|  | Asset Management and Operations |  | 22.26% | 462803186.371
| Non-network Opex | ICT Opex |  | 12.08% | 251250147.0642
|  | Business Support |  | 17.06% | 354771506.9009
|  |  |  | 85.83% | 1784636905.2452
Total Opex |  |  |  | 100% | 2079195739.0942

## 7. Grid Performance Targets
Transpower New Zealand Ltd
8. RCP4 Grid Performance targets
This schedule presents our RCP4 targets for the two grid performance measures (GP1 and GP2) measuring the number and average duration of unplanned interruptions.
Measure | Cap | Target | Collar | Point of supply subcategory limit | Incentive rate | $ at risk per year
GP1: number of interruptions (per annum) |  |  |  |  | $ per interruption
N-1 Security High Economic Consequence | 0 | 7 | 14 | 14 | 335714 | 2350000
N-1 Security Material Economic Consequence | 7 | 24 | 41 | 41 | 40294 | 685000
N Security High Economic Consequence | 4 | 6 | 8 | 8 | 250000 | 500000
N Security Material Economic Consequence | 9 | 23 | 37 | 37 | 41786 | 585000
N-1 Security Generator | 5 | 9 | 13 | 13 | 62500 | 250000
N Security Generator | 6 | 12 | 18 | 18 | 41667 | 250000
GP2: average duration of interruptions (mins) |  |  |  |  | $ per minute
N-1 Security High Economic Consequence | 30 | 92 | 154 | 154 | 37903 | 2350000
N-1 Security Material Economic Consequence | 36 | 61 | 86 | 86 | 27400 | 685000
N Security High Economic Consequence | 0 | 103 | 206 | 206 | 4854 | 500000
N Security Material Economic Consequence | 0 | 140 | 280 | 280 | 4179 | 585000
N-1 Security Generator | 50 | 174 | 298 | 298 | 2016 | 250000
N Security Generator | 11 | 93 | 175 | 175 | 3049 | 250000

## 8. Asset Performance & Health
Transpower New Zealand Ltd
9. Asset performance and Health targets
This schedule presents the asset performance caps, collars, targets, quality standards and incentive summary for our revenue linked performance measures in RCP4.
Measure | Cap | Target | Collar | Quality standard | Incentive rate | $ at risk per year
AP1: HVDC availability (%) |  |  |  |  | $ per 1%
HVDC availability | 99.75% | 98.75% | 97.75% | 96.75% | 500000 | 500000
AP2: HVAC availability (%) |  |  |  |  | $ per 1%
HVAC availability (selected assets) | 99.2% | 99% | 98.8% | 98.6% | 5000000 | 1000000
Asset health
This schedule presents the asset health targets for asset classes with an AHI of 8 or higher for RCP4.
Asset Class | 2020/21 | 2021/22 | 2024/25 | 2023/24 | 2024/25
| % | % | % | % | %
Power Transformers | 3.22 | 3.68 | 5.37 | 8.65 | 12.03
Outdoor Circuit Breakers | 2 | 2.37 | 5.65 | 7.63 | 8.27