## Early Stage Enquiries
Project ID | Parent Project ID | Customer | Project name | Region | Connection location (substation or circuit) | Max MW | Technology | Transpower stage | Status
00038790 | 0 |  |  | South-Canterbury |  | 200 | Data Centre | Concept Assessment | ●
00038284 | 0 |  |  | Auckland |  | 20 | Other Load | Concept Assessment | ●C
00038286 | 0 |  |  | Auckland |  | 120 | Substation | Concept Assessment | ●C
00038288 | 0 |  |  | Nelson-Marlborough |  | 0 | Substation | Concept Assessment | ●C
00038295 | 0 |  |  | Hawkes Bay |  | 15 | Feeder | Concept Assessment | ●C
00038303 | 0 |  |  | Otago-Southland |  | 0 | Special Protection Scheme | Concept Assessment | ●C
00038306 | 0 |  |  | Waikato |  | 0 | Non-Connected | Concept Assessment | ●C
00038093 | 0 |  |  | Auckland |  | 0 | Non-Connected | Concept Assessment | ●C
00038201 | 00038089 |  |  | Taranaki |  | 50 | Process Heat - Dairy | Concept Assessment | ●C
00038216 | 0 |  |  | West Coast |  | 15 | Process Heat - Dairy | Concept Assessment | ●C
00038218 | 0 |  |  | Hawkes Bay |  | 15 | Feeder | Concept Assessment | ●C
00038219 | 0 |  |  | Waikato |  | 80 | Transformer | Concept Assessment | ●C
00038226 | 0 |  |  | Waikato |  | 15 | Transformer | Concept Assessment | ●C
00038235 | 0 |  |  | Wellington |  | 0 | Non-Connected | Concept Assessment | ●C
00038321 | 0 |  |  | Central North Island |  | 100 | Substation | Concept Assessment | ●C
00038327 | 0 |  |  | Waikato |  | 240 | Substation | Concept Assessment | ●C
00038331 | 0 |  |  | Waikato |  | 20 | Process Heat - Dairy | Concept Assessment | ●C
00038328 | 0 |  |  | Central North Island |  | 47 | Process Heat - Dairy | Concept Assessment | ●C
00038329 | 0 |  |  | Waikato |  | 100 | Process Heat - Dairy | Concept Assessment | ●C
00038343 | 0 |  |  | Nelson-Marlborough |  | 0 | Substation | Concept Assessment | ●C
00038358 | 00038186 |  |  | Auckland |  | 50 | Feeder | Concept Assessment | ●
00038472 | 0 |  |  | West Coast |  | 25 | Process Heat - Dairy | Concept Assessment | ●C
00038484 | 0 |  |  | Northland |  | 0 | Switchboard | Concept Assessment | ●C
00038488 | 0 |  |  | Central North Island |  | 50 | Substation | Concept Assessment | ●C
00038508 | 0 |  |  | Waikato |  | 120 | Substation | Concept Assessment | ●C
00038515 | 0 |  |  | Waikato |  | 250 | Data Centre | Concept Assessment | ●C
00038517 | 0 |  |  | Otago-Southland |  | 10 | Substation | Concept Assessment | ●C
00038584 | 0 |  |  | Auckland |  | 0 | Non-Connected | Concept Assessment | ●
00038617 | 0 |  |  | Auckland |  | 340 | Data Centre | Concept Assessment | ●
00038722 | 0 |  |  | Auckland |  | 0 | Transaction | Concept Assessment | ●
00038733 | 0 |  |  | Central North Island |  | 250 | Data Centre | Concept Assessment | ●
00038793 | 0 |  |  | Auckland |  | 0 | Non-Connected | Concept Assessment | ●
Project ID | Parent Project ID | Customer | Project name | Region | Connection location (substation or circuit) | Max MW | Technology | Transpower stage | Status
00038290 | 0 |  |  | Bay of Plenty | Whakarewarewa, Rotorua, Bay of Plenty | 30 | Substation | Initial Enquiry | ●C
00038224 | 0 |  |  | Otago-Southland | Awarua, Southland | 200 | Process Heat - Other | Initial Enquiry | ●C
00038241 | 0 |  |  | West Coast | Hokitika | 20 | Substation | Initial Enquiry | ●C
00038242 | 0 |  |  | Canterbury | Ashburton | 150 | Substation | Initial Enquiry | ●C
00038426 | 0 |  |  | Auckland | GLN | 40 | Data Centre | Initial Enquiry | ●C
00038443 | 0 |  |  | Bay of Plenty | TGA | 15 | Data Centre | Initial Enquiry | ●C
00038490 | 0 |  |  | Central North Island | BPE | 500 | Data Centre | Initial Enquiry | ●C
00038513 | 0 |  |  | Bay of Plenty | KAW | 500 | Data Centre | Initial Enquiry | ●C
00038519 | 0 |  |  | Waikato | OTA-WKM | 400 | Data Centre | Initial Enquiry | ●C
00038544 | 0 |  |  | Central North Island | Kinleith | 500 | Data Centre | Initial Enquiry | ●C
00038570 | 0 |  |  | Taranaki | New Plymouth Port | 300 | Hydrogen - Other | Initial Enquiry | ●C
00038620 | 0 |  |  | Bay of Plenty | Tarukenga | 14 | Other Load | Initial Enquiry | ●C
00038630 | 0 |  |  | Otago-Southland | Gore | 100 | Data Centre | Initial Enquiry | ●C
00038643 | 0 |  |  | Central North Island | TNG | 11 | Process Heat - Biomass | Initial Enquiry | ●C
00038689 | 0 |  |  | Central North Island | TNG | 50 | Data Centre | Initial Enquiry | ●C
00038704 | 0 |  |  | TBD |  | 250 | Hydrogen - Ammonia | Initial Enquiry | ●C
00038706 | 0 |  |  | Central North Island | Rangipo | 0 | Transaction | Initial Enquiry | ●C
00038712 | 0 |  |  | Wellington | KWA | 50 | Transport - Port | Initial Enquiry | ●C
00038725 | 0 |  |  | Auckland | HEN-MDN | 100 | Data Centre | Initial Enquiry | ●C
00038778 | 0 |  |  | TBD | VAR | 400 | Data Centre | Initial Enquiry | ●C
00038799 | 0 |  |  | Waikato |  | 150 | Data Centre | Initial Enquiry | ●C
00038802 | 0 |  |  | Auckland |  | 150 | Data Centre | Initial Enquiry | ●C
Notes
1. This list excludes Load projects with a less than 5% likelihood of progressing and enquiries below 10MW.

## Forward Pipeline
Project ID | Parent Project ID | Customer | Project name | Region | Connection location (substation or circuit) | Type | Transpower stage | Max MW | Status Flag | Stage % complete | Status | Estimated connection livening date | Key
00038163 | 0 | Vector Limited | Wairau Road T9 Transformer | Auckland | Wairau Road | Transformer | Delivery | 150 | ● | 92% | Construction | 2026-12-12 | New feeder | New feeder(s) at an existing substation to supply new load or to increase supply resilience
00038105 | 0 | MainPower New Zealand Limited | Kaiapoi IDID Upgrade | Canterbury | Kaiapoi | Switchboard | Delivery | 0 | ● | 91% | Construction | 1/06/2027 | New transformer | New or upgraded transformer(s) at an existing to supply new load or to increase supply resilience
00038087 | 0 | Drury South Limited | Drury Line Relocation | Auckland | HLY-OTA | Non-Connected | Delivery | 0 | ● | 74% | Construction | 2027-02-01 | New GXP | New Grid exit Point (GXP) substation or new load supply point at an existing non GXP substation
00038142 | 0 | PowerNet Limited | Edendale 220kV GXP (Puna Awa) | Otago-Southland | NMA-TMH (Puna Awa) | Substation | Delivery | 120 | ● | 63% | Construction | 31/08/2027 | Transmission | New or upgraded transmission assets (overhead transmission lines or underground cables) to increase transmission capacity or resilience
00038181 | 0 | Waka Kotahi New Zealand Transport Agency | C2P Project Stage 1 (Online section) | Auckland | ARI-HAM, HIN-KPO, HAM-KPO | Non-Connected | Delivery | 0 | ● | 52% | Construction / Detailed Design | 30/10/2026 (phase 1) | Protection and automation | New or replacement protection or automation systems
00038106 | 0 | MainPower New Zealand Limited | ASY 66kV Coldstream Feeder | Canterbury | Ashley | Feeder | Delivery | 40 | ● | 45% | Detailed Design | 23/11/2028 | Relocation | Relocation of existing transmission assets
00038110 | 0 | Network Tasman Limited | Brightwater GXP | Nelson-Marlborough | KIK-STK A | Substation | Delivery | 60 | ● | 32% | Detailed Design | 26/06/2028 | Lifecycle | Replacement of transmission assets with modern equivalent either at end of life or for policy reasons
00038173 | 0 | Vector Limited | Henderson 1x 33kV Feeder (Microsoft 1/2) | Auckland | Henderson | Data Centre | Delivery | 20 | ● | 32% | Detailed Design | 2027-11-01 | Other | Asset divestments, reconfigurations or other work not included in the above categories
00038182 | 0 | Waka Kotahi New Zealand Transport Agency | Mill Road & Redoubt Rd development | Auckland | HLY-OTA-A | Non-Connected | Delivery | 0 | ● | 22% | Detailed Design | 2027-06-30
00038164 | 0 | Vector Limited | Takanini 1x 33kV Feeder | Auckland | Takanini | Feeder | Delivery | 20 | ● | 16% | Detailed Design | 4/02/2027 | Max MW | Maximum additional supply capacity enabled by the project (actual demand may step change or grow slowly over many years to utilise this new capacity)
00038165 | 0 | Vector Limited | Takanini 2x 33kV Feeders (TenPeaks / Spark) | Auckland | Takanini | Data Centre | Delivery | 30 | ● | 16% | Detailed Design | 22/03/2027 |  | Where two or more projects suport the same supply capacity increase some projects Max MW may be set to zero to avoid double counting
00038166 | 0 | Vector Limited | Silverdale 2x 33kV Feeders (CDC) | Auckland | Silverdale | Data Centre | Delivery | 30 | ● | 15% | Detailed Design | 19/04/2027
00038127 | 0 | Powerco Limited | Brunswick T2 | Taranaki | Brunswick | Transformer | Delivery | 30 | ● | 4% | Detailed Design | 31/07/2028 | Stage % Complete | Approximate progress of the project through the relevant stage based on completed project milestones in the project schedule
00038167 | 0 | Vector Limited | WIR 110/33kV Transformer (T3) | Auckland | Wiri | Transformer | Delivery | 120 | ● | 3% | Early Stage Design | 30/06/2028
00038065 | 0 | Alpine Energy Limited | TIM 33kV GXP Upgrade | South-Canterbury | Timaru | Transformer | Delivery | 40 | ● | 2% | Detailed Design | 30/11/2028 | Status flag key
00038171 | 0 | Vector Limited | Penrose 33kV Data Centre Connection (Goodman) | Auckland | Penrose | Data Centre | Delivery | 30 | ● | 2% | Early Stage Design | 2028-09-30 | ● Progressing normally
00038189 | 0 | Wellington Electricity Lines Limited | KHD-TKR Uprating | Wellington | KHD-TKR | Conductor | Delivery | 0 | ● | 2% | Construction | 19/09/2025 | ●C Awaiting customer action
00038129 | 0 | Powerco Limited | WKO - 33kV Feeder and TOPS (Oceanagold) | Waikato | Waikino | Other Load | Delivery | 40 | ● | 1% | Starting | 31/07/2027 | ●T Awaiting Transpower action
00038635 | 00038181 | Waka Kotahi New Zealand Transport Agency | C2P Project Stage 2 (Offline section) | Waikato | HIN-KPO-A | Non-Connected | Delivery | 0 | ● | 1% | Starting | 2027-05-31 | ● On hold
Project ID | Parent Project ID |  |  | Region | Connection location (substation or circuit) | Type | Transpower stage | Max MW | Status Flag | Stage % complete | Status | Estimated Stage Complete (Note 4)
00038174 | 0 |  |  | Northland | Wellsford | Transformer | Investigation | 60 | ● | 100% | Investment Contract Negotiation | Practically complete
00038077 | 0 |  |  | Otago-Southland | Cromwell | Special Protection Scheme | Investigation | 30 | ● | 98% | Investment Contract Negotiation | Practically complete
00038188 | 0 |  |  | Wellington | Central Park | Substation | Investigation | 150 | ● | 97% | Investment Contract Negotiation | Practically complete
00038086 | 0 |  |  | Otago-Southland | INV-MAN-A | Data Centre | Investigation | 350 | ● | 96% | Investment Contract Negotiation | Practically complete
00038113 | 0 |  |  | Northland | Maungaturoto | Transaction | Investigation | 0 | ● | 93% | Investment Contract Negotiation | N/A
00038177 | 0 |  |  | Auckland | Henderson | Transformer | Investigation | 120 | ● | 92% | Investment Contract Negotiation | N/A
00038344 | 00038177 |  |  | Auckland | Henderson | Switchboard | Investigation | 0 | ● | 92% | Investment Contract Negotiation | N/A
00038347 | 00038173 |  |  | Auckland | Henderson | Data Centre | Investigation | 30 | ● | 92% | Investment Contract Negotiation | N/A
00038130 | 0 |  |  | Waikato | Hinuera | Transaction | Investigation | 0 | ● | 90% | Investment Contract Negotiation | N/A
00038623 | 0 |  |  | Central North Island | Mangahao | Transformer | Investigation | 60 | ● | 90% | Investment Contract Negotiation | N/A
00038097 | 0 |  |  | Auckland | Bombay | Switchboard | Investigation | 50 | ● | 85% | Early Stage Design | N/A
00038175 | 0 |  |  | Auckland | Henderson | Feeder | Investigation | 30 | ● | 85% | Investment Contract Negotiation | N/A
00038309 | 0 |  |  | South-Canterbury | ROX-ISL-A / Black Point | Substation | Investigation | 80 | ● | 85% | Investment Contract Negotiation | N/A
00038116 | 0 |  |  | Canterbury | Hororata | Switchboard | Investigation | 0 | ● | 80% | Investment Contract Negotiation | N/A
00038149 | 0 |  |  | Waikato | HAM_WHU | Non-Connected | Investigation | 0 | ● | 77% | Early Stage Design | N/A
00038150 | 0 |  |  | Waikato | ARI-HAM | Non-Connected | Investigation | 0 | ● | 53% | Early Stage Design | N/A
00038078 | 0 |  |  | Otago-Southland | CYD-TWZ-1 or 2 | Substation | Investigation | 120 | ● | 42% | Early Stage Design | N/A
00038186 | 0 |  |  | Waikato | Bombay | Transaction | Investigation | 0 | ● | 42% | Investment Contract Negotiation | N/A
00038336 | 0 |  |  | Waikato | Meremere | Transaction | Investigation | 0 | ● | 42% | Investment Contract Negotiation | N/A
00038700 | 0 |  |  | Waikato | Hangatiki | Transformer | Investigation | 60 | ● | 42% | Investment Contract Negotiation | N/A
00038719 | 0 |  |  | Hawkes Bay | Whakatu | Transaction | Investigation | 0 | ● | 42% | Investment Contract Negotiation | N/A
00038079 | 0 |  |  | Otago-Southland | Cromwell | Transformer | Investigation | 60 | ● | 36% | Early Stage Design | N/A
00038131 | 0 |  |  | Central North Island | Mangamarie | Switchboard | Investigation | 0 | ●C | 32% | Early Stage Design | N/A
00038168 | 0 |  |  | Auckland | Southdown | Substation | Investigation | 80 | ●C | 32% | Early Stage Design | 2027-05-01
00038156 | 0 |  |  | Bay of Plenty | Tarukenga | Transformer | Investigation | 20 | ● | 30% | Early Stage Design | N/A
00038091 | 0 |  |  | Auckland | Penrose | Data Centre | Investigation | 150 | ● | 25% | Investment Contract Negotiation | 2026-12-01
00038128 | 0 |  |  | Bay of Plenty | KMO-TRK | Substation | Investigation | 120 | ● | 20% | Early Stage Design | N/A
00038178 | 0 |  |  | Auckland | Silverdale | Transformer | Investigation | 120 | ● | 16% | Early Stage Design | N/A
00038073 | 0 |  |  | Otago-Southland | Cromwell | Substation | Investigation | 120 | ● | 14% | Early Stage Design | N/A
00038183 | 0 |  |  | Auckland | HOB-WRD | Non-Connected | Investigation | 0 | ●C | 14% | Early Stage Design | N/A
00038169 | 0 |  |  | Auckland | ALB-WRD | Substation | Investigation | 120 | ● | 12% | Early Stage Design | N/A
00038435 | 0 |  |  | Otago-Southland | CML-FKN-A 110 kV | Non-Connected | Investigation | 0 | ● | 11% | Early Stage Design | N/A
00038198 | 0 |  |  | Otago-Southland | Clyde | Switchboard | Investigation | 0 | ● | 10% | Early Stage Design | N/A
00038326 | 0 |  |  | Northland | HEN_MDN | Non-Connected | Investigation | 0 | ● | 10% | Early Stage Design | N/A
00038335 | 0 |  |  | Auckland | HEN_MDN / HEN_MPE | Non-Connected | Investigation | 0 | ● | 10% | Early Stage Design | N/A
00038444 | 0 |  |  | Central North Island | BPE-MHO | Non-Connected | Investigation | 0 | ● | 10% | Early Stage Design | N/A
00038564 | 0 |  |  | Auckland | Silverdale | Data Centre | Investigation | 40 | ● | 10% | Early Stage Design | N/A
00038107 | 0 |  |  | Canterbury | ISL-KIK | Substation | Investigation | 120 | ● | 9% | Early Stage Design | N/A
00038143 | 0 |  |  | Otago-Southland | North Makarewa | Transformer | Investigation | 60 | ● | 8% | Early Stage Design | N/A
00038492 | 0 |  |  | Bay of Plenty | HAI-TGA-A | Conductor | Investigation | 0 | ● | 5% | Early Stage Design | N/A
00038516 | 0 |  |  | Nelson-Marlborough | Kikiwa | Substation | Investigation | 0 | ● | 3% | Early Stage Design | N/A
Project ID | Parent Project ID |  |  | Region | Connection location (substation or circuit) | Type | Transpower stage | Max MW | Status Flag |  | Status | Estimated Stage Complete
00038696 | 0 |  |  | Otago-Southland | Naseby | Other Load | Solution Proposal | 10 | ● |  | Early Stage Design | Contracting
00038600 | 0 |  |  | Wellington | Melling | Substation | Solution Proposal | 0 | ● |  | Early Stage Design | Contracting
00038412 | 0 |  |  | Taranaki | Stratford | Data Centre | Solution Proposal | 300 | ● |  | Early Stage Design | Contracting
00038637 | 0 |  |  | South-Canterbury | CHC-TWZ, ROX-ISL-A | Process Heat - Dairy | Solution Proposal | 120 | ● |  | Early Stage Design | Contracting
00038459 | 0 |  |  | South-Canterbury | Studholme | Process Heat - Dairy | Solution Proposal | 60 | ● |  | Early Stage Design | Contracting
00038323 | 0 |  |  | Auckland | Wairau Road GXP | Transformer | Solution Proposal | 120 | ● |  | Early Stage Design | 2027-02-01
00038170 | 0 |  |  | Auckland | Takanini | Data Centre | Solution Proposal | 150 | ●C |  | Early Stage Design | 2027-03-01
00038172 | 0 |  |  | Auckland | Mangere | Transformer | Solution Proposal | 120 | ● |  | Early Stage Design | 2027-03-01
00038425 | 0 |  |  | Auckland | Henderson | Data Centre | Solution Proposal | 40 | ●C |  | Early Stage Design | 2027-04-01
Application Stage - Load
Project ID | Parent Project ID | Load Applications |  | Region | Connection location (substation or circuit) | Type | Transpower stage | Max MW |  | Ready to proceed 3 | Status
00038357 | 0 |  |  | Auckland | Drury | Feeder | Application | 360 | ● | Y | Confirmed
00038669 | 0 |  |  | Auckland | Penrose | Data Centre | Application | 100 | ● | Y | Confirmed
00038583 | 0 |  |  | Auckland | Takanini | Data Centre | Application | 360 | ● |  | Confirmed
00038092 | 0 |  |  | Auckland | HEN-OTA | Data Centre | Application | 200 | ● |  | Confirmed
Application Stage - Other
Project ID | Parent Project ID |  |  | Region | Connection location (substation or circuit) | Type | Transpower stage | Max MW |  | Ready to proceed 3 | Status
Notes
1. The location is given as the substation where a project will connect, or if a new substation is required, the transmission circuit.
2. Stage % Complete - Approximate progress of the project through the relevant stage based project milestones completed in the project schedule. Progress in delivery is progress for the Transpower connection only, not for the associated customer assets. Timeframes for delivery contracting will vary as they are dependent on bilateral negotiation and each customer's investment decision process. Progress is dependent on both Transpower work and customer decisions at key stage gates. Where customers are unable to make timely decisions progress may stall. Stalled projects may be put on hold so resources can be re-allocated to other waiting projects.
3. Applications are deemed ready to proceed to investigation where Transpower has had confirmation the applicant: is ready to sign the associated services agreement, has FID for the residual application fee and the investigation costs, maintains a need date which justifies an investigation in the near term, and plans for securing property rights and consenting remain on track.
4. The estimated date of completion refers to when a Customer is expected to sign an Investment Contract. This field is only disclosed where the Customer has completed a Solution Proposal. It assumes no contract delays.
5. Where the connection location is a full name, it references connection-enabling works occuring at that substation; Locations with xxx_xxx formate indicate works on a transmission circuit, for example a new GXP or GIP is being established by cutting into the circuit

## Completed
Customer | Project Name | Region | Connection Location | Max MW | TP Connection Voltage | Technology | Transpower Connection Practical Completion Date | Comments
Powerco Limited | MTN ODID | Central North Island | Marton | 0 |  | Switchboard | 2026-09-30
Horizon Energy Distribution Limited | Edgecumbe Capacity Increase SPS | Bay of Plenty | Edgecumbe | 30 | 33 | Special Protection Scheme | 2026-07-16
Centralines Limited | Waipawa 33kV ODID Conversion | Central North Island | Waipawa | 0 | 33 | Switchboard | 2026-03-31
Powerco Limited | Greytown ODID | Wellington | Greytown | 0 | 110 | Switchboard | 2026-03-30
Powerco Limited | Waverley ODID | Taranaki | Waverley | 0 | 11/33 | Switchboard | 2026-03-22
Vector Limited | Albany 2x New 33kV Feeders | Auckland | Albany | 30 | 33 | Feeder | 2026-03-07
Powerco Limited | Te Matai T1 Transformer Replacement | Bay of Plenty | Te Matai | 20 | 110 | Transformer | 2026-03-07
Unison Networks Limited | Wairakei 2x 220/33kV 60MVA Transformers | Central North Island | Wairakei | 60 | 220 | Transformer | 2025-11-30
Vector Limited | HEN 2x 33kV Feeders | Auckland | Henderson | 20 | 33 | Data Centre | 2025-09-06
New Zealand Steel Limited | Glenbrook Arc Furnace | Auckland | Glenbrook | 70 | 33 | Process Heat | 2025-08-30
Beach Energy Resources NZ Limited | Hawea SPS - TOPS | Taranaki | Hawera | 0 | 33 | Special Protection Scheme | 2025-06-16
Unison Networks Limited | Whakatu GXP 2x 33Kv Feeders GXP | Hawkes Bay | Whakatu | 20 | 220 | Feeder | 2025-05-24
Powerco Limited | Hāwera 33kV ODID | Taranaki | Hawera | 0 | 33 | Switchboard | 2025-05-08
Waipā Networks Limited | Hautapu 220/33kV GXP | Waikato | OTA-WKM | 120 | 220 | Substation | 2025-03-07
Aurora Energy Limited | Frankton 2x 110/33kV Transformers | Otago-Southland | Frankton | 120 | 110 | Transformer | 2025-02-14
PowerNet Limited | Frankton 2x 110/33kV Transformers | Otago-Southland | Frankton | 120 | 110 | Transformer | 2025-02-14
Counties Energy Limited | Bombay 110/22kV Migration (Barber Road) | Auckland | Bombay | 0 | 110 | Substation | 2024-12-06
Alpine Energy Limited | TKA 2x 11kV Feeders | South-Canterbury | Tekapo A | 8 | 11 | Feeder | 2024-11-05
Vector Limited | HEN 1x 33kV Feeder (Microsoft Datacentre Stage 2) | Auckland | Henderson | 30 | 33 | Feeder | 2024-09-30